## NOTES
NOTES
Project Name : Starbucks #6212, University Park Village
Location : 1620 S University Dr, Fort Worth, TX 76107
Date of Drawings : Permit Set 8/28/2025
DEMOLITION
"Items to be preserved" list for items that shall be salvaged for relocation
At locations where existing walls are to be removed existing walls to remain. Perform demolition without disturbing exisitng elements to remain
Field verify type of construction and height of walls, Fields verify that walls to be removed do not provide support for existing building elements and existing construction to remain
MEPs demolition are not included.
Height of cubbies and menu board are assumed base on starbucks standard (https://www.navymwr.org/modules/media/?do=download&id=e4a72850-fe08-4e91-a9ce-0a7fa6f77cbe)
Removal shall include any residual material after demolition i.e pieces of wall covering or backing. Removal of all coverings is to be done w/o damaging the existing wall surface to remain
The manhours computed in the sheet include hauling, as well as the disassembly of any connections, fasteners, and accessories related to the item.
Landscaping
Included items that are furnished by Starbucks but to be intalled by GC.
Plant location to be planted on table top counter not specified, so we just used the schedule in the tak-off.
No specified number of plants for Design ID X0004 – Mixture of Plants, so we’re taking off the area for planting.
Exterior Siding
Only Patching and repair area were considered in takeoffs.
Brick Veneer considered in the takeoffs as per plan.
Exterior Painting
Two coats of stain paint are considered for the Exterior Patio Railings.
One coat of primer and two coats of paint are considered for the Exterior Patio Posts.
As per Key Note 6 , Patio Railing will be restained wood SW3524.
As per Key Note 6 , Patio Post will be repainted SW7048.
Metal Framing
Wall Type per print A101, Interior New Wall Schedule.
Jamb, Header, Soffit and Bracing details per print I509.
Drywall
Wall Type per print A101, Wall Sheating Key for wall type.
See print I201-I204 for height reference.
See print I103 for ceiling sched/type reference.
Consider 5/8" GWB Type X for all wall and GWB Clg, U.N.O.
Flooring & Tile
Finish Material Schedule per print I603.
Items that are provided by SB and to be installed only by GC ; Tile 20230, tile base x0409, tile base 11403, tile 24599 and tile 20267.
Polyvinyl floor tile is considered as SY unit in the takeoff ; size sheets: 60" x 96" x 1/4" thk.
Polyvinyl floor tile base is considered as LF unit in the takeoff.
Walk Off Mat is existing to remain per plan notes.
Interior Finishes and Interior Painting
Paint and interior finish specifications per print I603
One coat of primer and two coats of paint are considered for all drywall and open to structure.
Two coats of paint are considered for all existing drywall.
One coat of primer is considered for FRP surfaces.
INTERIOR TRIM
There is a casework schedule found on plans. See sheet I603. For items that are shown on plans are trace per enlarged plan and match it quantities.
On sheet I103 and I106 are the pages used as reference for interior trim takeoff.
All items are per SB furnished and only GC are by install, thus no unit material cost are considered.
Other wood materials are under finishes.
OPENINGS
There is a door schedule found on plan, see sheet A601.
Door tag 10190 was not identified on available plans, consider it as in the passage of workroom to restroom/exit corridor.
Hardware set of restrooms are consider and its quanties are 2.
Doors have 1/2" undercut, and non rabbet.
All windows are existing.
MILLWORKS
There is a casework schedule found on plans. See sheet I603. For items that are shown on plans are trace per enlarged plan and match it quantities.
All items are in count as it specifications are already mentioned and considered.
All items are per SB furnished and only GC are by install, thus no unit material cost are considered.
Highlighted items on sheet I603 are not found on available plans but consider its quantity for reference.
Other non-millwork items falls on finishes.
Specialties
No Toilet Accessory Schedule provided.
Existing Toilet Accessory not considered in the proposal.
Accessibility Signage Specs not given in plan.
No manufacturer and model given for Fire Extinguishers and Toilet Accessories.
Horizontal Soap Dispenser was not listed under specialtiy equipment at sheet I601, it was included in the proposal. Considered as OFCI, the same with other accessories listed.
Considered 11 counts of Work Room Shelving (6 counts in schedule).
West Elm Mirror Manufacturer and Model at sheet I602
Considered Furnitures and Shelving in the Proposal
ROUGH CARPENTRY
Assumed SYP#2 Lumber Specie
Considered all blockings to be FRT (A101¦Gen. Notes Item B)
New Walls are specified as Metal Studs per schedule at A101
Assumed 2x6 Blockings for Wall Blockings not specified in Plan
1x4 FRT blocking at openings per detail 5¦I509
Considered 3/4" Plywood backing at Details 2¦I502 & 2¦I503
Considere 2x10 FRT blocking per detail 2 ¦ I504

## SUMMARY
MATERIAL BREAKDOWN
Project Name : Starbucks #6212, University Park Village |  | Proposal for plans dated: | 2025-08-28
Location : 1620 S University Dr, Fort Worth, TX 76107 |  | Floor Level: | 1
|  | Total Square Footage (Building): | 2758
|  | Total Square Footage (Site): | --
| WORK DESCRIPTION | TOTAL MANHOURS | TOTAL MATERIAL COST
| DEMOLITION | 166 | 0
| LANDSCAPING | 6 | 0
| EXTERIOR SIDING | 8 | 0
| EXTERIOR PAINTING | 16 | 0
| METAL STUD FRAMING | 59 | 0
| DRYWALL | 124 | 0
| FLOORING & TILE | 149 | 0
| INTERIOR FINISHES | 461 | 0
| INTERIOR PAINTING | 116 | 0
| INTERIOR TRIM | 3 | 0
| OPENING | 15 | 0
| MILLWORK | 58 | 0
| SPECIALTIES | 115 | 0
| ROUGH CARPENTRY | 18 | 0
| TOTAL | 1314 | 0
ALTERNATES
|  | TOTAL MANHOURS | TOTAL MATERIAL COST
1
2

## Item Breakdown
Project Name : Starbucks #6212, University Park Village
Location : 1620 S University Dr, Fort Worth, TX 76107
Date of Drawings : Permit Set 8/28/2025
www.gclegacyconstruction.com
10455 Markison Rd., Dallas, TX 75238
MATERIAL BREAKDOWN
ITEM | DESCRIPTION | QTY | UNIT | MANHOURS | CREW | MATERIAL COST (Excluding Tax) | Total | Wastage | Unit Material Cost
DEMOLITION
EXTERIOR
DEMOLISH EXTERIOR FURNITURE | This includes all tables and chairs | 10 | EA | 3 | MH, 2 WORKERS | 0 | 0 | 0% | 0
DEMOLISH EXISTING METAL AWNING | GC to patch/repair wall as needed | 260 | SF | 6.5 | MH, 3 WORKERS | 0 | 0 | 0% | 0
DEMOLISH EXISTING METAL DECORATION OVER CLERESTORY WINDOWS | 3'-4" Height as per sheet D103 | 236.9 | SF | 6 | MH, 3 WORKERS | 0 | 0 | 0% | 0
DEMOLISH EXISTING FABRIC COVERING ON PATIO STRUCTURE | GC to prepare for new | 184.5 | SF | 1.9 | MH, 2 WORKERS | 0 | 0 | 0% | 0
INTERIOR
DEMOLISH EXISTING WALL TO EXTENT SHOWN | Average Height 10' (Ref D102 Sheet) | 2082.8 | SF | 42 | MH, 3 WORKERS | 0 | 0 | 0% | 0
DEMOLISH EXISTING FLOOR AND BASE FINISH | Patch & Repair for New Finish | 2721.69 | SF | 14 | MH, 3 WORKERS | 0 | 0 | 0% | 0
DEMOLISH EXISTING FIXTURES | This Includes all tables, and chairs | 15 | EA | 4 | MH, 2 WORKERS | 0 | 0 | 0% | 0
DEMOLISH EXISTING FIXTURES | This includes all interior fixtures | 371.03 | SF | 6 | MH, 3 WORKERS | 0 | 0 | 0% | 0
DEMOLISH EXISTING CONDIMENT CART |  | 1 | EA | 0.5 | MH, 2 WORKERS | 0 | 0 | 0% | 0
DEMOLISH EXISTING IN-WALL FOOD/BEVERAGE COOLER |  | 2 | EA | 3 | MH, 3 WORKERS | 0 | 0 | 0% | 0
DEMOLISH EXISTING INTERIOR FURNITURE & FIXTURES | This includes all tables, chairs, and kitchen fixtures | 11 | EA | 3.2 | MH, 2 WORKERS | 0 | 0 | 0% | 0
DEMOLISH EXISTING MERCH BASKET |  | 2 | EA | 1 | MH, 2 WORKERS | 0 | 0 | 0% | 0
DEMOLISH EXISTING MERCH BAYS |  | 2 | EA | 2 | MH, 2 WORKERS | 0 | 0 | 0% | 0
DEMOLISH EXISTING WALL FINISHES | Elevation refer to sheet D102-D103 | 2652.9 | SF | 18 | MH, 3 WORKERS | 0 | 0 | 0% | 0
REMOVE EXISTING CASEWORK, HANGING DEVICES, AND FASTENERS | All counters in the serving area | 129.18 | SF | 4 | MH, 2 WORKERS | 0 | 0 | 0% | 0
REMOVE EXISTING DOOR FRAME, AND ASSOCIATED FASTENERS |  | 9 | EA | 4.5 | MH, 2 WORKERS | 0 | 0 | 0% | 0
CEILING
DEMOLISH EXISTING MENU BOARD | No details on height (Assumed as per standard of starbucks 35") See Notes for references | 78.75 | SF | 2 | MH, 2 WORKERS | 0 | 0 | 0% | 0
DEMOLISH EXISTING UPPER CUBBIES | No details on height (Assumed as per standard of starbucks 35") See Notes for references | 78.75 | SF | 2 | MH, 2 WORKERS | 0 | 0 | 0% | 0
DEMOLISH EXISTING ACT CEILING TILES AND GRID |  | 1210.9 | SF | 12 | MH, 3 WORKERS | 0 | 0 | 0% | 0
DEMOLISH HARD LID CEILING, FRAMING AND ASSOCIATED FASTENERS TO BOTTOM OF STRUCTURE ABOVE |  | 270.7 | SF | 4 | MH, 3 WORKERS | 0 | 0 | 0% | 0
ITEMS TO RELOCATE
1 DR U/C FRIDGE | Relocation only, Excluding Installation | 2 | EA | 1.5 | MH, 2 MOVERS | 0 | 0 | 0% | 0
2-DR FREEZER | Relocation only, Excluding Installation | 1 | EA | 1.5 | MH, 2 MOVERS | 0 | 0 | 0% | 0
2-DR FRIDGE | Relocation only, Excluding Installation | 1 | EA | 1.5 | MH, 2 MOVERS | 0 | 0 | 0% | 0
3-COMP SINK & ASSOCIATED ITEMS | Relocation only, Excluding Installation | 1 | EA | 2 | MH, 3 (INCL LEAD) | 0 | 0 | 0% | 0
BLENDERS | Relocation only, Excluding Installation | 2 | EA | 0.5 | MH, 1 MOVER | 0 | 0 | 0% | 0
CUP CADDY & DISPENSERS | Relocation only, Excluding Installation | 1 | EA | 0.25 | MH, 1 MOVER | 0 | 0 | 0% | 0
CUP LABELER | Relocation only, Excluding Installation | 4 | EA | 2 | MH, 1 MOVER | 0 | 0 | 0% | 0
ESPRESSO MACHINES | Relocation only, Excluding Installation | 2 | EA | 2 | MH, 2 MOVERS | 0 | 0 | 0% | 0
FOOD CASE | Relocation only, Excluding Installation | 1 | EA | 2 | MH, 3 MOVERS | 0 | 0 | 0% | 0
GRINDER | Relocation only, Excluding Installation | 1 | EA | 0.5 | MH, 1 MOVER | 0 | 0 | 0% | 0
ICE BIN | Relocation only, Excluding Installation | 1 | EA | 1 | MH, 2 MOVERS | 0 | 0 | 0% | 0
METRO RACK | Relocation only, Excluding Installation | 6 | EA | 3 | MH, 1 MOVER | 0 | 0 | 0% | 0
NITRO GENERATOR | Relocation only, Excluding Installation | 1 | EA | 1 | MH, 2 MOVERS | 0 | 0 | 0% | 0
NITRO TAP/FONT | Relocation only, Excluding Installation | 1 | EA | 0.5 | MH, 1 MOVER | 0 | 0 | 0% | 0
PAPER TOWEL DISPENSER | Relocation only, Excluding Installation | 1 | EA | 0.25 | MH, 1 MOVER | 0 | 0 | 0% | 0
PASTRY CART | Relocation only, Excluding Installation | 1 | EA | 0.5 | MH, 2 MOVERS | 0 | 0 | 0% | 0
POS REGISTER, PRINTER, DROP BOXES, AND ASSOCIATED ITEMS | Relocation only, Excluding Installation | 2 | EA | 3 | MH, 2 MOVERS | 0 | 0 | 0% | 0
SOAP DISPENSER | Relocation only, Excluding Installation | 1 | EA | 0.25 | MH, 1 MOVER | 0 | 0 | 0% | 0
THAW RACK | Relocation only, Excluding Installation | 1 | EA | 0.5 | MH, 1 MOVER | 0 | 0 | 0% | 0
TRASH TOTE | Relocation only, Excluding Installation | 1 | EA | 0.25 | MH, 1 MOVER | 0 | 0 | 0% | 0
WARMING OVENS | Relocation only, Excluding Installation | 2 | EA | 2 | MH, 2 MOVERS | 0 | 0 | 0% | 0
| DEMOLITION | (TOTAL) |  |  |  | 0 | 0
| OVERHEAD |  | 0% |  |  |  | 0
| SUB-TOTAL | [5 empty] | 0
LANDSCAPING
PLANTS
Mixture of Plants | Sanseviera-Tall, Flowering Annuals-Small, Sweet Potato Vine- Low/Hanging | 7.8 | SF | 0.25 | MH, 2 WORKER | 0 | 0 | 0% | 0
Bird of Paradise | Tall Height | 1 | EA | 0.25 | MH, 1 WORKER | 0 | 0 | 0% | 0
Limelight | Medium Height | 2 | EA | 0.25 | MH, 1 WORKER | 0 | 0 | 0% | 0
ZZ Plant | Medium Height | 2 | EA | 0.25 | MH, 1 WORKER | 0 | 0 | 0% | 0
Golden Pathos | Low Height | 1 | EA | 0.25 | MH, 1 WORKER | 0 | 0 | 0% | 0
Prayer Plant | Low Height | 1 | EA | 0.25 | MH, 1 WORKER | 0 | 0 | 0% | 0
Bird's Nest Fern | Low Height | 1 | EA | 0.25 | MH, 1 WORKER | 0 | 0 | 0% | 0
Sanseviera | Low Height | 1 | EA | 0.25 | MH, 1 WORKER | 0 | 0 | 0% | 0
PLANTER
Exterior
Auroa Clay Outdoor Planters Large | furnished by SB and install by GC | 1 | EA | 1.25 | MH, 2 WORKER | 0 | 0 | 0% | 0
Interior
Parker Pedestal Med Planter-Alabaster, Standard Entry | furnished by SB and install by GC | 1 | EA | 1 | MH, 2 WORKER | 0 | 0 | 0% | 0
Flueted Ceramic- TableTop White-Small | furnished by SB and install by GC | 2 | EA | 0.25 | MH, 1 WORKER
Flueted Ceramic- TableTop White-Medium | furnished by SB and install by GC | 2 | EA | 0.25 | MH, 1 WORKER | 0 | 0 | 0% | 0
0
MISCELLANEOUS
Umbrella Base | furnished by SB and install by GC | 1 | EA | 0.5 | MH, 2 WORKER | 0 | 0 | 0% | 0
Umbrella without Valance | furnished by SB and install by GC | 1 | EA | 0.75 | MH, 2 WORKER | 0 | 0 | 0% | 0
| LANDSCAPING | (TOTAL) |  |  |  | 0 | 0
| OVERHEAD |  | 0% |  |  |  | 0
| SUB-TOTAL | [5 empty] | 0
EXTERIOR SIDING
Veneer Siding
Brick Veneer | Patching and Repair | 164 | SF | 7.65 | MH, 2 WORKER | 0 | 0 | 0% | 0
| EXTERIOR SIDING | (TOTAL) |  |  |  | 0 | 0
| OVERHEAD |  | 0% |  |  |  | 0
| SUB-TOTAL | [5 empty] | 0
EXTERIOR PAINTING
EXTERIOR FINISHES
Exterior Patio Railing Finishes, 2 Coats Stain
Exterior Patio Railings |  | 94.44 | LF | 7.4 | MH, 2 WORKER | 0 | 0 | 0% | 0
Exterior Patio Post Finishes, Primer + 2 Coats Paint
Exterior Patio Post |  | 85.02 | LF | 7.7 | MH, 1 WORKER | 0 | 0 | 0% | 0
| EXTERIOR PAINTING | (TOTAL) |  |  |  | 0 | 0
| OVERHEAD |  | 0% |  |  |  | 0
| SUB-TOTAL | [5 empty] | 0
METAL STUD FRAMING
METAL STUD
1-T-N, Partial Height=12' | [6 empty] | 0
1-1/2" 20ga Metal Stud x 12' at 16" OC |  | 4 | EA | 1 | MH, 4 WORKERS | 0 | 0 | 0% | 0
1-1/2" 20ga U-Track x 10' |  | 1 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
1-1/2" 20ga Metal Stud Bracing x 8' at 48" OC |  | 1 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
2-F-N & 3-F-N, Full Height=20'
3-5/8" 20ga Metal Stud x 20' at 16" OC |  | 34 | EA | 6 | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-5/8" 20ga Deflection Track x 10' |  | 5 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-5/8" 20ga U-Track x 10' |  | 5 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
2-P-N, Partial Height=12'
3-5/8" 20ga Metal Stud x 12' at 16" OC |  | 25 | EA | 2 | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-5/8" 20ga U-Track x 10' |  | 7 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
2-T-N & 3-T-N, Parital Height=12'
3-5/8" 20ga Metal Stud x 12' at 16" OC |  | 47 | EA | 4 | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-5/8" 20ga U-Track x 10' |  | 13 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-5/8" 20ga Metal Stud Bracing x 8' at 48" OC |  | 16 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-P-N, Parital Height=2'
3-5/8" 16ga Metal Stud x 8' at 16" OC |  | 1 | EA | 1 | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-5/8" 16ga U-Track x 10' |  | 1 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-T-N-H, Parital Height=14'
3-5/8" 16ga Metal Stud x 14' at 16" OC |  | 6 | EA | 1 | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-5/8" 16ga U-Track x 10' |  | 2 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-5/8" 20ga Metal Stud Bracing x 8' at 48" OC |  | 2 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
4-F-N, Full Height=20'
6" 20ga Metal Stud x 20' at 16" OC |  | 3 | EA | 1 | MH, 4 WORKERS | 0 | 0 | 0% | 0
6" 20ga Deflection Track x 10' |  | 1 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
6" 20ga U-Track x 10' |  | 1 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
4-T-N, Full Height=14'
6" 20ga Metal Stud x 14' at 16" OC |  | 7 | EA | 2 | MH, 4 WORKERS | 0 | 0 | 0% | 0
6" 20ga U-Track x 10' |  | 2 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
6" 20ga Metal Stud Bracing x 8' at 48" OC |  | 3 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
4-T-N & 5-T-N, Full Height=12'
6" 20ga Metal Stud x 12' at 16" OC |  | 33 | EA | 6 | MH, 4 WORKERS | 0 | 0 | 0% | 0
6" 20ga U-Track x 10' |  | 9 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
6" 20ga Metal Stud Bracing x 8' at 48" OC |  | 11 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
Soffit, Full Height=12'
3-5/8" 20ga Metal Stud x 12' at 16" OC |  | 67 | EA | 11 | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-5/8" 20ga Deflection Track x 10' |  | 9 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-5/8" 20ga U-Track x 10' |  | 9 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-5/8" 20ga Metal Stud Bracing x 12' at 48" OC |  | 22 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
Soffit & Header, Partial Height=8'
3-5/8" 20ga Metal Stud x 8' at 16" OC |  | 15 | EA | 19 | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-5/8" 20ga U-Track x 10' |  | 31 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
Box Header, Full Height=10'
3-5/8" 20ga Metal Stud x 10' at 16" OC |  | 7 | EA | 2 | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-5/8" 20ga Deflection Track x 10' |  | 1 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
3-5/8" 20ga U-Track x 10' |  | 1 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
Water Heater Shelf, Partial Height=6'
(2) 6" 16ga Metal Stud x 12' at 8" OC |  | 8 | EA | 1 | MH, 4 WORKERS | 0 | 0 | 0% | 0
6" 16ga U-Track x 10' |  | 1 | EA | 1 | MH, 4 WORKERS | 0 | 0 | 0% | 0
(2) 6" 16ga CSJ x 8' at 8" OC |  | 5 | EA | 1 | MH, 4 WORKERS | 0 | 0 | 0% | 0
Jamb Studs and Headers
6" 20ga Metal Stud x 12' |  | 6 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
3 5/8" 20ga U-Track x 10' |  | 6 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
3 5/8" 20ga Metal Stud x 12' |  | 8 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
| METAL STUD FRAMING | (TOTAL) |  |  |  | 0 | 0
| OVERHEAD |  | 0% |  |  |  | 0
| SUB-TOTAL | [5 empty] | 0
DRYWALL
WALLS
5/8" Gypsum Board Type X |  | 2725 | SF | 46 | MH, 4 WORKERS | 0 | 0 | 0% | 0
5/8" Gypsum Board Type X MR |  | 1484 | SF | 25 | MH, 4 WORKERS | 0 | 0 | 0% | 0
1/4" Cement Backer Board |  | 780 | SF | 8 | MH, 4 WORKERS | 0 | 0 | 0% | 0
CEILINGS
5/8" Gypsum Board Type X |  | 1444 | SF | 25 | MH, 4 WORKERS | 0 | 0 | 0% | 0
1/2" Cement Backer Board |  | 20 | SF | 1 | MH, 4 WORKERS | 0 | 0 | 0% | 0
Suspended Ceiling System |  | 1444 | SF | 19 | MH, 4 WORKERS | 0 | 0 | 0% | 0
MISCELLANEOUS
Corner Beads x 10' |  | 55 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
Corner Beads x 12' |  | 7 | EA |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
White Dot-Wespac 3.5 gal |  | 15 | BOX |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
Tape Paper 500 Ft Roll |  | 5 | ROLLS |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
Fine Drywall Screws 1 5/8" Pointers (25lb) |  | 1 | BOX |  | MH, 4 WORKERS | 0 | 0 | 0% | 0
| DRYWALL | (TOTAL) |  |  |  | 0 | 0
| OVERHEAD |  | 0% |  |  |  | 0
| SUB-TOTAL | [5 empty] | 0
FLOORING & TILE
FLOORING & TILE
19795 | Polyvinyl Floor Tile - Eco-Grip - Pewter - 60" x 96" x 1/4" thk | 98.7 | SY | 26.75 | MH, 4 WORKERS | 0 | 0 | 0% | 0
20230 | Floor Tile - I COCCI - Graphite - 24" x 24" (Installation only) | 1697.4 | SF | 59.5 | MH, 4 WORKERS | 0 | 0 | 0% | 0
20267 | Wall Tile - French Clay - Bronzage - 12" x 24" - Vertical Stacked (Installation only) | 335.1 | SF | 11.75 | MH, 4 WORKERS | 0 | 0 | 0% | 0
24559 | Wall Tile - Flatiron - Olivia - Gloss - 2.5" x 9" Vertical Stacked (Installation only) | 156.9 | SF | 5.5 | MH, 4 WORKERS | 0 | 0 | 0% | 0
BASE & TRIMS
x0409 | Tile Base - Daltile Color Wheel - A3361MOD, Matte Black k711 (Installation only) | 42.9 | LF | 6.5 | MH, 2 WORKERS | 0 | 0 | 0% | 0
11403 | Tile Base - Nero - 6"x12" (Installation only) | 189.3 | LF | 11.5 | MH, 2 WORKERS | 0 | 0 | 0% | 0
19795 | Tile Base - Polyvinyl Floor Tile - Eco-Grip - Pewter - 6" | 243.6 | LF | 18.5 | MH, 4 WORKERS | 0 | 0 | 0% | 0
x0404 | Schluter Base - Dilex AHK-AGRB - Brushed Graphite | 58.4 | LF | 6 | MH, 1 WORKER | 0 | 0 | 0% | 0
x0801 | Trim - Schluter Jolly Edge Trim - Aluminum Matte Black - Code: J100MGS | 4.09 | LF | 1 | MH, 1 WORKER | 0 | 0 | 0% | 0
| Schluter Transition Strip for Tile to Eco-Grip | 16.3 | LF | 1 | MH, 1 WORKER | 0 | 0 | 0% | 0
| Transition for Walk Off Mat to Tile - Schluter Systems - Edge Metal - Schiene - 3/8" | 16.1 | LF | 1 | MH, 1 WORKER | 0 | 0 | 0% | 0
| FLOORING & TILE | (TOTAL) |  |  |  | 0 | 0
| OVERHEAD |  | 0% |  |  |  | 0
| SUB-TOTAL | [5 empty] | 0
INTERIOR FINISHES
INTERIOR FINISHES
Brick, x0407 | THIN BRICK CLADDING - EL DORADO STONE - TUNDRABRICK RIVERBED - LIGHT BUFF MORTAR | 656 | SF | 94 | MH, 4 WORKERS | 0 | 0 | 0% | 0
Wall Cladding, MAD100 | WOOD - WALNUT | 621 | SF | 52 | MH, 3 WORKERS | 0 | 0 | 0% | 0
Wall Cladding, MAD100-V | WOOD - BLACK - PLANK - VERTICAL | 45 | SF | 5 | MH, 2 WORKERS | 0 | 0 | 0% | 0
Wall Cladding, MAD200 | WOOD - BLACK - ROUNDED SLAT - VERTICAL | 108 | SF | 12 | MH, 2 WORKERS | 0 | 0 | 0% | 0
Wall Covering, X0403 | WALL COVERING - MOMENTUM - CAMBRIAN - SLATE | 661 | SF | 23 | MH, 2 WORKERS | 0 | 0 | 0% | 0
Wall Covering, X0811 | 3/4" WOOD VENEER PANEL | 70 | SF | 10 | MH, 2 WORKERS | 0 | 0 | 0% | 0
Wall Projection | FRP - White | 1584 | SF | 80 | MH, 3 WORKERS | 0 | 0 | 0% | 0
Acoustical Baffle x0205 | SOFTSPAN 24" ACOUSTICAL BAFFLE SYSTEM W/ PERIMETER BEAMS/CORNERS AND COFFERED PANELS, SOFT SOUND WOOD TEXTURE ACOUSTIC PET, AMERICAN WALNUT | 174 | SF | 20 | MH, 4 WORKERS | 0 | 0 | 0% | 0
Acoustical Baffle x0206 | SOFTSPAN 48" ACOUSTICAL BAFFLE SYSTEM W/ PERIMETER BEAMS/CORNERS, SOFT SOUND WOOD TEXTURE ACOUSTIC PET, AMERICAN WALNUT | 748 | SF | 84 | MH, 4 WORKERS | 0 | 0 | 0% | 0
2x4 ACT Tile | ARMSTRONG - OPTIMA HEALTH ZONE 3115 (WHITE), SQUARE LAY-IN 15/16 W/GRID TO MATCH | 552 | SF | 37 | MH, 3 WORKERS | 0 | 0 | 0% | 0
| ARMSTRONG PRELUDE XL MAIN RUNNERS 12 FT | 12 | EA | 2 | MH, 3 WORKERS | 0 | 0 | 0% | 0
| ARMSTRONG 4 FOOT TEES | 69 | EA | 10 | MH, 3 WORKERS | 0 | 0 | 0% | 0
| 7/8" X 7/8" WALL MOLDING 12 FT. | 173 | EA | 25 | MH, 3 WORKERS | 0 | 0 | 0% | 0
| HANGER WIRE 12GA, 12FT. | 48 | EA | 7 | MH, 3 WORKERS | 0 | 0 | 0% | 0
| INTERIOR FINISHES | (TOTAL) |  |  |  | 0 | 0
| OVERHEAD |  | 0% |  |  |  | 0
| SUB-TOTAL | [5 empty] | 0
INTERIOR PAINTING
INTERIOR PAINT
Primer, 1 Coat
to Gypsum Board | CP-1 | 4517 | SF | 26 | MH, 3 WORKERS | 0 | 0 | 0% | 0
to Open to Structure | CP-1 | 904 | SF | 10 | MH, 3 WORKERS | 0 | 0 | 0% | 0
Paint Finish, 2 Coats
Walls
PT on Gypsum Board | ANEW GREY, SW7030, Eggshell Finish | 189 | SF | 3 | MH, 3 WORKERS | 0 | 0 | 0% | 0
PT on Gypsum Board | URBANE BRONZE, SW7048, Flat Finish | 1048 | SF | 14 | MH, 3 WORKERS | 0 | 0 | 0% | 0
Ceilings
PT on Gypsum Board | ANEW GREY, SW7030, Eggshell Finish | 264 | SF | 4 | MH, 3 WORKERS | 0 | 0 | 0% | 0
PT on Gypsum Board | CARAIBE, SW9090, Eggshell Finish | 1146 | SF | 16 | MH, 3 WORKERS | 0 | 0 | 0% | 0
PT on Gypsum Board | CARAIBE, SW9090, Flat Finish | 102 | SF | 2 | MH, 3 WORKERS | 0 | 0 | 0% | 0
PT on Gypsum Board | URBANE BRONZE, SW7048, Flat Finish | 306 | SF | 5 | MH, 3 WORKERS | 0 | 0 | 0% | 0
PT on Gypsum Board | UNDEFINED | 40 | SF | 1 | MH, 3 WORKERS | 0 | 0 | 0% | 0
Paint on Open to Structure | URBANE BRONZE, SW7048, Flat Finish | 904 | SF | 16 | MH, 3 WORKERS | 0 | 0 | 0% | 0
DOORS
3' x 7' Interior Single Leaf Door | SW7047, Semi-Gloss Finish | 3 | EA | 4 | MH, 2 WORKERS | 0 | 0 | 0% | 0
4' x 7' Interior Single Leaf Door | SW7047, Semi-Gloss Finish | 1 | EA | 2 | MH, 2 WORKERS | 0 | 0 | 0% | 0
DOORS FRAMES
3' x 7' Interior Single Leaf Door Frame | SW7047, Semi-Gloss Finish | 3 | EA | 6 | MH, 2 WORKERS | 0 | 0 | 0% | 0
4' x 7' Interior Single Leaf Door Frame | SW7047, Semi-Gloss Finish | 1 | EA | 2 | MH, 2 WORKERS | 0 | 0 | 0% | 0
3' x 7' Interior Single Leaf Door Frame | SW6258, Semi-Gloss Finish | 2 | EA | 4 | MH, 2 WORKERS | 0 | 0 | 0% | 0
MISCELLANEOUS ITEMS
1" Metal Angle Corner Guard | URBANE BRONZE, SW7048, Flat Finish | 12 | LF | 1 | MH, 3 WORKERS | 0 | 0 | 0% | 0
| INTERIOR PAINTING | (TOTAL) |  |  |  | 0 | 0
| OVERHEAD |  | 0% |  |  |  | 0
| SUB-TOTAL | [5 empty] | 0
INTERIOR TRIM
INTERIOR TRIM
x0813_Trim - 1 1/2" Wood Trim - WD0077 (7'-6''H) |  | 2 | EA | 0.6 | MH, 1 WORKER | 0 | 0 | 0% | 0
x0815_Trim - 1.5" x Wood Cladding Frame - WD0077 (9'-5 3/4''H) |  | 2 | EA | 1.5 | MH, 2 WORKERS | 0 | 0 | 0% | 0
x0800_Trim - 1 1/2" Wood trim - WD0077 |  | 58.9573 | LF | 0.08 | MH, 2 WORKERS | 0 | 0 | 0% | 0
x0805_Trim - 1 1/2" Wood Trim - Painted SW7048-F |  | 23.6056 | LF | 0.08 | MH, 1 WORKER | 0 | 0 | 0% | 0
x0810_Trim - 1" x Scuffmaster Painted Solid Wood trim - Harrison Coll 3/SM8005, GOH 34425395 |  | 34.1755 | LF | 0.09 | MH, 2 WORKERS | 0 | 0 | 0% | 0
x0812_Trim - 1 1/2" Wood Panel Decorative Trim - WD0077 |  | 9.0091 | LF | 0.12 | MH, 1 WORKER | 0 | 0 | 0% | 0
x0814_Trim - 3/4" Wood Trim - WD0077 |  | 15.3196 | LF | 0.06 | MH, 1 WORKER | 0 | 0 | 0% | 0
| INTERIOR TRIM | (TOTAL) |  |  |  | 0 | 0
| OVERHEAD |  | 0% |  |  |  | 0
| SUB-TOTAL | [5 empty] | 0
OPENING
Interior Door
Flush Hollow Metal Door, with Frame: SW7047SG, Min: 3 Coats LH Swing
3'-0''W X 7'-0''W |  | 1 | EA | 3.5 | MH, 2 WORKERS | 0 | 0 | 0% | 0
Flush w/ Narrow Lite Panel Hollow Metal Door, Finish: PL0019 with Frame: SW6258-SG, Min: 3 Coats Double Acting
3'-0''W X 7'-0''W |  | 2 | EA | 4 | MH, 2 WORKERS | 0 | 0 | 0% | 0
Door Hardware
Hardware Set No. 6
Hanging Items | Manuf.: McKinney - Model: TA2714/MPB79 Hinge MacPro Bearing 4.5 x 4.5 Finish: 626 | 6 | EA | 0.2 | MH, 1 WORKER | 0 | 0 | 0% | 0
Securing Devices | Manuf.: Yale Lock - Model: PB5425LN Lock, Shallow Coin Turn, Privacy PB5425LN-693-497 1-3/4 Finish: 626 | 2 | EA | 0.75 | MH, 1 WORKER | 0 | 0 | 0% | 0
Closing Devices | Manuf.: Dorma - Model: 8916 Door Closer 8916 AF89P Finish: 689 | 2 | EA | 0.75 | MH, 1 WORKER | 0 | 0 | 0% | 0
Protective Trim Units | Manuf.: Rockwood - Model: K1050 B4E Kickplate 8" x 34" Each Side 32D Finish: 630 | 4 | EA | 0.2 | MH, 1 WORKER | 0 | 0 | 0% | 0
Accessories | Manuf.: Glynn Johnson - Model: GJ64 Rubber Silencer Finish: Gray | 6 | EA | 0.03 | MH, 1 WORKER | 0 | 0 | 0% | 0
Stops and Holders | Manuf.: Rockwood - Model: 473 Door Stop w/ Hook Finish: 626 | 2 | EA | 0.15 | MH, 1 WORKER | 0 | 0 | 0% | 0
Hardware Set No. 11
Traffice Door Package | Manuf: Eliason - Model: SCP8 36" x 84", Finish: as selected by owner | 2 | EA | 2 | MH, 2 WORKERS | 0 | 0 | 0% | 0
Hardware Set No. 15
Hanging Devices | Manuf.: McKinney - Model: TA2714/MPB79 Finish: 626 | 3 | EA | 0.2 | MH, 1 WORKER | 0 | 0 | 0% | 0
Securing Devices | Manuf.: Yale Lock - Model: B-PB4540SLNIC Lever Storeroom LC B-PB4540SLN-693-497 1-3/4 Finish: 626 | 1 | EA | 0.75 | MH, 1 WORKER | 0 | 0 | 0% | 0
Securing Devices | Manuf.: Falcon Lock - Model: C607 7-Pin Core Combinated "A" Keyway Finish: 626 | 1 | EA | 0.1 | MH, 1 WORKER | 0 | 0 | 0% | 0
Closing Devices | Manuf.: Dorma - Model: 8916 Door Closer 8916 AF89P AL Finish: 689 | 1 | EA | 0.75 | MH, 1 WORKER | 0 | 0 | 0% | 0
Protective Trim Units | Manuf.: Rockwood - Model: K1050 B4E Kickplate 10" x 2" LDW Finish: 630 | 1 | EA | 0.2 | MH, 1 WORKER | 0 | 0 | 0% | 0
Accessories | Manuf.: National Guard - Model: 137NA Weather Strip 17" 36" x 84" Finish: A | 1 | EA | 0.6 | MH, 1 WORKER | 0 | 0 | 0% | 0
Stops and Holders | Manuf.: Rockwood - Model: 473 Door Stop w/ Hook Finish: 626 | 1 | EA | 0.15 | MH, 1 WORKER | 0 | 0 | 0% | 0
| OPENING | (TOTAL) |  |  |  | 0 | 0
| OVERHEAD |  | 0% |  |  |  | 0
| SUB-TOTAL | [5 empty] | 0
MILLWORK
MILLWORK ITEMS SHOWN ON PLANS
BACKBAR
22395_Countertop - Hand Sink Low Splash - 15in 380mm |  | 2 | EA | 1.5 | MH, 2 WORKERS | 0 | 0 | 0% | 0
x0106_Countertop - Filler Backbar - Variable Length |  | 1 | EA | 1 | MH, 2 WORKERS | 0 | 0 | 0% | 0
x0108_Countertop - Warming - RF - 92in 2335mm |  | 1 | EA | 2.5 | MH, 2 WORKERS | 0 | 0 | 0% | 0
x0107_Countertop - Brew - RF - 80in 2285mm |  | 1 | EA | 2.3 | MH, 2 WORKERS | 0 | 0 | 0% | 0
x0105_Countertop - Custom Rounded Wood Edge WD0077 |  | 1 | EA | 1.8 | MH, 2 WORKERS | 0 | 0 | 0% | 0
21928_Countertop - End Cap Backbar |  | 1 | EA | 0.8 | MH, 1 WORKER | 0 | 0 | 0% | 0
x0102_Countertop - CBE Rinse Sink 90lb Ice Bin |  | 1 | EA | 1.5 | MH, 2 WORKERS | 0 | 0 | 0% | 0
x0104_Countertop - Custom Rounded Wood Edge WD0077 |  | 1 | EA | 1.8 | MH, 2 WORKERS | 0 | 0 | 0% | 0
21918_Countertop - Filler Frontbar - Variable Length |  | 1 | EA | 0.6 | MH, 1 WORKER | 0 | 0 | 0% | 0
22353_Countertop - Espresso Frontbar - RF - 14in 3580mm |  | 1 | EA | 3.5 | MH, 3 WORKER | 0 | 0 | 0% | 0
22354_Countertop - Espresso Shroud - 14in 3580mm |  | 1 | EA | 2 | MH, 2 WORKERS | 0 | 0 | 0% | 0
21920_Countertop - Frontbar - 15in 380mm |  | 2 | EA | 1.4 | MH, 2 WORKERS | 0 | 0 | 0% | 0
22407_Countertop - Corner Frontbar Rounded |  | 1 | EA | 2 | MH, 2 WORKERS | 0 | 0 | 0% | 0
24280_Countertop - HOS Frontbar - 60in 1525mm |  | 1 | EA | 1.8 | MH, 2 WORKERS | 0 | 0 | 0% | 0
22361_Countertop - POS - 84in 2135mm |  | 1 | EA | 2.2 | MH, 2 WORKERS | 0 | 0 | 0% | 0
21908_Cabinet - Filler Panel - Variable Length |  | 1 | EA | 0.8 | MH, 1 WORKER | 0 | 0 | 0% | 0
21907_Cabinet - End Cap Backbar |  | 1 | EA | 0.7 | MH, 1 WORKER | 0 | 0 | 0% | 0
17580_Cabinet - CBE Tea Shelf - 29in 735mm - Flat Black MT0028 |  | 2 | EA | 0.6 | MH, 1 WORKER | 0 | 0 | 0% | 0
22632_Cabinet - CBE Dry Inclusion Shelf - 44in 1120mm - Flat Black MT0028 |  | 2 | EA | 0.8 | MH, 1 WORKER | 0 | 0 | 0% | 0
21888_Diewall - Diewall - Support Leg |  | 38 | EA | 0.15 | MH, 1 WORKER | 0 | 0 | 0% | 0
24516_Diewall - Diewall - Framing - Variable Length |  | 12 | EA | 0.5 | MH, 2 WORKERS | 0 | 0 | 0% | 0
24547_Diewall - Diewall - Variable Length |  | 12 | EA | 0.6 | MH, 2 WORKERS | 0 | 0 | 0% | 0
x0109_Panel - Upper Panel - DMB Wood Frame |  | 1 | EA | 0.8 | MH, 2 WORKERS | 0 | 0 | 0% | 0
21914_Other - Fridge Stop Bracket Set |  | 6 | EA | 0.2 | MH, 1 WORKER | 0 | 0 | 0% | 0
11155_Other - Espresso Machine Pump Mount - 10x10in 255x255mm |  | 1 | EA | 0.5 | MH, 1 WORKER | 0 | 0 | 0% | 0
SALES & SEATING
20352_Cafe - Freestanding Inline 2 Unit Short - 72in 1830mm - Walnut WD0077 |  | 1 | EA | 3.5 | MH, 2 WORKERS | 0 | 0 | 0% | 0
20344_Cafe - Wall Bay on Standard 2 Unit - RF - 92in 2335mm Walnut WD0077 |  | 1 | EA | 4 | MH, 2 WORKERS | 0 | 0 | 0% | 0
x0101_Cafe - Custom Shelving - WD0077 Walnut |  | 1 | EA | 2 | MH, 1 WORKER | 0 | 0 | 0% | 0
23963_Cafe - Waste and Recycle Station Three Drop - Warm Brown Woodgrain and White PL0030 CP0002 |  | 1 | EA | 3.5 | MH, 2 WORKERS | 0 | 0 | 0% | 0
MILLWORK ITEMS NOT SHOWN ON PLANS
CAFE AND CABINET
21894_Cabinet - Door - 15in 380mm |  | 7 | EA | 0.6 | MH, 1 WORKER | 0 | 0 | 0% | 0
21895_Cabinet - Door Trash - 15in 380mm |  | 4 | EA | 0.8 | MH, 1 WORKER | 0 | 0 | 0% | 0
21896_Cabinet - Drawer - 15in 380mm |  | 1 | EA | 1 | MH, 1 WORKER | 0 | 0 | 0% | 0
21905_Cabinet - Door - 30in 760mm |  | 2 | EA | 0.9 | MH, 1 WORKER | 0 | 0 | 0% | 0
21913_Cabinet - Equipment Mounting Panel |  | 2 | EA | 1.2 | MH, 2 WORKERS | 0 | 0 | 0% | 0
22749_Cabinet - Espresso Pump Mount Panel |  | 1 | EA | 1 | MH, 1 WORKER | 0 | 0 | 0% | 0
22986_Cabinet - Delivery Drawer - 15in 380mm |  | 3 | EA | 1 | MH, 1 WORKER | 0 | 0 | 0% | 0
24517_Cabinet - Adjustable Shelf - 15in 380mm |  | 14 | EA | 0.3 | MH, 1 WORKER | 0 | 0 | 0% | 0
24520_Cabinet - Adjustable Shelf - 30in 760mm |  | 9 | EA | 0.4 | MH, 1 WORKER | 0 | 0 | 0% | 0
24525_Cabinet - Back Panel - 15in 380mm |  | 7 | EA | 0.5 | MH, 1 WORKER | 0 | 0 | 0% | 0
24527_Cabinet - Back Panel - 30in 760mm |  | 3 | EA | 0.6 | MH, 1 WORKER | 0 | 0 | 0% | 0
24531_Cabinet - Back Panel For Pos - 30in 760mm |  | 2 | EA | 0.8 | MH, 2 WORKERS | 0 | 0 | 0% | 0
24548_Cabinet - Espresso Ice Bin - 20in 510mm |  | 2 | EA | 1.5 | MH, 2 WORKERS | 0 | 0 | 0% | 0
14775_Cafe - Sit Here Table Privacy Panel - Variable Length |  | 2 | EA | 1.8 | MH, 2 WORKERS | 0 | 0 | 0% | 0
| MILLWORK | (TOTAL) |  |  |  | 0 | 0
| OVERHEAD |  | 0% |  |  |  | 0
| SUB-TOTAL | [5 empty] | 0
SPECIALTIES
TOILET ACCESSORIES
16" x 48" Pill Shaped Mirror | West Elm #2997254 | 2 | EA | 3.4 | MH, 2 Workers | 0 | 0 | 0%
42" x 36" Wide Arch Mirror | West Elm #1682424 | 1 | EA | 1.7 | MH, 2 Workers | 0 | 0 | 0%
Counter Mounted Soap Dispenser - OFCI |  | 2 | EA | 1.6 | MH, 2 Workers | 0 | 0 | 0%
Recessed Mounted Baby Changing Station |  | 2 | EA | 2.4 | MH, 2 Workers | 0 | 0 | 0%
Surface Mounted Hand Dryer - OFCI |  | 2 | EA | 1.9 | MH, 2 Workers | 0 | 0 | 0%
Surface Mounted Horizontal Soap Dispenser - OFCI |  | 2 | EA | 1.42 | MH, 2 Workers | 0 | 0 | 0%
Surface Mounted Paper Towel Dispenser - OFCI | Half Size - Translucent Gray | 2 | EA | 1.7 | MH, 2 Workers | 0 | 0 | 0%
Surface-Mounted Coat Hook - OFCI |  | 2 | EA | 1 | MH, 2 Workers | 0 | 0 | 0%
Coat Hook Strip - OFCI |  | 1 | EA | 0.6 | MH, 2 Workers | 0 | 0 | 0%
Hand Dryer Back Panel - OFCI |  | 2 | EA | 2 | MH, 2 Workers | 0 | 0 | 0%
Mirror - BOH - OFCI |  | 1 | EA | 1.7 | MH, 2 Workers | 0 | 0 | 0%
Mop Rack with 3 Holders - OFCI |  | 4 | EA | 2 | MH, 2 Workers | 0 | 0 | 0%
WIRE SHELVING
Work Room Shelving - OFCI | Size: 36" | 11 | EA | 9.9 | MH, 2 Workers | 0 | 0 | 0%
Work Room Shelving Cart Kit - OFCI |  | 1 | EA | 0 | MH, 2 Workers | 0 | 0 | 0%
Work Room Shelving Posts - OFCI |  | 11 | EA | 0 | MH, 2 Workers | 0 | 0 | 0%
24" x 18" Base - OFCI |  | 4 | EA | 1.8 | MH, 2 Workers | 0 | 0 | 0%
WALL PROTECTION
9'-4"H Metal Corner Guard | Size: 1" Color: Pewter | 3 | EA | 2.4 | MH, 2 Workers | 0 | 0 | 0%
9'-6"H Metal Corner Guard | Size: 1" Color: Pewter | 12 | EA | 9.6 | MH, 2 Workers | 0 | 0 | 0%
11'-6"H Metal Corner Guard | Size: 1" Color: Pewter | 1 | EA | 0.95 | MH, 2 Workers | 0 | 0 | 0%
FIRE PROTECTION SPECIALTIES
Fire Extinguisher on Bracket |  | 1 | EA | 0.55 | MH, 2 Workers | 0 | 0 | 0%
SIGNAGES
Restroom Signage | Size: 1'-4" D x 1'-2 1/2" H Grade II Braille | 1 | EA | 0.45 | MH, 2 Workers | 0 | 0 | 0%
Accessibility Signage | 0 | 1 | EA | 0.45 | MH, 2 Workers | 0 | 0 | 0%
Exit Signage | Size: 6" D x 9" H Grade II Braille | 2 | EA | 0.9 | MH, 2 Workers | 0 | 0 | 0%
FURNITURES
Chair - Cafe Daphine Upholstered - OFCI | Color: Black and Caramel Brown Natural WD0035 F0008 | 8 | EA | 2.4 | MH, 2 Workers | 0 | 0 | 0%
Chair - Cafe Hans 2.0 - OFCI | Color: Mottled Grey | 14 | EA | 4.2 | MH, 2 Workers | 0 | 0 | 0%
Chair - Cafe Peggy - OFCI | Color: Black WD0035 | 14 | EA | 4.2 | MH, 2 Workers | 0 | 0 | 0%
Chair - Cafe Peggy Upholstered - OFCI | Color: Walnut and Caramel Brown Natural WD0077 F0008 | 9 | EA | 2.7 | MH, 2 Workers | 0 | 0 | 0%
Chair - Lounge Hans 2.0 - OFCI | Color: Mottled Grey | 6 | EA | 1.8 | MH, 2 Workers | 0 | 0 | 0%
Chair - Lounge Lottie - OFCI | Color: Banker Saddle | 4 | EA | 1.2 | MH, 2 Workers | 0 | 0 | 0%
Chair - Lounge Moon- OFCI | Color: Black and Caramel Brown Natural MT0028 F0008 | 6 | EA | 1.8 | MH, 2 Workers | 0 | 0 | 0%
Chair - Managers Workstation- OFCI | Steelcase Series One Armless | 1 | EA | 0.3 | MH, 2 Workers | 0 | 0 | 0%
Chair - Stool - Counter Height Peggy Upholstered- OFCI | Color: Walnut and Caramel Brown Natural WD0077 F0008 | 12 | EA | 3.6 | MH, 2 Workers | 0 | 0 | 0%
Chair - Stool Bar Height Mater- OFCI | Color: Dark Stained Oak | 8 | EA | 2.4 | MH, 2 Workers | 0 | 0 | 0%
Chair - Stool Counter Height Peggy- OFCI | Color: Black WD0035 | 6 | EA | 1.8 | MH, 2 Workers | 0 | 0 | 0%
Desk - Managers Workstation- OFCI | Size: 48"x24"27" | 1 | EA | 0.5 | MH, 2 Workers | 0 | 0 | 0%
Desk - Managers Workstation Shelves- OFCI | Size: 48"x24"27" | 1 | EA | 0.5 | MH, 2 Workers | 0 | 0 | 0%
File Mobile Pedestal with Cushion and Lock- OFCI |  | 1 | EA | 0.45 | MH, 2 Workers | 0 | 0 | 0%
Hamilton Leather Sofa- OFCI | West Elm - Burnt Sienna #5942664 | 2 | EA | 1.1 | MH, 2 Workers | 0 | 0 | 0%
Managers Desk Cart- OFCI | Size: 24"x20" | 1 | EA | 0.45 | MH, 2 Workers | 0 | 0 | 0%
Organic Modular Table- OFCI | West Elm - Large, Dark Walnut #2439505 | 2 | EA | 0.9 | MH, 2 Workers | 0 | 0 | 0%
Storytelling Accessories Package |  | 1 | EA | 0 | MH, 2 Workers | 0 | 0 | 0%
Table - Accessible Metal with Tapered Legs - OFCI | Size: 36"x24" Color: Black MT0028 | 1 | EA | 0.5 | MH, 2 Workers | 0 | 0 | 0%
Table - Base Accessible Post Leg Square - OFCI | Color: Flat Black MT0028 | 2 | EA | 1 | MH, 2 Workers | 0 | 0 | 0%
Table - Base Bar Height POV 463 - OFCI | Color: Nougat | 4 | EA | 2 | MH, 2 Workers | 0 | 0 | 0%
Table - Base Cafe Height Bottle - OFCI | Color: Flat Black MT0028 | 10 | EA | 5 | MH, 2 Workers | 0 | 0 | 0%
Table - Base Continental Height Bottle - OFCI | Color: Flat Black MT0028 | 3 | EA | 1.5 | MH, 2 Workers | 0 | 0 | 0%
Table - Base Fixed T Base End - OFCI | Size: 32" Color: Flat Black MT0028 | 1 | EA | 0.5 | MH, 2 Workers | 0 | 0 | 0%
Table - Cafe Metal Pedestal Base Square - OFCI | Size: 24" Color: Black MT0028 | 6 | EA | 3 | MH, 2 Workers | 0 | 0 | 0%
Table - Community Counter Height Angle Base - 12 Seat - OFCI | Color: Power Walnut WD0077 | 1 | EA | 0.5 | MH, 2 Workers | 0 | 0 | 0%
Table - Console Table - OFCI | West Elm - Parker Marble Console 60" Marble & Walnut SKU: 6553487 | 1 | EA | 0.5 | MH, 2 Workers | 0 | 0 | 0%
Table - Occasional Cocktail Cameron - OFCI | Color: Flat Black MT0028 | 3 | EA | 1.5 | MH, 2 Workers | 0 | 0 | 0%
Table - Occasional Side Wing - OFCI | Color: Black WD0035 | 6 | EA | 3 | MH, 2 Workers | 0 | 0 | 0%
Table - Occassional Coffee Organic Modular Table - OFCI | West Elm - Small, Dark Walnut #8066175 | 2 | EA | 1 | MH, 2 Workers | 0 | 0 | 0%
Table - Top Accessible for Post Leg Round - OFCI | Size:46" Color: Walnut WD0077 | 2 | EA | 1 | MH, 2 Workers | 0 | 0 | 0%
Table - Top POV Circle - OFCI | Size: 27.5" Color: Nougat | 4 | EA | 2 | MH, 2 Workers | 0 | 0 | 0%
Table - Top Round Edge Round - OFCI | Size: 30" Color Walnut WD0077 | 6 | EA | 3 | MH, 2 Workers | 0 | 0 | 0%
Table - Top Round Edge Square - OFCI | Size: 24" Color: Black WD0035 | 7 | EA | 3.5 | MH, 2 Workers | 0 | 0 | 0%
Table - Top Variable Length - OFCI | Color: Flat Black MT0028 | 1 | EA | 0.5 | MH, 2 Workers | 0 | 0 | 0%
MISCELLANEOUS
15" 5 Comp Locker - OFCI | Size: 15" | 2 | EA | 4 | MH, 2 Workers | 0 | 0 | 0%
93" Power Strip - OFCI |  | 2 | EA | 0.5 | MH, 2 Workers | 0 | 0 | 0%
Partner Work Center - OFCI |  | 1 | EA | 0.9 | MH, 2 Workers | 0 | 0 | 0%
| SPECIALTIES | (TOTAL) |  |  |  | 0 | 0
| OVERHEAD |  | 0% |  |  |  | 0
| SUB-TOTAL | [5 empty] | 0
ROUGH CARPENTRY
Misc. Blockings
2" x 6" x 16' SYP#2 FRT | Blocking at Wall | 12 | EA | 0.4 | MH/ 1 WORKER | 0 | 0 | 0% | 0
2" x 4" x 16' SYP#2 FRT | Blocking at Wall | 4 | EA | 0.44 | MH/ 1 WORKER | 0 | 0 | 0% | 0
2" x 10" x 16' SYP#2 FRT | Blocking at Wall | 2 | EA | 0.5008 | MH/ 1 WORKER | 0 | 0 | 0% | 0
1" x 4" x 16' SYP#2 FRT | Blocking at Door Headers & Jambs | 5 | EA | 0.36 | MH/ 1 WORKER | 0 | 0 | 0% | 0
3/4" x 4' x 8' Plywood | Plywood Backing | 4 | EA | 16 | MH/ 1 WORKER | 0 | 0 | 0% | 0
| ROUGH CARPENTRY | (TOTAL) |  |  |  | 0 | 0
| OVERHEAD |  | 0% |  |  |  | 0
| SUB-TOTAL | [5 empty] | 0
TOTAL BID COST | [6 empty] | 0
Note: All quantities shall be based on site measurement / consumption

## Flooring & Tile
Flooring & Tile Finishes
BASE TAKE-OFF
Unit Name | Product | Qty by Unit | Waste Add-on | Total |  | MANHOURS/SF | TOTAL MANHOURS
NET
19795 | Polyvinyl Floor Tile - Eco-Grip - Pewter - 60" x 96" x 1/4" thk | 98.7 | 0 | 0 | SY | 1.08 | 107
20230 | Floor Tile - I COCCI - Graphite - 24" x 24" (Installation only) | 1697.4 | 0 | 0 | SF | 0.14 | 238
20267 | Wall Tile - French Clay - Bronzage - 12" x 24" - Vertical Stacked (Installation only) | 335.1 | 0 | 0 | SF | 0.14 | 47
24559 | Wall Tile - Flatiron - Olivia - Gloss - 2.5" x 9" Vertical Stacked (Installation only) | 156.9 | 0 | 0 | SF | 0.14 | 22
x0409 | Tile Base - Daltile Color Wheel - A3361MOD, Matte Black k711 (Installation only) | 42.9 | 0 | 0 | LF | 0.3 | 13
11403 | Tile Base - Nero - 6"x12" (Installation only) | 189.3 | 0 | 0 | LF | 0.12 | 23
19795 | Tile Base - Polyvinyl Floor Tile - Eco-Grip - Pewter - 6" | 243.6 | 0 | 0 | LF | 0.3 | 74
x0404 | Schluter Base - Dilex AHK-AGRB - Brushed Graphite | 58.4 | 0 | 0 | LF | 0.1 | 6
x0801 | Trim - Schluter Jolly Edge Trim - Aluminum Matte Black - Code: J100MGS | 4.09 | 0 | 0 | LF | 0.05 | 1
| Schluter Transition Strip for Tile to Eco-Grip | 16.3 | 0 | 0 | LF | 0.06 | 1
| Transition for Walk Off Mat to Tile - Schluter Systems - Edge Metal - Schiene - 3/8" | 16.1 | 0 | 0 | LF | 0.05 | 1
NOTES:
Flooring & Tile
Finish Material Schedule per print I603.
Items that are provided by SB and to be installed only by GC ; Tile 20230, tile base x0409, tile base 11403, tile 24599 and tile 20267.
Polyvinyl floor tile is considered as SY unit in the takeoff ; size sheets: 60" x 96" x 1/4" thk.
Polyvinyl floor tile base is considered as LF unit in the takeoff.
Walk Off Mat is existing to remain per plan notes.

## FDI
Description | Location | QTY (LF) | Drywall Height (LF) - Side 1 | Drywall Height (LF) - Side 2 | Side 1 (Interior Side) |  |  |  | Side 2 (Exterior Side) |  |  |  | Multiplier | Wall Area (SF) |  |  |  | STUDS
[5 empty] | Sheathing Type | THK | Finish Level | No. of Layers | Sheathing Type | THK | Finish Level | No. of Layers |  | Side 1 | Side 2 | 1 1/2" 20ga x 12' @ 16"OC | 1 1/2" 20ga Bracing x 8' @ 48"OC | 3 5/8" 20ga x 20' @ 16"OC | 3 5/8" 16ga x 14' @ 16"OC | 3 5/8" 20ga x 12' @ 16"OC | 3 5/8" 20ga Bracing x 8' @ 48"OC | 3 5/8" 16ga x 2' @ 16"OC | 6" 20ga x 20' @ 16"OC | 6" 20ga x 14' @ 16"OC | 6" 20ga x 12' @ 16"OC | 6" 20ga Bracing x 8' @ 48"OC
WALLS
PHASE 1
1-T-N | Interior Wall | 4 | 12 |  | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 |  |  |  |  | 1 | 48 | 0 | 4 | 4
2-F-N | Interior Wall | 27 | 19 |  | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 |  |  |  |  | 1 | 513 | 0 |  |  | 27
2-P-N | Interior Wall | 32 | 12 |  | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 |  |  |  |  | 1 | 384 | 0 |  |  |  |  | 32
2-T-N | Interior Wall | 18 | 12 |  | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 |  |  |  |  | 1 | 216 | 0 |  |  |  |  | 18 | 18
3-F-N | Interior Wall | 17 | 19 | 12 | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 | 1 | 323 | 204 |  |  | 17
3-P-N | Interior Wall | 3 | 2 | 2 | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 | 1 | 6 | 6 | [6 empty] | 3
3-T-N | Interior Wall | 44 | 12 | 12 | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 | 1 | 528 | 528 |  |  |  |  | 44 | 44
3-T-N-H | Interior Wall | 7 | 14 | 14 | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 | 1 | 98 | 98 |  |  |  | 7 |  | 7
4-F-N | Interior Wall | 3 | 19 | 12 | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 | 1 | 57 | 36 | [7 empty] | 3
4-T-N | Interior Wall | 9 | 14 | 14 | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 | 1 | 126 | 126 | [8 empty] | 9 |  | 9
4-T-N | Interior Wall | 33 | 12 | 12 | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 | 1 | 396 | 396 | [9 empty] | 33 | 33
5-T-N | Interior Wall | 10 | 12 |  | 5/8" Gypsum Board Type X | 2025-05-08 | 4 | 1 |  |  |  |  | 1 | 120 | 0 | [9 empty] | 10 | 10
GWB TYPE X MR | Work Room, Partner Area | 16 | 14 |  | 5/8" Gypsum Board Type X MR | 2025-05-08 | 4 | 1 |  |  |  |  | 1 | 224 | 0
GWB TYPE X MR | Work Room, Partner Area | 105 | 12 |  | 5/8" Gypsum Board Type X MR | 2025-05-08 | 4 | 1 |  |  |  |  | 1 | 1260 | 0
14 CBB | Backbar | 65 | 12 |  | 1/4" Cement Backer Board | 2025-01-04 |  | 1 |  |  |  |  | 1 | 780 | 0
[13 empty] | 5/8" Gypsum Board Type X | 2815 | 1394 | 4 | 4 | 44 | 7 | 94 | 69 | 3 | 3 | 9 | 43 | 52
[13 empty] | 5/8" Gypsum Board Type X MR | 1484 | 0
[13 empty] | 1/4" Cement Backer Board | 780 | 0
Description | Location | Perimeter/ Length (LF) | Area (SF) | Height (LF) | Side 1 |  |  | Ceiling Area (SF)
[5 empty] | Sheathing Type | Finish Level | No. of Layers | Side 1 | STUD
Ceiling | [8 empty] | 3 5/8" 20ga x 12' @ 16"OC | 3 5/8" 20ga Bracing x 12' @ 48"OC | 3 5/8" 20ga x 1' @ 16"OC | 3 5/8" 20ga x 10' @ 16"OC | (2) 6" 16ga CSJ x 8' @ 8"OC | (2) 6" 16ga x 6' @ 8"OC
PHASE 1
Gypsum Board Ceiling |  |  | 779 |  | 5/8" Gypsum Board Type X | 4 | 1 | 779
Soffit, H=4' |  | 88 | 352 | 4 | 5/8" Gypsum Board Type X | 4 | 1 | 352 | 88 | 88
Soffit, H=1' |  | 117 | 117 | 1 | 5/8" Gypsum Board Type X | 4 | 1 | 117 |  |  | 117
Header, H=1' |  | 34 | 34 | 1 | 5/8" Gypsum Board Type X | 4 | 1 | 34 |  |  | 34
Box Header, 2s, H=9' |  | 9 | 162 | 9 | 5/8" Gypsum Board Type X | 4 | 1 | 162 |  |  |  | 9
12 CBB & 58 GWB Type X MR | Water Heater Shelf | 3.1667 | 20 | 6.25 | 5/8" Gypsum Board Type X MR | 4 | 1 | 20 |  |  |  |  | 3.1667
|  | 3.1667 | 20 | 6.25 | 1/2" Cement Backer Board |  | 1 | 20
58 GWB Type X | Water Heater Shelf | 5 | 60 | 6 | 5/8" Gypsum Board Type X | 4 | 1 | 60 | [5 empty] | 5
[7 empty] | 5/8" Gypsum Board Type X | 1444 | 88 | 88 | 151 | 9 | 3.1667 | 5
[7 empty] | 5/8" Gypsum Board Type X MR | 20
[7 empty] | 1/2" Cement Backer Board | 20
Description | Location | AREA (SF) |  | QTY |  | Waste Add-on
ACT | [5 empty] | 1.03
FRAMING | Location | QTY |  | Waste Add-on
Jamb Studs and Headers
6" 20ga Metal Stud x 12' |  | 6 | EA | 0 | EA
3 5/8" 20ga U-Track x 10' |  | 6 | EA | 0 | EA
3 5/8" 20ga Metal Stud x 12' |  | 8 | EA | 0 | EA
Miscellaneous |  |  |  | Waste Add-on
Corner Beads x 10' |  | 29 | EA | 0 | EA
Corner Beads x 10' | Soffit, Header | 26 | EA | 0 | EA
Corner Beads x 12' |  | 7 | EA | 0 | EA
SUMMARY |  |  |  |  | Waste Add-on |  |  |  |  | Productivity Rate per hour for 1 | TOTAL hrs for 4 workers
Description | QTY
WALLS
5/8" Gypsum Board Type X | 2725 | SF |  |  | 0 | SF |  |  |  | 15 | 46
5/8" Gypsum Board Type X MR | 1484 | SF |  |  | 0 | SF |  |  |  | 15 | 25
1/4" Cement Backer Board | 780 | SF |  |  | 0 | SF |  |  |  | 25 | 8
CEILINGS
5/8" Gypsum Board Type X | 1444 | SF |  |  | 0 | SF |  |  |  | 15 | 25
1/2" Cement Backer Board | 20 | SF |  |  | 0 | SF |  |  |  | 25 | 1
Suspended Ceiling System | 1444 | SF |  |  | 0 | SF |  |  |  | 20 | 19
MISCELLANEOUS
Corner Beads x 10' | 55 | EA | 55 | EA | 0 | EA | 0 | EA
Corner Beads x 12' | 7 | EA | 7 | EA | 0 | EA | 0 | EA
White Dot-Wespac 3.5 gal | 15 | BOX | 15 | BOX | 0 | BOX | 0 | BOX
Tape Paper 500 Ft Roll | 5 | ROLLS | 5 | ROLLS | 0 | ROLLS | 0 | ROLLS
Fine Drywall Screws 1 5/8" Pointers (25lb) | 1 | BOX | 1 | BOX | 0 | BOX | 0 | BOX
METAL STUD
1-T-N, Partial Height=12'
1-1/2" 20ga Metal Stud x 12' at 16" OC | 4 | LF | 4 | EA | 0 | LF | 0 | EA |  | 4 | 1
1-1/2" 20ga U-Track x 10' | 8 | LF | 1 | EA | 0 | LF | 0 | EA
1-1/2" 20ga Metal Stud Bracing x 8' at 48" OC | 4 | LF | 1 | EA | 0 | LF | 0 | EA
2-F-N & 3-F-N, Full Height=20'
3-5/8" 20ga Metal Stud x 20' at 16" OC | 44 | LF | 34 | EA | 0 | LF | 0 | EA |  | 2 | 6
3-5/8" 20ga Deflection Track x 10' | 44 | LF | 5 | EA | 0 | LF | 0 | EA
3-5/8" 20ga U-Track x 10' | 44 | LF | 5 | EA | 0 | LF | 0 | EA
2-P-N, Partial Height=12'
3-5/8" 20ga Metal Stud x 12' at 16" OC | 32 | LF | 25 | EA | 0 | LF | 0 | EA |  | 4 | 2
3-5/8" 20ga U-Track x 10' | 64 | LF | 7 | EA | 0 | LF | 0 | EA
2-T-N & 3-T-N, Parital Height=12'
3-5/8" 20ga Metal Stud x 12' at 16" OC | 62 | LF | 47 | EA | 0 | LF | 0 | EA |  | 4 | 4
3-5/8" 20ga U-Track x 10' | 124 | LF | 13 | EA | 0 | LF | 0 | EA
3-5/8" 20ga Metal Stud Bracing x 8' at 48" OC | 62 | LF | 16 | EA | 0 | LF | 0 | EA
3-P-N, Parital Height=2'
3-5/8" 16ga Metal Stud x 8' at 16" OC | 3 | LF | 1 | EA | 0 | LF | 0 | EA |  | 2 | 1
3-5/8" 16ga U-Track x 10' | 6 | LF | 1 | EA | 0 | LF | 0 | EA
3-T-N-H, Parital Height=14'
3-5/8" 16ga Metal Stud x 14' at 16" OC | 7 | LF | 6 | EA | 0 | LF | 0 | EA |  | 2 | 1
3-5/8" 16ga U-Track x 10' | 14 | LF | 2 | EA | 0 | LF | 0 | EA
3-5/8" 20ga Metal Stud Bracing x 8' at 48" OC | 7 | LF | 2 | EA | 0 | LF | 0 | EA
4-F-N, Full Height=20'
6" 20ga Metal Stud x 20' at 16" OC | 3 | LF | 3 | EA | 0 | LF | 0 | EA |  | 2 | 1
6" 20ga Deflection Track x 10' | 3 | LF | 1 | EA | 0 | LF | 0 | EA
6" 20ga U-Track x 10' | 3 | LF | 1 | EA | 0 | LF | 0 | EA
4-T-N, Full Height=14'
6" 20ga Metal Stud x 14' at 16" OC | 9 | LF | 7 | EA | 0 | LF | 0 | EA |  | 2 | 2
6" 20ga U-Track x 10' | 18 | LF | 2 | EA | 0 | LF | 0 | EA
6" 20ga Metal Stud Bracing x 8' at 48" OC | 9 | LF | 3 | EA | 0 | LF | 0 | EA
4-T-N & 5-T-N, Full Height=12'
6" 20ga Metal Stud x 12' at 16" OC | 43 | LF | 33 | EA | 0 | LF | 0 | EA |  | 2 | 6
6" 20ga U-Track x 10' | 86 | LF | 9 | EA | 0 | LF | 0 | EA
6" 20ga Metal Stud Bracing x 8' at 48" OC | 43 | LF | 11 | EA | 0 | LF | 0 | EA
Soffit, Full Height=12'
3-5/8" 20ga Metal Stud x 12' at 16" OC | 88 | LF | 67 | EA | 0 | LF | 0 | EA |  | 2 | 11
3-5/8" 20ga Deflection Track x 10' | 88 | LF | 9 | EA | 0 | LF | 0 | EA
3-5/8" 20ga U-Track x 10' | 88 | LF | 9 | EA | 0 | LF | 0 | EA
3-5/8" 20ga Metal Stud Bracing x 12' at 48" OC | 88 | LF | 22 | EA | 0 | LF | 0 | EA
Soffit & Header, Partial Height=8'
3-5/8" 20ga Metal Stud x 8' at 16" OC | 151 | LF | 15 | EA | 0 | LF | 0 | EA |  | 2 | 19
3-5/8" 20ga U-Track x 10' | 302 | LF | 31 | EA | 0 | LF | 0 | EA
Box Header, Full Height=10'
3-5/8" 20ga Metal Stud x 10' at 16" OC | 9 | LF | 7 | EA | 0 | LF | 0 | EA |  | 2 | 2
3-5/8" 20ga Deflection Track x 10' | 9 | LF | 1 | EA | 0 | LF | 0 | EA
3-5/8" 20ga U-Track x 10' | 9 | LF | 1 | EA | 0 | LF | 0 | EA
Water Heater Shelf, Partial Height=6'
(2) 6" 16ga Metal Stud x 12' at 8" OC | 5 | LF | 8 | EA | 0 | LF | 0 | EA |  | 2 | 1
6" 16ga U-Track x 10' | 5 | LF | 1 | EA | 0 | LF | 0 | EA |  | 2 | 1
(2) 6" 16ga CSJ x 8' at 8" OC | 3.1667 | LF | 5 | EA | 0 | LF | 0 | EA |  | 2 | 1
Jamb Studs and Headers
6" 20ga Metal Stud x 12' |  |  | 6 | EA |  |  | 0 | EA
3 5/8" 20ga U-Track x 10' |  |  | 6 | EA |  |  | 0 | EA
3 5/8" 20ga Metal Stud x 12' |  |  | 8 | EA |  |  | 0 | EA

## Landscaping
Item/Material | Description | Quantities
PLANTS
Mixture of Plants | Sanseviera-Tall, Flowering Annuals-Small, Sweet Potato Vine- Low/Hanging | 7.8
Bird of Paradise | Tall Height | 1
Limelight | Medium Height | 2
ZZ Plant | Medium Height | 2
Golden Pathos | Low Height | 1
Prayer Plant | Low Height | 1
Bird's Nest Fern | Low Height | 1
Sanseviera | Low Height | 1
PLANTER
EXTERIOR
Auroa Clay Outdoor Planters Large | furnished by SB and install by GC | 1
INTERIOR
Parker Pedestal Med Planter-Alabaster, Standard Entry | furnished by SB and install by GC | 1
Flueted Ceramic- TableTop White-Small | furnished by SB and install by GC | 2
Flueted Ceramic- TableTop White-Medium | furnished by SB and install by GC | 2
MISCELLANEOUS
Umbrella Base | furnished by SB and install by GC | 1
Umbrella without Valance | furnished by SB and install by GC | 1
Notes:
Included items that are furnished by Starbucks but to be intalled by GC.
Plant location to be planted on table top counter not specified, so we just used the schedule in the tak-off.
No specified number of plants for Design ID X0004 – Mixture of Plants, so we’re taking off the area for planting.

## Opening
Openings
NOTES:
DOOR
There is a door schedule found on plan, see sheet A601.
Door tag 10190 was not identified on available plans, consider it as in the passage of workroom to restroom/exit corridor.
Hardware set of restrooms are consider and its quanties are 2.
Doors have 1/2" undercut, and non rabbet.
BASE TAKE-OFF
Item | Description | Qty by Unit | MANHOUR | Waste Add-on | Total |  | Unit Material
NET
Interior Door
Flush Hollow Metal Door, with Frame: SW7047SG, Min: 3 Coats LH Swing
3'-0''W X 7'-0''W |  | 1 |  |  | 1 | EA | 0
Flush w/ Narrow Lite Panel Hollow Metal Door, Finish: PL0019 with Frame: SW6258-SG, Min: 3 Coats Double Acting
3'-0''W X 7'-0''W |  | 2 |  |  | 2 | EA | 0
Door Hardware
Hardware Set No. 6
Hanging Items | Manuf.: McKinney - Model: TA2714/MPB79 Hinge MacPro Bearing 4.5 x 4.5 Finish: 626 | 6 |  |  | 6 | EA | 0
Securing Devices | Manuf.: Yale Lock - Model: PB5425LN Lock, Shallow Coin Turn, Privacy PB5425LN-693-497 1-3/4 Finish: 626 | 2 |  |  | 2 | EA | 0
Closing Devices | Manuf.: Dorma - Model: 8916 Door Closer 8916 AF89P Finish: 689 | 2 |  |  | 2 | EA | 0
Protective Trim Units | Manuf.: Rockwood - Model: K1050 B4E Kickplate 8" x 34" Each Side 32D Finish: 630 | 4 |  |  | 4 | EA | 0
Accessories | Manuf.: Glynn Johnson - Model: GJ64 Rubber Silencer Finish: Gray | 6 |  |  | 6 | EA | 0
Stops and Holders | Manuf.: Rockwood - Model: 473 Door Stop w/ Hook Finish: 626 | 2 |  |  | 2 | EA | 0
Hardware Set No. 11 |  |  |  |  | 0
Traffice Door Package | Manuf: Eliason - Model: SCP8 36" x 84", Finish: as selected by owner | 2 |  |  | 2 | EA | 0
Hardware Set No. 15
Hanging Devices | Manuf.: McKinney - Model: TA2714/MPB79 Finish: 626 | 3 |  |  | 3 | EA | 0
Securing Devices | Manuf.: Yale Lock - Model: B-PB4540SLNIC Lever Storeroom LC B-PB4540SLN-693-497 1-3/4 Finish: 626 | 1 |  |  | 1 | EA | 0
Securing Devices | Manuf.: Falcon Lock - Model: C607 7-Pin Core Combinated "A" Keyway Finish: 626 | 1 |  |  | 1 | EA | 0
Closing Devices | Manuf.: Dorma - Model: 8916 Door Closer 8916 AF89P AL Finish: 689 | 1 |  |  | 1 | EA | 0
Protective Trim Units | Manuf.: Rockwood - Model: K1050 B4E Kickplate 10" x 2" LDW Finish: 630 | 1 |  |  | 1 | EA | 0
Accessories | Manuf.: National Guard - Model: 137NA Weather Strip 17" 36" x 84" Finish: A | 1 |  |  | 1 | EA | 0
Stops and Holders | Manuf.: Rockwood - Model: 473 Door Stop w/ Hook Finish: 626 | 1 |  |  | 1 | EA | 0
NOTES:
WINDOW
All windows are existing.

## Millwork & Interior Trim
MILLWORK
NOTES:
MILLWORK
There is a casework schedule found on plans. See sheet I603. For items that are shown on plans are trace per enlarged plan and match it quantities.
All items are in count as it specifications are already mentioned and considered.
All items are per SB furnished and only GC are by install, thus no unit material cost are considered.
Highlighted items on sheet I603 are not found on available plans but consider its quantity for reference.
Other non-millwork items falls on finishes.
BASE TAKE-OFF
Item | Description | Qty by Unit | MANHOUR | Waste Add-on | Total |  | Unit Material
NET
MILLWORK ITEMS SHOWN ON PLANS
BACKBAR |  |  |  |  | 0 | 0
22395_Countertop - Hand Sink Low Splash - 15in 380mm |  | 2 |  |  | 2 | EA
x0106_Countertop - Filler Backbar - Variable Length |  | 1 |  |  | 1 | EA
x0108_Countertop - Warming - RF - 92in 2335mm |  | 1 |  |  | 1 | EA
x0107_Countertop - Brew - RF - 80in 2285mm |  | 1 |  |  | 1 | EA
x0105_Countertop - Custom Rounded Wood Edge WD0077 |  | 1 |  |  | 1 | EA
21928_Countertop - End Cap Backbar |  | 1 |  |  | 1 | EA
x0102_Countertop - CBE Rinse Sink 90lb Ice Bin |  | 1 |  |  | 1 | EA
x0104_Countertop - Custom Rounded Wood Edge WD0077 |  | 1 |  |  | 1 | EA
21918_Countertop - Filler Frontbar - Variable Length |  | 1 |  |  | 1 | EA
22353_Countertop - Espresso Frontbar - RF - 14in 3580mm |  | 1 |  |  | 1 | EA
22354_Countertop - Espresso Shroud - 14in 3580mm |  | 1 |  |  | 1 | EA
21920_Countertop - Frontbar - 15in 380mm |  | 2 |  |  | 2 | EA
22407_Countertop - Corner Frontbar Rounded |  | 1 |  |  | 1 | EA
24280_Countertop - HOS Frontbar - 60in 1525mm |  | 1 |  |  | 1 | EA
22361_Countertop - POS - 84in 2135mm |  | 1 |  |  | 1 | EA
21908_Cabinet - Filler Panel - Variable Length |  | 1 |  |  | 1 | EA
21907_Cabinet - End Cap Backbar |  | 1 |  |  | 1 | EA
17580_Cabinet - CBE Tea Shelf - 29in 735mm - Flat Black MT0028 |  | 2 |  |  | 2 | EA
22632_Cabinet - CBE Dry Inclusion Shelf - 44in 1120mm - Flat Black MT0028 |  | 2 |  |  | 2 | EA
21888_Diewall - Diewall - Support Leg |  | 38 |  |  | 38 | EA
24516_Diewall - Diewall - Framing - Variable Length |  | 12 |  |  | 12 | EA
24547_Diewall - Diewall - Variable Length |  | 12 |  |  | 12 | EA
x0109_Panel - Upper Panel - DMB Wood Frame |  | 1 |  |  | 1 | EA
21914_Other - Fridge Stop Bracket Set |  | 6 |  |  | 6 | EA
11155_Other - Espresso Machine Pump Mount - 10x10in 255x255mm |  | 1 |  |  | 1 | EA
0
SALES & SEATING |  |  |  |  | 0
20352_Cafe - Freestanding Inline 2 Unit Short - 72in 1830mm - Walnut WD0077 |  | 1 |  |  | 1 | EA
20344_Cafe - Wall Bay on Standard 2 Unit - RF - 92in 2335mm Walnut WD0077 |  | 1 |  |  | 1 | EA
x0101_Cafe - Custom Shelving - WD0077 Walnut |  | 1 |  |  | 1 | EA
23963_Cafe - Waste and Recycle Station Three Drop - Warm Brown Woodgrain and White PL0030 CP0002 |  | 1 |  |  | 1 | EA
MILLWORK ITEMS NOT SHOWN ON PLANS
CAFE AND CABINET
21894_Cabinet - Door - 15in 380mm |  | 7 |  |  | 7 | EA
21895_Cabinet - Door Trash - 15in 380mm |  | 4 |  |  | 4 | EA
21896_Cabinet - Drawer - 15in 380mm |  | 1 |  |  | 1 | EA
21905_Cabinet - Door - 30in 760mm |  | 2 |  |  | 2 | EA
21913_Cabinet - Equipment Mounting Panel |  | 2 |  |  | 2 | EA
22749_Cabinet - Espresso Pump Mount Panel |  | 1 |  |  | 1 | EA
22986_Cabinet - Delivery Drawer - 15in 380mm |  | 3 |  |  | 3 | EA
24517_Cabinet - Adjustable Shelf - 15in 380mm |  | 14 |  |  | 14 | EA
24520_Cabinet - Adjustable Shelf - 30in 760mm |  | 9 |  |  | 9 | EA
24525_Cabinet - Back Panel - 15in 380mm |  | 7 |  |  | 7 | EA
24527_Cabinet - Back Panel - 30in 760mm |  | 3 |  |  | 3 | EA
24531_Cabinet - Back Panel For Pos - 30in 760mm |  | 2 |  |  | 2 | EA
24548_Cabinet - Espresso Ice Bin - 20in 510mm |  | 2 |  |  | 2 | EA
14775_Cafe - Sit Here Table Privacy Panel - Variable Length |  | 2 |  |  | 2 | EA
NOTES:
INTERIOR TRIM
There is a casework schedule found on plans. See sheet I603. For items that are shown on plans are trace per enlarged plan and match it quantities.
On sheet I103 and I106 are the pages used as reference for interior trim takeoff.
All items are per SB furnished and only GC are by install, thus no unit material cost are considered.
Other wood materials are under finishes.
BASE TAKE-OFF
Item | Description | Qty by Unit | MANHOUR | Waste Add-on | Total |  | Unit Material
NET
INTERIOR TRIM
x0813_Trim - 1 1/2" Wood Trim - WD0077 (7'-6''H) |  | 2 |  |  | 2 | EA
x0815_Trim - 1.5" x Wood Cladding Frame - WD0077 (9'-5 3/4''H) |  | 2 |  |  | 2 | EA
x0800_Trim - 1 1/2" Wood trim - WD0077 |  | 58.9573 |  |  | 58.9573 | LF
x0805_Trim - 1 1/2" Wood Trim - Painted SW7048-F |  | 23.6056 |  |  | 23.6056 | LF
x0810_Trim - 1" x Scuffmaster Painted Solid Wood trim - Harrison Coll 3/SM8005, GOH 34425395 |  | 34.1755 |  |  | 34.1755 | LF
x0812_Trim - 1 1/2" Wood Panel Decorative Trim - WD0077 |  | 9.0091 |  |  | 9.0091 | LF
x0814_Trim - 3/4" Wood Trim - WD0077 |  | 15.3196 |  |  | 15.3196 | LF

## Specialties
Specialties
BASE TAKE-OFF
Item | Description | Qty by Unit | MANHOUR | Waste Add-on |  | Total
NET
TOILET ACCESSORIES
16" x 48" Pill Shaped Mirror | West Elm #2997254 | 2 |  | 0 | 0% | 2 | EA
42" x 36" Wide Arch Mirror | West Elm #1682424 | 1 |  | 0 | 0% | 1 | EA
Counter Mounted Soap Dispenser - OFCI |  | 2 |  | 0 | 0% | 2 | EA
Recessed Mounted Baby Changing Station |  | 2 |  | 0 | 0% | 2 | EA
Surface Mounted Hand Dryer - OFCI |  | 2 |  | 0 | 0% | 2 | EA
Surface Mounted Horizontal Soap Dispenser - OFCI |  | 2 |  | 0 | 0% | 2 | EA
Surface Mounted Paper Towel Dispenser - OFCI | Half Size - Translucent Gray | 2 |  | 0 | 0% | 2 | EA
Surface-Mounted Coat Hook - OFCI |  | 2 |  | 0 | 0% | 2 | EA
Coat Hook Strip - OFCI |  | 1 |  | 0 | 0% | 1 | EA
Hand Dryer Back Panel - OFCI |  | 2 |  | 0 | 0% | 2 | EA
Mirror - BOH - OFCI |  | 1 |  | 0 | 0% | 1 | EA
Mop Rack with 3 Holders - OFCI |  | 4 |  | 0 | 0% | 4 | EA
WIRE SHELVING
Work Room Shelving - OFCI | Size: 36" | 11 |  | 0 | 0% | 11 | EA
Work Room Shelving Cart Kit - OFCI |  | 1 |  | 0 | 0% | 1 | EA
Work Room Shelving Posts - OFCI |  | 11 |  | 0 | 0% | 11 | EA
24" x 18" Base - OFCI |  | 4 |  | 0 | 0% | 4 | EA
WALL PROTECTION
9'-4"H Metal Corner Guard | Size: 1" Color: Pewter | 3 |  | 0 | 0% | 3 | EA
9'-6"H Metal Corner Guard | Size: 1" Color: Pewter | 12 |  | 0 | 0% | 12 | EA
11'-6"H Metal Corner Guard | Size: 1" Color: Pewter | 1 |  | 0 | 0% | 1 | EA
FIRE PROTECTION SPECIALTIES
Fire Extinguisher on Bracket |  | 1 |  | 0 | 0% | 1 | EA
SIGNAGES
Restroom Signage | Size: 1'-4" D x 1'-2 1/2" H Grade II Braille | 1 |  | 0 | 0% | 1 | EA
Accessibility Signage |  | 1 |  | 0 | 0% | 1 | EA
Exit Signage | Size: 6" D x 9" H Grade II Braille | 2 |  | 0 | 0% | 2 | EA
FURNITURES
Chair - Cafe Daphine Upholstered - OFCI | Color: Black and Caramel Brown Natural WD0035 F0008 | 8 |  | 0 | 0% | 8 | EA
Chair - Cafe Hans 2.0 - OFCI | Color: Mottled Grey | 14 |  | 0 | 0% | 14 | EA
Chair - Cafe Peggy - OFCI | Color: Black WD0035 | 14 |  | 0 | 0% | 14 | EA
Chair - Cafe Peggy Upholstered - OFCI | Color: Walnut and Caramel Brown Natural WD0077 F0008 | 9 |  | 0 | 0% | 9 | EA
Chair - Lounge Hans 2.0 - OFCI | Color: Mottled Grey | 6 |  | 0 | 0% | 6 | EA
Chair - Lounge Lottie - OFCI | Color: Banker Saddle | 4 |  | 0 | 0% | 4 | EA
Chair - Lounge Moon- OFCI | Color: Black and Caramel Brown Natural MT0028 F0008 | 6 |  | 0 | 0% | 6 | EA
Chair - Managers Workstation- OFCI | Steelcase Series One Armless | 1 |  | 0 | 0% | 1 | EA
Chair - Stool - Counter Height Peggy Upholstered- OFCI | Color: Walnut and Caramel Brown Natural WD0077 F0008 | 12 |  | 0 | 0% | 12 | EA
Chair - Stool Bar Height Mater- OFCI | Color: Dark Stained Oak | 8 |  | 0 | 0% | 8 | EA
Chair - Stool Counter Height Peggy- OFCI | Color: Black WD0035 | 6 |  | 0 | 0% | 6 | EA
Desk - Managers Workstation- OFCI | Size: 48"x24"27" | 1 |  | 0 | 0% | 1 | EA
Desk - Managers Workstation Shelves- OFCI | Size: 48"x24"27" | 1 |  | 0 | 0% | 1 | EA
File Mobile Pedestal with Cushion and Lock- OFCI |  | 1 |  | 0 | 0% | 1 | EA
Hamilton Leather Sofa- OFCI | West Elm - Burnt Sienna #5942664 | 2 |  | 0 | 0% | 2 | EA
Managers Desk Cart- OFCI | Size: 24"x20" | 1 |  | 0 | 0% | 1 | EA
Organic Modular Table- OFCI | West Elm - Large, Dark Walnut #2439505 | 2 |  | 0 | 0% | 2 | EA
Storytelling Accessories Package |  | 1 |  | 0 | 0% | 1 | EA
Table - Accessible Metal with Tapered Legs - OFCI | Size: 36"x24" Color: Black MT0028 | 1 |  | 0 | 0% | 1 | EA
Table - Base Accessible Post Leg Square - OFCI | Color: Flat Black MT0028 | 2 |  | 0 | 0% | 2 | EA
Table - Base Bar Height POV 463 - OFCI | Color: Nougat | 4 |  | 0 | 0% | 4 | EA
Table - Base Cafe Height Bottle - OFCI | Color: Flat Black MT0028 | 10 |  | 0 | 0% | 10 | EA
Table - Base Continental Height Bottle - OFCI | Color: Flat Black MT0028 | 3 |  | 0 | 0% | 3 | EA
Table - Base Fixed T Base End - OFCI | Size: 32" Color: Flat Black MT0028 | 1 |  | 0 | 0% | 1 | EA
Table - Cafe Metal Pedestal Base Square - OFCI | Size: 24" Color: Black MT0028 | 6 |  | 0 | 0% | 6 | EA
Table - Community Counter Height Angle Base - 12 Seat - OFCI | Color: Power Walnut WD0077 | 1 |  | 0 | 0% | 1 | EA
Table - Console Table - OFCI | West Elm - Parker Marble Console 60" Marble & Walnut SKU: 6553487 | 1 |  | 0 | 0% | 1 | EA
Table - Occasional Cocktail Cameron - OFCI | Color: Flat Black MT0028 | 3 |  | 0 | 0% | 3 | EA
Table - Occasional Side Wing - OFCI | Color: Black WD0035 | 6 |  | 0 | 0% | 6 | EA
Table - Occassional Coffee Organic Modular Table - OFCI | West Elm - Small, Dark Walnut #8066175 | 2 |  | 0 | 0% | 2 | EA
Table - Top Accessible for Post Leg Round - OFCI | Size:46" Color: Walnut WD0077 | 2 |  | 0 | 0% | 2 | EA
Table - Top POV Circle - OFCI | Size: 27.5" Color: Nougat | 4 |  | 0 | 0% | 4 | EA
Table - Top Round Edge Round - OFCI | Size: 30" Color Walnut WD0077 | 6 |  | 0 | 0% | 6 | EA
Table - Top Round Edge Square - OFCI | Size: 24" Color: Black WD0035 | 7 |  | 0 | 0% | 7 | EA
Table - Top Variable Length - OFCI | Color: Flat Black MT0028 | 1 |  | 0 | 0% | 1 | EA
MISCELLANEOUS
15" 5 Comp Locker - OFCI | Size: 15" | 2 |  | 0 | 0% | 2 | EA
93" Power Strip - OFCI |  | 2 |  | 0 | 0% | 2 | EA
Partner Work Center - OFCI |  | 1 |  | 0 | 0% | 1 | EA
NOTES:
Specialties
No Toilet Accessory Schedule provided.
Existing Toilet Accessory not considered in the proposal.
Accessibility Signage Specs not given in plan.
No manufacturer and model given for Fire Extinguishers and Toilet Accessories.
Horizontal Soap Dispenser was not listed under specialtiy equipment at sheet I601, it was included in the proposal. Considered as OFCI, the same with other accessories listed.
Considered 11 counts of Work Room Shelving (6 counts in schedule).
West Elm Mirror Manufacturer and Model at sheet I602
Considered Furnitures and Shelving in the Proposal

## Wood Framing
NOTES:
Rough Framing
Assumed SYP#2 Lumber Specie
Considered all blockings to be FRT (A101¦Gen. Notes Item B)
New Walls are specified as Metal Studs per schedule at A101
Assumed 2x6 Blockings for Wall Blockings not specified in Plan
1x4 FRT blocking at openings per detail 5¦I509
Considered 3/4" Plywood backing at Details 2¦I502 & 2¦I503
Considere 2x10 FRT blocking per detail 2 ¦ I504
1.A Typical Wall Framing Takeoff
DESCRIPTION | Total LF/QTY (Planswift data and rounded up) | OC Spacing (in.) Use 16"OC, UNO | BOTTOM AND TOP PLATE, BLOCKING (LF)
|  |  | 2 x 6 FRT | 2x4 FRT | 1x4 FRT | 2x10 FRT
1F
2x6 FRT Blocking | 125 |  | 181
1x4 FRT Wood Blocking (5¦I509) | 10 |  |  |  | 10
1x4x9' FRT Wood Blocking (5¦I509) | 4 |  |  |  | 36
1x4x10' FRT Wood Blocking (5¦I509) | 2 |  |  |  | 20
2x4x3' FRT Vert.Blocking (6¦1501) | 20 |  |  | 60
2x10 FRT Blocking | 20 |  |  |  |  | 20
| 1F - SUB TOTAL: |  | 181 | 60 | 66 | 20
1.B Structural Wall Framing Takeoff
DESCRIPTION | Total LF/QTY (Planswift data and rounded up) | Sheathing Height (FT) | SHEATHING (4'x8') (SF)
3/4" x 4' x 8' Plywood
1F
3/4" Plywood Backing (H=8') (2¦I502) | 10 | 8 | 80
3/4" Plywood Backing (2¦I503) | 31 |  | 31
| 1F - SUB TOTAL: |  | 111
M A T E R I A L S U M M A R Y |  |  |  | Studs Specie | SYP#2
Item | Description | Qty | Unit
LUMBER
Misc. Blockings
2" x 6" x 16' SYP#2 FRT | Blocking at Wall | 12 | EA
2" x 4" x 16' SYP#2 FRT | Blocking at Wall | 4 | EA
2" x 10" x 16' SYP#2 FRT | Blocking at Wall | 2 | EA
1" x 4" x 16' SYP#2 FRT | Blocking at Door Headers & Jambs | 5 | EA
3/4" x 4' x 8' Plywood | Plywood Backing | 4 | EA

## Interior Painting & Finishes
NOTES:
Paint and interior finish specifications per print I603
One coat of primer and two coats of paint are considered for all drywall and open to structure.
Two coats of paint are considered for all existing drywall.
One coat of primer is considered for FRP surfaces.
Paint Coverages Area/Gallon
BASE TAKE-OFF |  |  |  |  | Primer | 250SF/gal
[5 empty] | Paint | 300SF/gal
WALL FINISHES (INTERIOR) |  |  | Length | Height | Sides | Finish
Brick, x0407 | 156 | SF | 13 | 12 | 1
Brick, x0407 | 266 | SF | 14 | 19 | 1
Brick, x0407 | 234 | SF | 13 | 18 | 1
Wall Cladding, MAD100 | 105 | SF | 21 | 5 | 1
Wall Cladding, MAD100 | 40 | SF | 4 | 10 | 1
Wall Cladding, MAD100 | 252 | SF | 21 | 12 | 1
Wall Cladding, MAD100 | 48 | SF | 16 | 3 | 1
Wall Cladding, MAD100 | 176 | SF | 16 | 11 | 1
Wall Cladding, MAD100-V | 45 | SF | 15 | 3 | 1
Wall Cladding, MAD200 | 108 | SF | 18 | 6 | 1
Wall Covering, X0403 | 221 | SF | 17 | 13 | 1
Wall Covering, X0403 | 440 | SF | 55 | 8 | 1
Wall Covering, X0811 | 70 | SF | 7 | 10 | 1
PT on Gypsum, SW7030 | 189 | SF | 63 | 3 | 1
PT on Gypsum, SW7048 | 720 | SF | 72 | 10 | 1
PT on Gypsum, SW7048 | 144 | SF | 16 | 9 | 1
PT on Gypsum, SW7048 | 85 | SF | 17 | 5 | 1
PT on Gypsum, SW7048 | 99 | SF | 11 | 9 | 1
Primer on FRP | 1584 | SF | 176 | 9 | 1
CEILING FINISHES |  |  | Length | Height
PT on Existing Gypsum, SW7030 | 122 | SF
PT on Gypsum, SW9090-F | 102 | SF
PT on Gypsum, SW9090-ES | 653 | SF
PT on Gypsum, SW9090-ES | 175 | SF | 35 | 5
PT on Gypsum, SW9090-ES | 318 | SF | 53 | 6
PT on Gypsum, SW7030 | 113 | SF
PT on Gypsum, SW7030 | 29 | SF | 29 | 1
PT on Gypsum, SW7048 | 51 | SF | 51 | 1
PT on Gypsum, SW7048 | 255 | SF | 51 | 5
PT on Gypsum, Undefined | 40 | SF | 10 | 4
Paint to Open to Structure, SW7048 | 904 | SF
Acoustical Baffle x0205 | 174 | SF
Acoustical Baffle x0206 | 748 | SF
Coffered Panel | 174 | SF
2x4 ACT Tile | 552 | SF
ACT Wall Moulding | 173 | LF
DOOR AND DOOR FRAME |  |  | no. of Doors | Height | Width | Frame Perimeter
4' x 7' Exterior Single Leaf Door
SW7047 | 56 | SF | 1 | 7 | 4
3' x 7' Interior Single Leaf Door
SW7047 | 126 | SF | 3 | 7 | 3
3' x 7' Interior Single Leaf Door
SW6258 | 84 | SF | 2 | 7 | 3
MISCELLANEOUS ITEMS |  |  | Qty | Height
METAL
1" Metal Angle Corner Guard | 12 | LF | 1 | 12
1" FRP Corner Guard | 120 | LF | 12 | 10
SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | WASTE ADD-ON |  | Typical Productivity | UNIT | MH/UNIT | TOTAL MANHOUR
INTERIOR FINISHES |  |  |  | 1 | [5 empty] | Duration Target | 15 | days
Brick, x0407 | THIN BRICK CLADDING - EL DORADO STONE - TUNDRABRICK RIVERBED - LIGHT BUFF MORTAR | 656 | SF | 656 | SF | 7 | SF/HR | 0.14286 | 94 | Workday | 8 | hours
Wall Cladding, MAD100 | WOOD - WALNUT | 621 | SF | 621 | SF | 12 | SF/HR | 0.083333 | 52 | Total Hour | 461 | manhours
Wall Cladding, MAD100-V | WOOD - BLACK - PLANK - VERTICAL | 45 | SF | 45 | SF | 11 | SF/HR | 0.090909 | 5 | Crew Size | 4 | workers
Wall Cladding, MAD200 | WOOD - BLACK - ROUNDED SLAT - VERTICAL | 108 | SF | 108 | SF | 9 | SF/HR | 0.11111 | 12
Wall Covering, X0403 | WALL COVERING - MOMENTUM - CAMBRIAN - SLATE | 661 | SF | 661 | SF | 30 | SF/HR | 0.033333 | 23
Wall Covering, X0811 | 3/4" WOOD VENEER PANEL | 70 | SF | 70 | SF | 7 | SF/HR | 0.14286 | 10
Wall Projection | FRP - White | 1584 | SF | 1584 | SF | 20 | SF/HR | 0.05 | 80
Acoustical Baffle x0205 | SOFTSPAN 24" ACOUSTICAL BAFFLE SYSTEM W/ PERIMETER BEAMS/CORNERS AND COFFERED PANELS, SOFT SOUND WOOD TEXTURE ACOUSTIC PET, AMERICAN WALNUT | 174 | SF | 174 | SF | 9 | SF/HR | 0.11111 | 20
Acoustical Baffle x0206 | SOFTSPAN 48" ACOUSTICAL BAFFLE SYSTEM W/ PERIMETER BEAMS/CORNERS, SOFT SOUND WOOD TEXTURE ACOUSTIC PET, AMERICAN WALNUT | 748 | SF | 748 | SF | 9 | SF/HR | 0.11111 | 84
2x4 ACT Tile | ARMSTRONG - OPTIMA HEALTH ZONE 3115 (WHITE), SQUARE LAY-IN 15/16 W/GRID TO MATCH | 552 | SF | 552 | SF | 15 | SF/HR | 0.066667 | 37
| ARMSTRONG PRELUDE XL MAIN RUNNERS 12 FT | 12 | EA | 12 | EA | 7 | EA/HR | 0.14286 | 2
| ARMSTRONG 4 FOOT TEES | 69 | EA | 69 | EA | 7 | EA/HR | 0.14286 | 10
| 7/8" X 7/8" WALL MOLDING 12 FT. | 173 | EA | 173 | EA | 7 | EA/HR | 0.14286 | 25
| HANGER WIRE 12GA, 12FT. | 48 | EA | 48 | EA | 7 | EA/HR | 0.14286 | 7
INTERIOR PAINT | [9 empty] | Duration Target | 5 | days
Primer, 1 Coat | [9 empty] | Workday | 8 | hours
to Gypsum Board | CP-1 | 4517 | SF | 4517 | SF | 180 | SF/HR | 0.0055556 | 26 | Total Hour | 116 | manhours
to Open to Structure | CP-1 | 904 | SF | 904 | SF | 100 | SF/HR | 0.01 | 10 | Crew Size | 3 | workers
Paint Finish, 2 Coats
Walls
PT on Gypsum Board | ANEW GREY, SW7030, Eggshell Finish | 189 | SF | 189 | SF | 80 | SF/HR | 0.0125 | 3
PT on Gypsum Board | URBANE BRONZE, SW7048, Flat Finish | 1048 | SF | 1048 | SF | 80 | SF/HR | 0.0125 | 14
Ceilings
PT on Gypsum Board | ANEW GREY, SW7030, Eggshell Finish | 264 | SF | 264 | SF | 75 | SF/HR | 0.013333 | 4
PT on Gypsum Board | CARAIBE, SW9090, Eggshell Finish | 1146 | SF | 1146 | SF | 75 | SF/HR | 0.013333 | 16
PT on Gypsum Board | CARAIBE, SW9090, Flat Finish | 102 | SF | 102 | SF | 75 | SF/HR | 0.013333 | 2
PT on Gypsum Board | URBANE BRONZE, SW7048, Flat Finish | 306 | SF | 306 | SF | 75 | SF/HR | 0.013333 | 5
PT on Gypsum Board | UNDEFINED | 40 | SF | 40 | SF | 75 | SF/HR | 0.013333 | 1
Paint on Open to Structure | URBANE BRONZE, SW7048, Flat Finish | 904 | SF | 904 | SF | 60 | SF/HR | 0.016667 | 16
DOORS
3' x 7' Interior Single Leaf Door | SW7047, Semi-Gloss Finish | 3 | EA | 3 | EA | 0.75 | EA/HR | 1.3333 | 4
4' x 7' Interior Single Leaf Door | SW7047, Semi-Gloss Finish | 1 | EA | 1 | EA | 0.75 | EA/HR | 1.3333 | 2
DOORS FRAMES
3' x 7' Interior Single Leaf Door Frame | SW7047, Semi-Gloss Finish | 3 | EA | 3 | EA | 0.5 | EA/HR | 2 | 6
4' x 7' Interior Single Leaf Door Frame | SW7047, Semi-Gloss Finish | 1 | EA | 1 | EA | 0.5 | EA/HR | 2 | 2
3' x 7' Interior Single Leaf Door Frame | SW6258, Semi-Gloss Finish | 2 | EA | 2 | EA | 0.5 | EA/HR | 2 | 4
MISCELLANEOUS ITEMS
1" Metal Angle Corner Guard | URBANE BRONZE, SW7048, Flat Finish | 12 | LF | 12 | LF | 20 | LF/HR | 0.05 | 1

## HM Frame Door (hidden)
Description | QTY (EA) | Unit Material | Total Material | Unit Labor | Total Labor
DOORS
TYPE D1, HM FRAME - 3'-0' x 7'-0' | 7 | 0 | 0 | 0 | 0
TYPE D2, HM FRAME - 16'-0' x 14'-0' | 1 | 0 | 0 | 0 | 0
TYPE D2, HM FRAME - 20'-0' x 14'-0' | 2 | 0 | 0 | 0 | 0

## Exterior Siding
Starbucks - Exterior Siding Takeoffs
1620 S University Dr, Fort Worth, TX 76107
EXTERIOR SIDINGS
NOTE:
Exterior Siding
Only Patching and repair area were considered in takeoffs.
Brick Veneer considered in the takeoffs as per plan.
EXTERIOR- Windows and Doors
Description/Type Windows | Width (FT') | Height (FT') | QTY | LF w/o Sill | Total LF Surround | Total LF Top | Total LF Sill | Total Window/Door Tape
|  |  |  | 0 | 0 | 0 | 0 | 0
SUM |  |  | 0 | 0 | 0 | 0 | 0 | 0
Description/Type Doors | Width (FT') | Height (FT') | QTY | SF | Total LF Surround | Total LF Top | Total LF Threshold | Total Window/Door Tape
|  |  |  | 0 | 0 | 0 | 0 | 0
SUM |  |  | 0 | 0 | 0 | 0 | 0 | 0
Sidings | Size / O.C. Spacing | QTY | UNIT
Veneer Siding
Brick Veneer | Patching and Repair | 163.27 | SF |  |  |  | 164
Exterior Siding
Siding
Veneer Siding
Brick Veneer | Patching and Repair | 164 | SF

## Exterior Painting
BASE TAKEOFF
Project: | Waynesville
Address: | 200 Fleetwood Drive, Waynesville, Missouri 65583
Date of Plans | 2025-03-17
Date of Bid | 2025-11-04
EXTERIOR FINISHES
Exterior Patio Railing Finishes, 2 Coats Stain
3' H Patio Railing (at Patio)(Painted)(x2) | 94.44 | LF | 2 | 47.22 | 283.32
Exterior Patio Railings | 94.44 | LF
Exterior Patio Post Finishes, Primer + 2 Coats Paint
3" Dia Patio Post (Painted)(2x) | 25.02 | LF | 2 | 12.51 | 3.1275
4-1/2" Dia Patio Post (Painted)(2x) | 60 | LF | 2 | 30 | 11.25
14.3775
Exterior Patio Post | 85.02 | LF
NOTES:
Painting:
Two coats of stain paint are considered for the Exterior Patio Railings.
One coat of primer and two coats of paint are considered for the Exterior Patio Posts.
As per Key Note 6 , Patio Railing will be restained wood SW3524.
As per Key Note 6 , Patio Post will be repainted SW7048.