STARBUCKS STANDARD NEW STORE/RELOCATION BID NOTES

- General Contractor (GC) is responsible for verification of all utilities and measurements are as depicted on drawings and verified against casework shop drawings and FF&E plans. This includes verification of quantities.  All GC’s or their subs should verify quantities via take off not just schedules. Any variation should be reported to Construction Manager (CM) immediately.

- If not otherwise noted on plans, GC will be responsible for all installations of Starbucks provided equipment and systems, to include refrigerators, freezers, energy management system, etc., casework.  If you have specific questions a RFI should be submitted.

- GC is responsible for disposal of packaging for all Starbucks provided equipment and providing dumpster for initial store setup team prior to opening.

- GC is responsible for interior and exterior cleaning prior to store turnover to operations and final clean after initial store setup prior to opening.

- GC is responsible for knowing the Landlord Work Letter (LLWL) and its contents, if you do not understand what is being provided, please contact your CM. GC will need to be present during the turnover of the property and acknowledge condition of property at turnover.  The landlord’s responsibilities are noted in the LLWL.

- GC will be responsible for ensuring ALL permits including health have been applied for and paid.  These costs should be reflected in your bids as allowance of $3,000 under “Regulatory requirements” if this amount is exceeded in total for permits, they should be reflected as a change order at the end of the project.

- GC will be responsible for transferring application from landlord for utilities and providing meter numbers to Starbucks for transfer to Starbucks.

- GC will be responsible for providing a Store Delivery Schedule (SDS) to the CM’s Project Specialist (PS) within 2 weeks of award of project. GC is solely responsible for receipt of all SBUX provide materials and is solely responsible for delivery and receipt of all materials at the job site.

- Please submit all RFI’s to the CM by EOD 2 days prior to bid due date; any discrepancies in the drawings are assumed to be bid in the most expensive way.

- Utilize bid in Compass system, please do not add lines to the bid provided. Plans are available on Box. Specifications for all Starbucks specified and provided items are available on Store Development Resource Center (SDRC); please email CM and PS for access.

- This project is a new store and sales weeks are critical if there are issues with the proposed schedule please notify CM, every effort should be made in your proposed schedule to improve the dates.

- An official schedule and sub list must be provided within one week of contract awarding.

- Please include the use of OpenSpace in your bid.

In addition, the following will be part of the contract:

Expectation regarding GC’s and/or their consolidators receiving Starbucks furnished items. Each contractor is responsible for adhering to the following process:

- Contract is awarded.

- GC provides CR (Construction Representative) with a ship to address and contact information for receiver.

- The CR) will provide the GC with an IOL with anticipated ship dates.

- GC should check items ordered list and GC responsibility in plans to insure EVERY item for the job has been accounted for in their order or on Starbucks order.

- GC will receive owner supplied items receive means, check shipping manifest, check for damage or missing items.

- GC will mark ANY missing or damaged items the bill of lading at time of receipt and report to the PS or CM within 24 hours of delivery.

- PS or CM will order replacements from appropriate vendor as soon as missing item or damage is reported.

- GC receives corrected item.

- If GC does not report missing item or damaged item per procedures, GC will assume responsibility for replacing that item at no cost to Starbucks.

GC to check Items Ordered List and GC responsibility in plans and revisions to ensure every item has been accounted for in GC order or Starbucks order. GC to receive owner supplied items and report any missing items listed on manifest or damaged items to CR immediately.

GC must complete all items as identified in the Greener Stores checklist which include the GC checklist, 2 IAQ reports, and TAB report with any corrections uploaded to BOX no later than 7 days after store opening.  GC is responsible for making sure the EMS system is fully functional and commissioned.