## SUMMARY
GC LEGACY CONSTRUCTION
Proposal Date:
Project Name: University Park Village (Starbucks 6212)
GC LEGACY CONSTRUCTION
Plan Date: 8/27/2025
PROJECT PROPOSAL
ITEM |  | DESCRIPTION |  |  | QUANTITY | UOM | LABOR HOURS | TOTAL LABOUR (US$) | TOTAL MATERIAL (US$) | TOTAL AMOUNT(US$)
I. |  | MATERIALS
ELECTRICAL WORKS
|  |  | A. | SITE WORKS (not in scope) |  |  |  |  | 0 | 0
|  |  | B. | MATERIAL (NON-QUOTED)
|  |  | 1 | Feeders | 1 | lot |  |  | 0 | 0
|  |  | 2 | Power Supply for Lighting and Small Power | 1 | lot |  |  | 9217.2023 | 9217.2023
|  |  | 3 | Low Voltage System | 1 | lot |  |  | 238.1868 | 238.1868
|  |  | 4 | Testing and Commissioning | 1 | lot |  |  | 1500 | 1500
|  |  | C. | MATERIAL (QUOTED)
|  |  | 1 | Panelboards and Equipments | 1 | lot |  |  | 0 | 0
|  |  | 2 | Lighting Fixtures and Lighting Controls (Owner Supplied) | 1 | lot |  |  | 0 | 0
|  |  | 3 | Others |  |  |  |  | 0 | 0
|  |  | D. | SALES TAX (9.5% of A + B + C) | 1 | lot |  |  | 0 | 1040.762 | 9.5%
|  | TOTAL MATERIAL COST | [7 empty] | 11996.151
II. |  | LABOR
|  |  | 1 | Direct Labor |  |  | 797.55 | 141963.9 | 0 | 141963.9
|  |  | 2 | Non Productive Labor (20% of Direct Labor) |  |  | 159.51 | 28392.78 | 0 | 28392.78 | 20%
|  | TOTAL LABOR HOURS AND LABOR COST |  |  |  |  | 957.06 |  |  | 170356.68 | 178
III. |  | DIRECT JOB EXPENSES
|  |  | 1 | Scissor Lifts | 3 | equipment month |  |  | 1000 | 3000
|  |  | 2 | Title 24 | 1 | lot |  |  | 1500 | 1500
|  |  | 3 | Temp Power/Lighting | 1 | lot |  |  | 1500 | 1500
|  |  | 4 | Hauling Equipment (if needed) | [5 empty] | 0
|  |  | 5 | Excavation Equipment (if needed) | [5 empty] | 0
|  | TOTAL JOB EXPENSES | [7 empty] | 6000
IV. |  | MISCELLANEOUS
|  |  | 1 | Demolition, Safe-Off (if needed) | 1 | lot |  |  |  | 0
|  | TOTAL MISCELLANEOUS | [7 empty] | 0
V. |  | SUBCONTRACTS, if any | [7 empty] | 0
VI. |  | DIRECT COST (I + II + III + IV + V) | [7 empty] | 188352.831
VII. |  | COMPANY OVERHEAD (10% OF TOTAL DIRECT COST) |  |  | 1 | lot |  |  |  | 18835.2831 | 10%
VIII. |  | COMPANY PROFIT (15% OF TOTAL DIRECT COST) |  |  | 1 | lot |  |  |  | 28252.9247 | 15%
IX. |  | BONDS, if any | [7 empty] | 0
X. |  | CONTINGENCY, if any | [7 empty] | 0
XI. |  | BID ALTERNATES, if any | [7 empty] | 0
XII. |  | FINAL BID PRICE (VI + VII + VIII + IX + X + XI) | [7 empty] | 235441.0388

## BREAKDOWN (BUILDING)
Project Name: University Park Village (Starbucks 6212)
| Address: 1620 S University Dr, Fort Worth, TX 76107 | [9 empty] | Labor Rate: | 178 | Per Hour | Source: | NECA
Plan Date: 8/27/2025
Electrical | Electrical | [5 empty] | 1ST FLOOR |  | ROOF PLAN |  |  | TOTAL |  | Total Labor Hrs | Labor Hours | Total Labor Cost | Material Pricing | Total Material Pricing | Total | REFERENCE
Item No. | Description | Added Description |  |  |  |  | Qty | Lin. Ft. | Qty | Lin. Ft. |  | Qty | Lin. Ft. | [6 empty] | LABOR HOURS
| MAIN BUILDING ELECTRICAL WORKS |  | CONTRACTOR |  | CLIENT / VENDOR
|  |  | PROVIDE | INSTALL | PROVIDE | INSTALL
A.1 | Feeders
Feeder Wires and Conduit
| 1-1/4" EMT Conduit |  | X | X |  |  |  | 30 |  |  |  |  | 30 | 1.86 | 0.062 | 331.08 |  | 0 | 331.08 | NECA
| Copper Wire, 1#3 AWG |  | X | X |  |  |  | 120 |  |  |  |  | 120 | 1.8 | 0.015 | 320.4 |  | 0 | 320.4 | NECA
| Copper Wire, 1#8G AWG |  | X | X |  |  |  | 40 |  |  |  |  | 40 | 0.36 | 0.009 | 64.08 |  | 0 | 64.08 | NECA
| Conduit Fittings, support and Wire connectors |  | X | X |  |  | 1 |  |  |  |  | 1 |  | 0 |  | 0 |  | 0 | 0
| Feeder Wires and Conduit | [12 empty] | 4.02 |  | 715.56 |  | 0 | 715.56
A.1 | Feeders Total | [12 empty] | 4.02 |  | 715.56 |  | 0 | 715.56
A.3 | Power Supply for Lighting and Small Power
Wiring Devices (Power Receptacles, Etc. includes boxes)
| Junction Box |  | X | X |  |  | 263 |  | 0 |  |  | 263 |  | 131.5 | 0.5 | 23407 |  | 0 | 23407 | NECA
| Junction Box, Weatherproof |  | X | X |  |  | 0 |  | 10 |  |  | 10 |  | 5 | 0.5 | 890 |  | 0 | 890 | NECA
| Duplex Receptacle |  | X | X |  |  | 32 |  | 0 |  |  | 32 |  | 12.8 | 0.4 | 2278.4 |  | 0 | 2278.4 | NECA
| Duplex Dedicated Receptacle |  | X | X |  |  | 7 |  | 0 |  |  | 7 |  | 2.8 | 0.4 | 498.4 |  | 0 | 498.4 | NECA
| Duplex Receptacle, with Surge Protection Device |  | X | X |  |  | 2 |  | 0 |  |  | 2 |  | 0.9 | 0.45 | 160.2 |  | 0 | 160.2 | NECA
| Duplex Receptacle, GFCI Type WP |  | X | X |  |  | 2 |  | 0 |  |  | 2 |  | 0.9 | 0.45 | 160.2 |  | 0 | 160.2 | NECA
| Duplex Receptacle, Floor Mounted |  | X | X |  |  | 4 |  | 0 |  |  | 4 |  | 4 | 1 | 712 |  | 0 | 712 | NECA
| Quadruplex Receptacle |  | X | X |  |  | 10 |  | 0 |  |  | 10 |  | 8 | 0.8 | 1424 |  | 0 | 1424 | NECA
| Special Purpose Receptacle, NEMA 6-50R |  | X | X |  |  | 2 |  | 0 |  |  | 2 |  | 2 | 1 | 356 |  | 0 | 356 | NECA | https://www.mscdirect.com/product/details/48670590
| Special Purpose Receptacle, NEMA 5-15R |  | X | X |  |  | 2 |  | 0 |  |  | 2 |  | 2 | 1 | 356 |  | 0 | 356 | NECA
| Special Purpose Receptacle, NEMA 14-50R |  | X | X |  |  | 2 |  | 0 |  |  | 2 |  | 2 | 1 | 356 |  | 0 | 356 | NECA | https://www.mscdirect.com/product/details/48670665
| Special Purpose Receptacle, NEMA 6-30R |  | X | X |  |  | 2 |  | 0 |  |  | 2 |  | 2 | 1 | 356 |  | 0 | 356 | NECA | https://www.mscdirect.com/product/details/60512597
| LeGrand Plugmold (MODEL#: BK20GB509TRUAC) |  | X | X |  |  | 3 |  | 0 |  |  | 3 |  | 6 | 2 | 1068 |  | 0 | 1068 | NECA | https://www.fergusonhome.com/legrand-20gb509truac/s2057263?srsltid=AfmBOoqJXTpd5-ZjDsxTNyuVEugW0DsiyVGCqS0ikTJyKgVWGh5bQuUW
| Wiring Devices (Power Receptacles, Etc. includes boxes) | [12 empty] | 179.9 |  | 32022.2 |  | 0 | 32022.2
Conduit and Wires (For Lighting and Small Power)
| 1/2" EMT Conduit |  | X | X |  |  |  | 4540 |  | 290 |  |  | 4830 | 217.35 | 0.045 | 38688.3 | 0.424 | 2047.92 | 40736.22 | NECA
| 3/4" EMT Conduit |  | X | X |  |  |  | 350 |  | 110 |  |  | 460 | 23 | 0.05 | 4094 | 0.7509 | 345.414 | 4439.414 | NECA
| 1" EMT Conduit |  | X | X |  |  |  | 0 |  | 60 |  |  | 60 | 3.3 | 0.055 | 587.4 | 1.272 | 76.32 | 663.72 | NECA
| Copper Wire, 2#12 AWG + 1#12G AWG |  | X | X |  |  |  | 6090 |  | 290 |  |  | 6380 | 114.84 | 0.018 | 20441.52 | 0.55884 | 3565.3992 | 24006.9192 | NECA
| Copper Wire, 2#10 AWG + 1#10G AWG |  | X | X |  |  |  | 220 |  | 0 |  |  | 220 | 4.62 | 0.021 | 822.36 | 0.85473 | 188.0406 | 1010.4006 | NECA
| Copper Wire, 2#8 AWG + 1#10G AWG |  | X | X |  |  |  | 20 |  | 0 |  |  | 20 | 0.5 | 0.025 | 89 | 1.3668 | 27.337 | 116.337 | NECA
| Copper Wire, 3#12 AWG + 1#12G AWG |  | X | X |  |  |  | 70 |  | 70 |  |  | 140 | 3.36 | 0.024 | 598.08 | 0.74512 | 104.3168 | 702.3968 | NECA
| Copper Wire, 3#10 AWG + 1#10G AWG |  | X | X |  |  |  | 0 |  | 50 |  |  | 50 | 1.4 | 0.028 | 249.2 | 1.1396 | 56.982 | 306.182 | NECA
| Copper Wire, 3#8 AWG + 1#10G AWG |  | X | X |  |  |  | 130 |  | 80 |  |  | 210 | 7.14 | 0.034 | 1270.92 | 1.9078 | 400.6422 | 1671.5622 | NECA
| Copper Wire, 3#4 AWG + 1#10G AWG |  | X | X |  |  |  | 0 |  | 70 |  |  | 70 | 3.22 | 0.046 | 573.16 | 3.9683 | 277.7838 | 850.9438 | NECA
| Conduit Fittings, support and Wire connectors |  | X | X |  |  | 1 |  |  |  |  | 1 |  | 0 |  | 0 | 2127.0467 | 2127.0467 | 2127.0467
| Conduit and Wires (For Lighting and Small Power) | [12 empty] | 378.73 |  | 67413.94 |  | 9217.2023 | 76631.1423
| Power Supply for Lighting and Small Power Total | [12 empty] | 558.63 |  | 99436.14 |  | 9217.2023 | 108653.3423
A.5 | Low Voltage System
3 | Conduit, Wires, Boxes, and Devices
| 3/4" EMT Conduit |  | X | X |  |  |  | 180 |  |  |  |  | 180 | 9 | 0.05 | 1602 | 0.7509 | 135.162 | 1737.162 | NECA
| Conduit Fittings and Support |  | X | X |  |  | 1 |  |  |  |  | 1 |  | 0 |  | 0 | 54.0648 | 54.0648 | 54.0648
| Single gang box with mudring |  | X | X |  |  | 18 |  |  |  |  | 18 |  | 9 | 0.5 | 1602 | 2.72 | 48.96 | 1650.96 | NECA | https://www.ebay.com/itm/226549530809?_skw=metal+electrical+junction+box&itmmeta=01JVXRDW8S6A1GBJS5YHDZN1A2&hash=item34bf6780b9:g:9GMAAOSwUZtniYw4&itmprp=enc%3AAQAKAAABAFkggFvd1GGDu0w3yXCmi1fROv%2BanpVGQjrQrSpomIortIIFIs66dmyO0ZmiJAyOW2V0mBGWtA9F%2Fhcp4z9oxC9VtnupjwGVYI1SUM%2Fegq%2B7SpEIClT4M%2BjFaW2JbQhEu9nJBWoHs3IcCNJ323a5%2FOnNpEovt6ypfk%2FtE4dlbXv342OKyjtRz%2BG2AQVzXAv7zFqWDW7MSkr3LhssVvk8dkDFJy%2B%2B5Cd3CKrCyiRF65TXZITGP8QUMmPLcI5hf458hqojJPiigiBwE9oukqkFkBCO1dA0MiG4gylbi1K8gdk2kDyQGV5j3py4u4QSHKGbe83V8WzHNE0fHgZZ%2BaBttJQ%3D%7Ctkp%3ABk9SR8rEt7jfZQ
| Conduit, Wires, Boxes, and Devices | [12 empty] | 18 |  | 3204 |  | 238.1868 | 3442.1868
| Low Voltage System Total | [12 empty] | 18 |  | 3204 |  | 238.1868 | 3442.1868
A.2 | Lighting Fixtures, Controls and Panelboards/Switchgears
Panelboards and Equipments
| Panel " C ", 100A MLO, 120/208V, 3P, 4W, 10KAIC, Surface Mtd., in NEMA 1 Enclosure |  | X | X |  |  | 1 |  |  |  |  | 1 |  | 10 | 10 | 1780 |  | 0 | 1780 | NECA | https://www.se.com/us/en/product/VH321NRB/safety-switch-visipact-heavy-duty-fused-viewing-window-nema-3r-240v-30a-3-pole-neutral-installed/?range=7273-heavy-duty-safety-switches&selectedNodeId=12144223672
Branches:
1 - 15A, 2P, Circuit Breaker
18 - 20A, 1P, Circuit Breaker
3 - 15A, 1P, Circuit Breaker
19 - Space
| Disconnect Switch, 80A, 3P, in NEMA 3R Enclosure |  | X | X |  |  | 0 |  | 1 |  |  | 1 |  | 3 | 3 | 534 |  | 0 | 534 | NECA
| Disconnect Switch, 50A, 3P, in NEMA 3R Enclosure |  | X | X |  |  | 0 |  | 1 |  |  | 1 |  | 2 | 2 | 356 |  | 0 | 356 | NECA
| Disconnect Switch, 30A, 3P, in NEMA 3R Enclosure |  | X | X |  |  | 0 |  | 1 |  |  | 1 |  | 2 | 2 | 356 |  | 0 | 356 | NECA
| Disconnect Switch, 30A, 2P, in NEMA 3R Enclosure |  | X | X |  |  | 1 |  | 0 |  |  | 1 |  | 2 | 2 | 356 |  | 0 | 356 | NECA
| Panelboards and Equipments | [12 empty] | 19 |  | 3382 |  | 0 | 3382
Lighting Fixtures and Lighting Controls (Owner Supplied)
| Wall Motion Sensor |  | X | X |  |  | 2 |  |  |  |  | 2 |  | 1 | 0.5 | 178 | "Owner Supplied" | 0 | 178 | NECA | https://www.ebay.com/itm/305603188973?_skw=MOTION+SENSOR+SWITCH%2C+UNIT+SHALL+INCLUDE+MANUAL+ON%2FOFF+INTEGRAL+TO+SENSOR+UNIT%2C+WITH+POWERPACK%2C+WALL+MTD.&itmmeta=01K8YW5GAS09715MMX1DAX3MNB&hash=item47275e98ed:g:JsgAAOSwolZlgxfH&itmprp=enc%3AAQAKAAABMFkggFvd1GGDu0w3yXCmi1c5PrZH9o2u20BnqrU9Zf5XZrCI63qMGBPSJyTe6r6bV932YEy6qWMCLF7X3jU27rdS2Z0PTSOczeVVyC7zaD%2Buo2zWUYveS3bmLzNF07StqxxyEb3Q4PE2n5AxGw%2FLcecdzu3GePYb3o0f4SURXsjax22qPONEuTIQJqnpItYIO0o8jHznPmzLhuS%2FYY%2FjswN4%2B51vYmzCdQx%2Bmh7iDZOPze07Ow0R24kX1S7gNFE1ISoXJdyESBtGh3WqI5XuYZAJt4Amuo37tKc%2FLTClalQl75Jw73T%2FLuUhZE%2FfIBSZHFBV%2FyImtrDq7S%2BNisebZehtSn5tpkXhQygKf2Xrd9vDagRocDRNt8URazDiUG3AGqUKz6zTocxU2w4OSwHoCuE%3D%7Ctkp%3ABk9SR8CFltzHZg
| Switchbank complete with 9-Dimmer Switch |  | X | X |  |  | 1 |  |  |  |  | 1 |  | 4.5 | 4.5 | 801 | "Owner Supplied" | 0 | 801 | NECA | https://www.ebay.com/itm/397021260933?_skw=DIMMER+SWITCH%2C+WALL+MTD.&itmmeta=01K8YWH0K0SXBWQ1CTCQZCPC2R&hash=item5c704fac85:g:ofcAAeSwRNJouG5I&itmprp=enc%3AAQAKAAAA8FkggFvd1GGDu0w3yXCmi1fFGGYh32G7yZ1Kym2GQPAooift9NOfoQp3iquGwcwakUANKT07oyYAwwkPlXfYrgWFbpZRShM877qhsdeWewyH4r91eSF2P1RDaT0WCRUQGLrX4NNn3PlI9B0XmnbNAfbcemf2hCbs6SP3jkEsvL%2BUTW18Vdh%2Fh%2FoslbaF%2B39n8dz%2FqgWPLCbowOgZh07bMDF8d1h2l%2BKNqV7VQVjpA6lQRQsY6ZPicScfaQvPRT4rRlrDGQJkTMShruMjsRA3eS1DhoWjyg604w3w4iKTBE1rTEl7Khu3cwEUniH51i86Dg%3D%3D%7Ctkp%3ABFBM0InE3Mdm
| 24VDC Drive for LED Strip Light |  | X | X |  |  | 8 |  |  |  |  | 8 |  | 4 | 0.5 | 712 | "Owner Supplied" | 0 | 712 | NECA | https://www.ebay.com/itm/355619900469?_skw=24VDC+DRIVER&itmmeta=01K8YWXFDNSDK07F1F0PKQG1YZ&hash=item52cc990c35:g:tqAAAOSwTP1mFWG3&itmprp=enc%3AAQAKAAAA4FkggFvd1GGDu0w3yXCmi1cb0p2QHLfe6FlkI6bSLk%2FuAULcA%2FMHiEX5Zpavn4o3XeIOfJ1in355Abbirc2tYnkd%2B7fNFOjLkGzy4%2BY62TbREb%2Flp0QKfqTjOAa7wv1ZP51gmeJOXD8l1YxovG3D9%2FFRkXpEVSLfkjq2j827S4ve8q5sixQXNp4GmOUnb26h1ilSluNhCaKQRxcSP4n8y7sQsFPbEQ12H2JUe9yoF2McJDNvH77g86J%2BlpfKC08lePYdGO5roqEsvzuug%2BxiTXi56LIQE24I4OgtMG95zOm9%7Ctkp%3ABFBMgvf13Mdm
| Type " 19045 ", LED Exit Sign with Emergency Light |  |  | X | X |  | 1 |  |  |  |  | 1 |  | 1.5 | 1.5 | 267 | "Owner Supplied" | 0 | 267 | NECA
| Type " 19047 ", LED Exit Sign with Emergency Light |  |  | X | X |  | 4 |  |  |  |  | 4 |  | 6 | 1.5 | 1068 | "Owner Supplied" | 0 | 1068 | NECA
| Type " 19056 ", LED Emergency Light |  |  | X | X |  | 1 |  |  |  |  | 1 |  | 1.5 | 1.5 | 267 | "Owner Supplied" | 0 | 267 | NECA
| Type " 21769 ", Recessed Can Light |  |  | X | X |  | 35 |  |  |  |  | 35 |  | 28 | 0.8 | 4984 | "Owner Supplied" | 0 | 4984 | NECA
| Type " 21769 ", Recessed Can Light with Emergency Lighting Inverter |  |  | X | X |  | 2 |  |  |  |  | 2 |  | 1.6 | 0.8 | 284.8 | "Owner Supplied" | 0 | 284.8 | NECA
| Type " 21771 ", Recessed Can Light |  |  | X | X |  | 20 |  |  |  |  | 20 |  | 16 | 0.8 | 2848 | "Owner Supplied" | 0 | 2848 | NECA
| Type " 21772 ", Recessed Can Light |  |  | X | X |  | 11 |  |  |  |  | 11 |  | 8.8 | 0.8 | 1566.4 | "Owner Supplied" | 0 | 1566.4 | NECA
| Type " 21772 ", Recessed Can Light with Emergency Lighting Inverter |  |  | X | X |  | 2 |  |  |  |  | 2 |  | 1.6 | 0.8 | 284.8 | "Owner Supplied" | 0 | 284.8 | NECA
| Type " 20749 ", Wall Sconce |  |  | X | X |  | 1 |  |  |  |  | 1 |  | 1.25 | 1.25 | 222.5 | "Owner Supplied" | 0 | 222.5 | NECA
| Type " 20750 ", Wall Sconce |  |  | X | X |  | 2 |  |  |  |  | 2 |  | 2.5 | 1.25 | 445 | "Owner Supplied" | 0 | 445 | NECA
| Type " X0501 ", Wall Sconce |  |  | X | X |  | 2 |  |  |  |  | 2 |  | 2.5 | 1.25 | 445 | "Owner Supplied" | 0 | 445 | NECA
| Type " 17796 ", LED String Light @ 10'-9'' |  |  | X | X |  | 7 |  |  |  |  | 7 |  | 11.2 | 1.6 | 1993.6 | "Owner Supplied" | 0 | 1993.6 | NECA
| Type " 17796 ", LED String Light @ 16'-6'' |  |  | X | X |  | 2 |  |  |  |  | 2 |  | 4.8 | 2.4 | 854.4 | "Owner Supplied" | 0 | 854.4 | NECA
| Type " 21781 ", LED Tape Grazer @ 4' |  |  | X | X |  | 2 |  |  |  |  | 2 |  | 1 | 0.5 | 178 | "Owner Supplied" | 0 | 178 | NECA
| Type " 21781 ", LED Tape Grazer @ 6'-6" |  |  | X | X |  | 1 |  |  |  |  | 1 |  | 0.9 | 0.9 | 160.2 | "Owner Supplied" | 0 | 160.2 | NECA
| Type " 21781 ", LED Tape Grazer @ 12'-6" |  |  | X | X |  | 1 |  |  |  |  | 1 |  | 1.8 | 1.8 | 320.4 | "Owner Supplied" | 0 | 320.4 | NECA
| Type " 21782 ", LED Tape Light @ 12'-6" |  |  | X | X |  | 1 |  |  |  |  | 1 |  | 2.7 | 2.7 | 480.6 | "Owner Supplied" | 0 | 480.6 | NECA
| Type " 22217 ", LED Tape Flexible @ 6'-6" |  |  | X | X |  | 1 |  |  |  |  | 1 |  | 0.9 | 0.9 | 160.2 | "Owner Supplied" | 0 | 160.2 | NECA
| Type " 22217 ", LED Tape Flexible @ 13'-9" |  |  | X | X |  | 1 |  |  |  |  | 1 |  | 2 | 2 | 356 | "Owner Supplied" | 0 | 356 | NECA
| Type " 12947 ", 8' LED Track with connectors |  |  | X | X |  | 17 |  |  |  |  | 17 |  | 25.5 | 1.5 | 4539 | "Owner Supplied" | 0 | 4539 | NECA
| Type " 21777 ", LED Fixture with Snoot |  |  | X | X |  | 11 |  |  |  |  | 11 |  | 16.5 | 1.5 | 2937 | "Owner Supplied" | 0 | 2937 | NECA
| Type " 21779 ", LED Fixture with Snoot |  |  | X | X |  | 28 |  |  |  |  | 28 |  | 42 | 1.5 | 7476 | "Owner Supplied" | 0 | 7476 | NECA
| Type " X1060 ", 0.5A Current Limiter |  |  | X | X |  | 1 |  |  |  |  | 1 |  | 0.5 | 0.5 | 89 | "Owner Supplied" | 0 | 89 | NECA
| Type " X1120 ", 1A Current Limiter |  |  | X | X |  | 1 |  |  |  |  | 1 |  | 0.5 | 0.5 | 89 | "Owner Supplied" | 0 | 89 | NECA
| Type " X1240 ", 2A Current Limiter |  |  | X | X |  | 1 |  |  |  |  | 1 |  | 0.85 | 0.85 | 151.3 | "Owner Supplied" | 0 | 151.3 | NECA
| Type " 21783 " - Recessed LED Trofer |  |  | X | X |  | 6 |  |  |  |  | 6 |  | 6 | 1 | 1068 | "Owner Supplied" | 0 | 1068 | NECA
| Lighting Fixtures and Lighting Controls | [12 empty] | 197.9 |  | 35226.2 |  | 0 | 35226.2
| Lighting Fixtures, Controls and Panelboards/Switchgears | [12 empty] | 216.9 |  | 38608.2 |  | 0 | 38608.2
| SUPPLY & INSTALLATION OR INSTALLATION ONLY OF LIGHTING FIXTURES, EQUIPMENT, WIRING DEVICES ETC. FOR POWER, LIGHTING AND LOW VOLTAGE | [11 empty] | TOTAL | 797.55 |  | 141963.9 |  | 9455.3891 | 151419.2891
`

## BREAKDOWN (SITE)
Project Name: University Park Village (Starbucks 6212)
| Address: 1620 S University Dr, Fort Worth, TX 76107 | [9 empty] | Labor Rate: | 178 | Per Hour | Source: | NECA
Plan Date: 8/27/2025
Electrical | Electrical | [5 empty] | 1ST FLOOR |  | 2ND FLOOR |  |  | TOTAL |  | Total Labor Hrs | Labor Hours | Total Labor Cost | Material Pricing | Total Material Pricing | Total | REFERENCE
Item No. | Description | Added Description |  |  |  |  | Qty | Lin. Ft. | Qty | Lin. Ft. |  | Qty | Lin. Ft. | [6 empty] | LABOR HOURS
| EXTERIOR ELECTRICAL WORKS |  | CONTRACTOR |  | CLIENT / VENDOR
|  |  | PROVIDE | INSTALL | PROVIDE | INSTALL
A.1 | EXTERIOR ELECTRICAL WORKS (NOT IN SCOPE)
Exterior Electrical Works
A.1 | EXTERIOR ELECTRICAL WORKS TOTAL | [12 empty] | 0 |  | 0 |  | 0 | 0
`

## TAKEOFF DETAIL
Project Name: University Park Village (Starbucks 6212)
Address: 1620 S University Dr, Fort Worth, TX 76107
Plan Date: 8/27/2025
DESCRIPTION OF WORK | UNIT | FIRST FLOOR | [55 empty] | TOTAL (Power) | ROOF | [8 empty] | TOTAL (Power) | FEEDER |  | TOTAL (Feeder) | DEVICE DROP | TERMINATION | PANELBOARD DROP | SERVICE WIRE LOOP
|  | Panel: "A" | [18 empty] | Panel: "B" | [15 empty] | Panel: "C" | [9 empty] | Panel: "B" |  |  |  | Panel: "C" | [7 empty] | Panel Name: PANEL " A " (EXISTING) - SHEET#: 003 |  |  |  | Panel Name: PANEL " A " (EXISTING) - SHEET#: 003 | [5 empty] | Panel " C " (NEW) to Panel " A " (EXISTING) | --------
|  | Ckt #: 1 | Ckt #: 3 | Ckt #: 7,9 | Ckt #: 11,13 | Ckt #: 15 | Ckt #: 19 | Ckt #: 20 | Ckt #: 21 | Ckt #: 22 | Ckt #: 23 | Ckt #: 24,26 | Ckt #: 25 | Ckt #: 28,30 | Ckt #: 32 | Ckt #: 34 | Ckt #: 36 | Ckt #: 38 | Ckt #: 40 | Ckt #: 42 | Ckt #: 2 | Ckt #: 4 | Ckt #: 5 | Ckt #: 7 | Ckt #: 8 | Ckt #: 9 | Ckt #: 10 | Ckt #: 11 | Ckt #: 12 | Ckt #: 14 | Ckt #: 16 | Ckt #: 18 | Ckt #: 20 | Ckt #: 23,25 | Ckt #: 29,31 | Ckt #: 37,39 | Ckt #: 1 | Ckt #: 3 | Ckt #: 5 | Ckt #: 11 | Ckt #: 13 | Ckt #: 14 | Ckt #: 15 | Ckt #: 16 | Ckt #: 18 | Ckt #: 25 | Ckt #: 27 | Ckt #: 34 | Ckt #: 36 | Ckt #: 41 | Ckt #: 2 | Ckt #: 4 | Ckt #: 9 | Ckt #: 19 | Ckt #: 20 | Ckt #: 21 | Ckt #: 23 |  | Ckt #: 2,4,6 | Ckt #: 8,10,12 | Ckt #: 14,16,18 | -------- | Ckt #: 6 | Ckt #: 8 | Ckt #: 10,12 | Ckt #: 17 | --------
POWER SYSTEM |  | C.O. + Dis. Switch | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | J-BOX | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | C.O. | J-BOX | J-BOX | C.O. | C.O. | J-BOX | C.O. | C.O. | J-BOX | C.O. | C.O. | FIRST FLOOR | Dis. Switch | Dis. Switch | Dis. Switch |  | J-BOX | J-BOX | J-BOX | J-BOX |  | ROOF
Conduit | [71 empty] | 10 | 10 | 10 | 0
1/2" EMT Conduit | ft |  | 40 |  |  | 50 | 50 | 40 | 40 | 40 | 40 |  | 40 |  | 60 | 50 | 40 | 50 | 60 | 70 | 80 | 80 | 70 | 70 | 80 | 70 | 80 | 90 | 70 | 70 | 60 | 60 | 70 | 60 |  |  | 60 | 60 | 60 | 40 | 70 | 80 | 60 | 80 | 80 | 40 | 110 | 70 | 80 | 70 | 40 | 100 | 150 | 90 | 50 | 40 | 40 | 3150 |  |  |  |  | 90 | 70 | 60 | 70 |  | 290 |  |  | 0
3/4" EMT Conduit | ft | 60 |  | 60 | 60 | [6 empty] | 50 |  | 60 | [20 empty] | 30 | 30 | [21 empty] | 350 |  | 70 | 40 | [6 empty] | 110 |  |  | 0
1" EMT Conduit | ft | [56 empty] | 0 | 60 | [8 empty] | 60 |  |  | 0
1-1/4" EMT Conduit | ft | [56 empty] | 0 | [9 empty] | 0 | 30 |  | 30
Wires
Copper Wire, 2#12 AWG + 1#12G AWG | ft |  | 50 |  |  | 60 | 60 | 50 | 50 | 50 | 50 |  | 50 |  | 90 | 60 | 50 | 70 | 90 | 80 | 90 | 90 | 80 | 80 | 90 | 80 | 90 | 100 | 80 | 80 | 70 | 70 | 80 |  |  |  | 70 | 70 | 70 | 50 | 90 | 90 | 70 | 90 | 90 | 50 | 130 | 80 | 90 | 80 | 50 | 110 | 190 | 120 | 60 | 50 | 50 | 3690 |  |  |  |  | 100 | 80 |  | 110 |  | 290 |  |  | 0
Copper Wire, 2#10 AWG + 1#10G AWG | ft | 80 |  | 70 | 70 | [52 empty] | 220 | [9 empty] | 0 |  |  | 0
Copper Wire, 2#8 AWG + 1#10G AWG | ft | [33 empty] | 10 | 10 | [21 empty] | 20 | [9 empty] | 0 |  |  | 0
Copper Wire, 3#12 AWG + 1#12G AWG | ft | [32 empty] | 70 | [23 empty] | 70 | [6 empty] | 70 |  |  | 70 |  |  | 0
Copper Wire, 3#10 AWG + 1#10G AWG | ft | [56 empty] | 0 |  |  | 50 | [6 empty] | 50 |  |  | 0
Copper Wire, 3#8 AWG + 1#10G AWG | ft | [10 empty] | 60 |  | 70 | [43 empty] | 130 |  | 80 | [7 empty] | 80 |  |  | 0
Copper Wire, 3#4 AWG + 1#10G AWG | ft | [56 empty] | 0 | 70 | [8 empty] | 70 |  |  | 0
Copper Wire, 1#3 AWG | ft | [56 empty] | 0 | [9 empty] | 0 | 120 |  | 120
Copper Wire, 1#8G AWG | ft | [56 empty] | 0 | [9 empty] | 0 | 40 |  | 40
Boxes and Wiring Devices
Junction Box | ea | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 2 | 1 | 2 | 5 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 2 | 2 | 1 | 1 | 2 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 3 | 1 | 1 | 2 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 4 | 3 | 1 | 1 | 1 | 79 | [9 empty] | 0 |  |  | 0
Junction Box, Weatherproof | ea | [56 empty] | 0 | 1 | 1 | 1 |  | 1 | 1 | 1 | 4 |  | 10 |  |  | 0
Duplex Receptacle | ea | [5 empty] | 1 | 1 | 1 | 1 |  |  |  |  | 2 |  | 1 | 2 | 2 |  |  | 1 | 1 | 1 | 1 | 1 |  | 1 | [10 empty] | 1 | 1 | 1 |  | 1 |  | 1 | 1 | 2 | [5 empty] | 4 | 3 |  |  |  | 32 | [9 empty] | 0 |  |  | 0
Duplex Dedicated Receptacle | ea |  | 1 |  |  | 1 |  |  |  |  | 1 |  | 1 |  | 1 | [22 empty] | 1 |  |  |  | 1 | [15 empty] | 7 | [9 empty] | 0 |  |  | 0
Duplex Receptacle, with Surge Protection Device | ea | [29 empty] | 1 | 1 | [25 empty] | 2 | [9 empty] | 0 |  |  | 0
Duplex Receptacle, Floor Mounted | ea | [48 empty] | 1 | 1 |  |  |  |  | 1 | 1 | 4 | [9 empty] | 0 |  |  | 0
Quadruplex Receptacle | ea | [14 empty] | 1 |  |  | 1 |  | 1 | [5 empty] | 1 |  | 1 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  | 1 | [13 empty] | 10 | [9 empty] | 0 |  |  | 0
Special Purpose Receptacle, NEMA 6-50R | ea | [33 empty] | 1 | 1 | [21 empty] | 2 | [9 empty] | 0 |  |  | 0
Special Purpose Receptacle, NEMA 5-15R | ea | 1 | [17 empty] | 1 | [37 empty] | 2 | [9 empty] | 0 |  |  | 0
Special Purpose Receptacle, NEMA 14-50R | ea | [10 empty] | 1 |  | 1 | [43 empty] | 2 | [9 empty] | 0 |  |  | 0
Special Purpose Receptacle, NEMA 6-30R | ea |  |  | 1 | 1 | [52 empty] | 2 | [9 empty] | 0 |  |  | 0
LeGrand Plugmold (MODEL#: BK20GB509TRUAC) | ea | [50 empty] | 3 | [5 empty] | 3 | [9 empty] | 0 |  |  | 0
Boards and Equipments
Panel " C ", 100A MLO, 120/208V, 3P, 4W, 10KAIC, Surface Mtd., in NEMA 1 Enclosure | assy | [56 empty] | 0 | [9 empty] | 0 | 1 |  | 1
Branches:
1 - 15A, 2P, Circuit Breaker
18 - 20A, 1P, Circuit Breaker
3 - 15A, 1P, Circuit Breaker
19 - Space
Disconnect Switch, 80A, 3P, in NEMA 3R Enclosure | ea | [56 empty] | 0 | 1 | [8 empty] | 1 |  |  | 0
Disconnect Switch, 50A, 3P, in NEMA 3R Enclosure | ea | [56 empty] | 0 |  | 1 | [7 empty] | 1 |  |  | 0
Disconnect Switch, 30A, 3P, in NEMA 3R Enclosure | ea | [56 empty] | 0 |  |  | 1 | [6 empty] | 1 |  |  | 0
Disconnect Switch, 30A, 2P, in NEMA 3R Enclosure | ea | 1 | [55 empty] | 1 | [9 empty] | 0 |  |  | 0
DESCRIPTION OF WORK | UNIT | FIRST FLOOR | [7 empty] | TOTAL (Lighting) FIRST FLOOR |  | DEVICE DROP | TERMINATION | PANELBOARD DROP | SERVICE WIRE LOOP
|  | Panel: "A" | Panel: "B" | [5 empty] | Panel: "C"
|  | Ckt #: 29 | Ckt #: 13 | Ckt #: 15 | Ckt #: 17 | Ckt #: 38 | Ckt #: 40 | Ckt #: 42 | Ckt #: 7
LIGHTING SYSTEM
Conduit | [11 empty] | 10 | 10 | 10 | 0
1/2" EMT Conduit | ft | 600 | 110 | 100 | 110 | 200 | 100 | 100 | 70 | 1390
Wires
Copper Wire, 2#12 AWG + 1#12G AWG | ft | 860 | 200 | 180 | 480 | 380 | 110 | 110 | 80 | 2400
Boxes and Wiring Devices
Junction Box | ea | 87 | 9 | 15 | 37 | 24 | 6 | 5 | 1 | 184
Wall Motion Sensor | ea |  | 2 | [6 empty] | 2
Switchbank complete with 9-Dimmer Switch | ea | 1 | [7 empty] | 1
24VDC Drive for LED Strip Light | ea |  |  | 8 | [5 empty] | 8
Duplex Receptacle, GFCI Type WP | ea | [5 empty] | 1 | 1 |  | 2
Lighting Fixtures
Type " 19045 ", LED Exit Sign with Emergency Light | ea |  |  |  |  | 1 |  |  |  | 1
Type " 19047 ", LED Exit Sign with Emergency Light | ea |  | 1 |  |  | 3 |  |  |  | 4
Type " 19056 ", LED Emergency Light | ea |  |  |  |  | 1 |  |  |  | 1
Type " 21769 ", Recessed Can Light | ea |  |  |  | 35 |  |  |  |  | 35
Type " 21769 ", Recessed Can Light with Emergency Lighting Inverter | ea |  |  |  | 2 |  |  |  |  | 2
Type " 21771 ", Recessed Can Light | ea | 16 |  |  |  | 4 |  |  |  | 20
Type " 21772 ", Recessed Can Light | ea |  | 2 |  |  | 9 |  |  |  | 11
Type " 21772 ", Recessed Can Light with Emergency Lighting Inverter | ea |  | 2 | [6 empty] | 2
Type " 20749 ", Wall Sconce | ea | 1 | [7 empty] | 1
Type " 20750 ", Wall Sconce | ea |  | 2 | [6 empty] | 2
Type " X0501 ", Wall Sconce | ea | 2 | [7 empty] | 2
Type " 17796 ", LED String Light @ 10'-9'' | ea | [5 empty] | 4 | 3 |  | 7
Type " 17796 ", LED String Light @ 16'-6'' | ea | [5 empty] | 1 | 1 |  | 2
Type " 21781 ", LED Tape Grazer @ 4' | ea |  |  | 2 | [5 empty] | 2
Type " 21781 ", LED Tape Grazer @ 6'-6" | ea |  |  | 1 | [5 empty] | 1
Type " 21781 ", LED Tape Grazer @ 12'-6" | ea |  |  | 1 | [5 empty] | 1
Type " 21782 ", LED Tape Light @ 12'-6" | ea |  |  | 1 | [5 empty] | 1
Type " 22217 ", LED Tape Flexible @ 6'-6" | ea |  |  | 1 | [5 empty] | 1
Type " 22217 ", LED Tape Flexible @ 13'-9" | ea |  |  | 1 | [5 empty] | 1
Type " 12947 ", 8' LED Track with connectors | ea | 17 | [7 empty] | 17
Type " 21777 ", LED Fixture with Snoot | ea | 11 | [7 empty] | 11
Type " 21779 ", LED Fixture with Snoot | ea | 28 | [7 empty] | 28
Type " X1060 ", 0.5A Current Limiter | ea | 1 | [7 empty] | 1
Type " X1120 ", 1A Current Limiter | ea | 1 | [7 empty] | 1
Type " X1240 ", 2A Current Limiter | ea | 1 | [7 empty] | 1
Type " 21783 " - Recessed LED Trofer | ea |  |  |  |  | 6 |  |  |  | 6
DESCRIPTION OF WORK | UNIT | FIRST FLOOR | TOTAL (LOW VOLTAGE) |  | DEVICE DROP | TERMINATION | BOARD DROP | SERVICE WIRE LOOP
LOW VOLTAGE SYSTEM
Conduit and Wires |  |  |  |  | 10 | 10 | 10 | 0
3/4" EMT Conduit | ft | 180 | 180
Boxes and Devices
Single gang box with mudring | ea | 18 | 18
SPEAKER GRILLE RECESSED - BLACK | ea | 5 | 5
SPEAKER PENDANT MOUNTED - BLACK | ea | 3 | 3
DIGITAL TEMPERATURE SENSOR | ea | 4 | 4
MENU BOARD- DIGITAL MENU BOARD | ea | 1 | 1
MENU BOARD- DIGITAL MENU DISPLAY | ea | 3 | 3
AMPLIFIER- 60W | ea | 1 | 1
MUSIC SYSTEM | ea | 1 | 1