## Summary
Project Name | University Park Village |  |  |  | Total SQFT | 2808
Address | 1620 S University DR, Fort Worth, TX 76107 |  |  |  | Number of Units | 1
Plan Date | 2025-11-01 |  |  |  | Labor Rate:
Quotation ref. no
Item No. | Description | Qty | Lin. Ft. | Total Labor hrs | Material Pricing | Total
Demolition |  | 4 |  | 2.5 | 0 | 0 | 0
Heating and Airconditioning
| Equipment | 4 |  | 70.4389 | 0 | 0 | 0
| Ductwork and Accessories |  | 346.94 | 123.1898 | 0 | 0 | 0
| Duct Insulation | 4.165 |  | 16.3281 | 0 | 0 | 0
General Exhaust System | [5 empty] | 0
| Equipment | 2 |  | 15.202 | 0 | 0 | 0
| Ductworks and accessories |  | 59.53 | 9.0149 | 0 | 0 | 0
Testing and commissioning |  | 1 lot |  | 33.75 | 0 | 0 | 0
Miscellaneous |  | 1 lot |  | 276.2425 | 0 | 0 | 0 |  | 0 | 0
[7 empty] | 0 |  | 0
Overhead and Profit
| Permits and fees |  |  |  |  | 0
| Project Management-Mobilization , demobilization, 1 yr warranty costs, tools and utilities |  |  | 136.6665 |  | 0 | 0
| Contigency |  |  |  | 2% | 0
| Profit |  |  |  |  | 0
TOTAL | [5 empty] | 0 |  | Price per sqft | 0
[8 empty] | Price per Unit | 0
Project Information | Demolition & Renovation of University Park Village 1620 S University DR, Fort Worth, TX 76107
0
Scope of Work | [7 empty] | #DIV/0! |  | 0
Supply and Installation | Heating & Airconditioning System
Sheet metal duct and fittings for Rectangular Duct( Supply ,return and outside air)
GI Sheet metal and fittings for Round Duct( Supply ,return and outside air)
Flexible duct for AHU supply air
Duct insulation( Supply and return)
Equipment including support
Rooftop Unit
Air Curtain Unit
Duct specialties and air outlets
Supply and Installation | General Exhaust System
Sheet metal duct and fittings( Exhaust)
Equipment including support
Exhaust Fan
Duct specialties and air outlets
Piping
Supply and Installation
Assume Condensate PVC Pipes including insulation
Supply and Installation | Electrical
Low Voltage wiring and controllers
Others
Hanger and miscellaneous items as per SMACNa standards
Supply and Install
Duct and fittings | Assume GI sheet guage 26
Flexible duct | Assume R-6
Duct Insulation | Fiberglass duct wrap R-6 & Duct liner
Condensate Pipe | Assume PVC pipe
Assumptions | Note: Assumptions below are company-wide for every project. If these exclusions do not pertain to your project, please disregard.
Consider Duct wastage at 10%
Duct and fittings material unit price includes hangers and other miscellaneous hardwares
Unit Labor costs are based on 2024 NPH book
Assume condensate pipe set of 10ft PVC pipe including traps and fittings
Exclusions | Note: Exclusions below are company-wide for every project. If these exclusions do not pertain to your project, please disregard.
Civil works such as the provision of block-outs/sleeves for ducting
Flashing and sealing at all roof cap penetration
Concrete Equipment Pad
High voltage Electrical wirings and breaker for equipment
Carbon monoxide detector
Gas pipe line
Flue and combustion air pipe for water heater
Refrigerant pipe for ice machine & Utility Hood for condensing unit
Condensing Unit for Ice Machine
Rooftop Unit landlord (LL) is responsible
Exhaust fan Unit landlord (LL) is responsible
Energy management system

## HVAC COST
|  | Description | Supply | Install | Qty | Lin. Ft. | Unit Labor | Total Labor hrs | Total Labor Cost | Unit Material Cost | Total Material Cost | Total
x | Project Name: | University Park Village
| Address: | 1620 S University DR, Fort Worth, TX 76107
| Plan Date: | 2025-11-01
HEATING & AIRCONDITIONING
EQUIPMENT
[14 empty] | 0 | 0
| ROOFTOP UNIT | [12 empty] | 0 | 0
| ROOFTOP UNIT; RTU-1_TRANE YHK120_10 TONS | TRANE YHK120 | X | X | 1 |  | 14.6 | 14.6 | 0 |  | 0 | 0 |  | ✔ | ✔
| ROOFTOP UNIT; RTU-2_TRANE YHK090*_7.5 TONS | TRANE YHK090* | X | X | 1 |  | 12.6 | 12.6 | 0 |  | 0 | 0 |  | ✔ | ✔
| ROOFTOP UNIT; RTU-3_TRANE YHK036*_3 TONS | TRANE YHK036* | X | X | 1 |  | 9.6 | 9.6 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| ACCESSORIES | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| THERMOSTAT |  | X | X | 3 |  | 0.75 | 2.25 | 0 |  | 0 | 0 |  | ✔ | ✔
| TEMPERATURE SENSOR |  | X | X | 3 |  | 0.45 | 1.35 | 0 |  | 0 | 0
| TEMPERATURE SENSOR CONTROL WIRING | ASSUME 15FT | X | X |  | 45 | 0.03 | 1.35 | 0 |  | 0 | 0
| OVERFLOW SWITCH |  | X | X | 3 |  | 0.5 | 1.5 | 0 |  | 0 | 0 |  | ✔ | ✔
| ROOF CURB |  | X | X | 3 |  | 4 | 12 | 0 |  | 0 | 0 |  | ✔ | ✔
| SMOKE DETECTOR |  | X | X | 2 |  | 0.45 | 0.9 | 0 |  | 0 | 0 |  | ✔ | ✔
| FLEXIBLE CONNECTOR |  | X | X | 6 |  | 0.65 | 3.9 | 0 |  | 0 | 0 |  | ✔ | ✔
| CO2 SENSOR |  | X | X | 2 |  | 0.45 | 0.9 | 0 |  | 0 | 0
| CO2 SENSOR CONTROL WIRING | ASSUME 15FT | X | X |  | 30 | 0.03 | 0.9 | 0 |  | 0 | 0
[9 empty] | 0 |  |  |  |  | 0 | 0
| AIR CURTAIN UNIT | [7 empty] | 0 |  |  |  |  | 0 | 0
| AIR CURTAIN; X0702_ MARS STD242 |  | X | X | 1 |  | 3 | 3 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| EQUIPMENT IDENTIFICATION |  | X | X | 1 |  | 0.66667 | 0.66667 | 0 |  | 0 | 0 |  | ✔ | ✔
| EQUIPMENT SUPPORT |  | X | X | 1 |  | 3.98 | 3.98 | 0 |  | 0 | 0 |  | ✔ | ✔
| MISCELLANEOUS AND CONSUMABLES |  | X | X | 1 |  | 0.9422 | 0.9422 | 0 |  | 0 | 0 |  | ✔ | ✔
[5 empty] | 4 |  |  | 70.4389 |  |  | 0 |  | 0
GENERAL EXHAUST SYSTEM
EQUIPMENT
EXHAUST EQUIPMENT
| EXHAUST FAN; X0632_GREENHECK G-090-VG_300 CFM | GREENHECK G-090-VG | X | X | 1 |  | 4 | 4 | 0 |  | 0 | 0 |  | ✔ | ✔
| EXHAUST FAN; X0633_ GREENHECK G-080-VG_150 CFM | GREENHECK G-080-VG | X | X | 1 |  | 3.5 | 3.5 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| ACCESSORIES | [7 empty] | 0 |  |  |  |  | 0 | 0
| SPEED CONTROLLER |  | X | X | 2 |  | 0.155 | 0.31 | 0 |  | 0 | 0 |  | ✔ | ✔
| CONTROL WIRING | ASSUME 10FT | X | X |  | 20 | 0.03 | 0.6 | 0 |  | 0 | 0 |  | ✔ | ✔
| EXHAUST ROOF CURB |  | X | X | 2 |  | 2 | 4 | 0 |  | 0 | 0 |  | ✔ | ✔
| GRAVITY BACKDRAFT DAMPER; 8X8 |  | X | X | 2 |  | 0.75 | 1.5 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| EQUIPMENT IDENTIFICATION |  | X | X | 1 |  | 0.33333 | 0.33333 | 0 |  | 0 | 0 |  | ✔ | ✔
| EQUIPMENT SUPPORT |  | X | X | 1 |  | 0.75 | 0.75 | 0 |  | 0 | 0 |  | ✔ | ✔
| MISCELLANEOUS AND CONSUMABLES |  | X | X | 1 |  | 0.2087 | 0.2087 | 0 |  | 0 | 0 |  | ✔ | ✔
[5 empty] | 2 |  |  | 15.202 |  |  | 0 |  | 0
| AIR OUTLETS AND ACCESSORIES | [12 empty] | 0 | 0
[14 empty] | 0 | 0
| GRILLES | [12 empty] | 0 | 0
| SUPPLY | [12 empty] | 0 | 0
| DEFLECTION GRILLES(SA); X2010_TITUS 300RS_18X6 | TITUS 300RS | X | X | 5 |  | 0.35 | 1.75 | 0 |  | 0 | 0 |  | ✔ | ✔
| DIFFUSER(SA); X2020_ TITUS TDC_24X24 | TITUS TDC | X | X | 4 |  | 0.35 | 1.4 | 0 |  | 0 | 0 |  | ✔ | ✔
| DIFFUSER(SA); X2030_TITUS OMN_24X24 | TITUS OMN | X | X | 11 |  | 0.35 | 3.85 | 0 |  | 0 | 0 |  | ✔ | ✔
| DIFFUSER(SA); X2070_ TITUS OMNI_12X12 | TITUS OMNI | X | X | 3 |  | 0.35 | 1.05 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| RETURN | [7 empty] | 0 |  |  |  |  | 0 | 0
| GRILLES(RA); X1010_ TITUS 50F_24X24 | TITUS 50F | X | X | 1 |  | 0.3 | 0.3 | 0 |  | 0 | 0 |  | ✔ | ✔
| GRILLES(RA); X1020_ TITUS 50F_18X22 | TITUS 50F | X | X | 2 |  | 0.25 | 0.5 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| EXHAUST | [7 empty] | 0 |  |  |  |  | 0 | 0
| GRILLES(EA); X1001_TITUS 350_12X12 | TITUS 350 | X | X | 3 |  | 0.25 | 0.75 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| DAMPERS | [7 empty] | 0 |  |  |  |  | 0 | 0
| MANUAL VOLUME DAMPER | [7 empty] | 0 |  |  |  |  | 0 | 0
| DAMPER_MANUAL VOLUME(SA); 10" DIA |  | X | X | 10 |  | 0.6 | 6 | 0 |  | 0 | 0 |  | ✔ | ✔
| DAMPER_MANUAL VOLUME(SA); 12" DIA |  | X | X | 5 |  | 0.65 | 3.25 | 0 |  | 0 | 0 |  | ✔ | ✔
| DAMPER_MANUAL VOLUME(SA); 6" DIA |  | X | X | 3 |  | 0.6 | 1.8 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
[5 empty] | 47 |  |  | 20.65 |  |  | 0 |  | 0 | 0 | 0
DUCT INSULATION
DUCT INSULATION
| SUPPLY & RETURN RECTANGULAR DUCT (48" X 25') | DUCT LINER 1" THICKNESS | X | X | 3.665 |  | 3.2 | 11.7281 | 0 |  | 0 | 0 |  | ✔ | ✔
| SUPPLY ROUND DUCT (48" X 100') | DUCT WRAP 1 1/2" R-6 | X | X | 0.5 |  | 9.2 | 4.6 | 0 |  | 0 | 0 |  | ✔ | ✔
[5 empty] | 4.165 |  |  | 16.3281 |  |  | 0 |  | 0
| DUCTWORKS | [12 empty] | 0 | 0
| GALVANIZED STEEL SHEET DUCT WORKS | W/ INSULATION | [11 empty] | 0 | 0
| RECTANGULAR DUCT | [12 empty] | 0 | 0
| SUPPLY - LINER | [12 empty] | 0 | 0
| 34X20 |  | X | X |  | 18.8 | 0.497 | 9.3436 | 0 |  | 0 | 0 |  | ✔ | ✔
| 35X20 |  | X | X |  | 8.5 | 0.517 | 4.3945 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| RETURN - LINER | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| 20X16 |  | X | X |  | 10.18 | 0.269 | 2.7384 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| SUPPLY - DUCT WRAP | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| 18X6 |  | X | X |  | 2.95 | 0.184 | 0.5428 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| ROUND DUCT | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| SUPPLY | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| 10 |  | X | X |  | 95.95 | 0.103 | 9.8828 | 0 |  | 0 | 0 |  | ✔ | ✔
| 12 |  | X | X |  | 9.44 | 0.123 | 1.1611 | 0 |  | 0 | 0 |  | ✔ | ✔
| 16 |  | X | X |  | 48.29 | 0.174 | 8.4025 | 0 |  | 0 | 0 |  | ✔ | ✔
| 20 |  | X | X |  | 50.11 | 0.195 | 9.7714 | 0 |  | 0 | 0 |  | ✔ | ✔
| 12 |  | X | X |  | 15.24 | 0.123 | 1.8745 | 0 |  | 0 | 0 |  | ✔ | ✔
| 14 |  | X | X |  | 9.25 | 0.174 | 1.6095 | 0 |  | 0 | 0 |  | ✔ | ✔
| 18 |  | X | X |  | 14.29 | 0.195 | 2.7866 | 0 |  | 0 | 0 |  | ✔ | ✔
| 6 |  | X | X |  | 8.95 | 0.061 | 0.54595 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| FLEXIBLE DUCT | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| 10 |  | X | X |  | 30.76 | 0.09 | 2.7684 | 0 |  | 0 | 0 |  | ✔ | ✔
| 12 |  | X | X |  | 15.17 | 0.1 | 1.517 | 0 |  | 0 | 0 |  | ✔ | ✔
| 6 |  | X | X |  | 9.06 | 0.07 | 0.6342 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| FITTINGS | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| SUPPLY - DUCTBOOTS 90DEG | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| 10" DIA TO 24X24 |  | X | X | 10 |  | 0.922 | 9.22 | 0 |  | 0 | 0 |  | ✔ | ✔
| 12" DIA to 24X24 |  | X | X | 5 |  | 0.922 | 4.61 | 0 |  | 0 | 0 |  | ✔ | ✔
| 6" DIA TO 12X12 |  | X | X | 3 |  | 0.224 | 0.672 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| PLENUM DUCTBOOTS | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| 8X8 TO 12X12 |  | X | X | 3 |  | 0.224 | 0.672 | 0 |  | 0 | 0 |  | ✔ | ✔
| 20X16 TO 24X24 |  | X | X | 1 |  | 0.922 | 0.922 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| RECTANGULAR DUCT 90DEG ELBOW | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| 20X16 |  | X | X | 1 |  | 0.553 | 0.553 | 0 |  | 0 | 0 |  | ✔ | ✔
| 34X20 |  | X | X | 1 |  | 1.58 | 1.58 | 0 |  | 0 | 0 |  | ✔ | ✔
| 35X20 |  | X | X | 1 |  | 1.58 | 1.58 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| RECTANGULAR DUCT COLLAR | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| 18X6 |  | X | X | 5 |  | 0.35 | 1.75 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| ROUND DUCT 45DEG ELBOW | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| 10 |  | X | X | 2 |  | 0.47 | 0.94 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| ROUND DUCT 90DEG ELBOW | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| 20 |  | X | X | 1 |  | 1.52 | 1.52 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| ROUND DUCT COLLAR | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| 10 |  | X | X | 18 |  | 0.116 | 2.088 | 0 |  | 0 | 0 |  | ✔ | ✔
| 12 |  | X | X | 9 |  | 0.14 | 1.26 | 0 |  | 0 | 0 |  | ✔ | ✔
| 16 |  | X | X | 2 |  | 0.174 | 0.348 | 0 |  | 0 | 0 |  | ✔ | ✔
| 18 |  | X | X | 1 |  | 0.22 | 0.22 | 0 |  | 0 | 0 |  | ✔ | ✔
| 20 |  | X | X | 2 |  | 0.22 | 0.44 | 0 |  | 0 | 0 |  | ✔ | ✔
| 6 |  | X | X | 6 |  | 0.036 | 0.216 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| ROUND DUCT REDUCER | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| 14 TO 10 |  | X | X | 1 |  | 0.262 | 0.262 | 0 |  | 0 | 0 |  | ✔ | ✔
| 16 TO 10 |  | X | X | 1 |  | 0.262 | 0.262 | 0 |  | 0 | 0 |  | ✔ | ✔
| 16 TO 12 |  | X | X | 1 |  | 0.262 | 0.262 | 0 |  | 0 | 0 |  | ✔ | ✔
| 16 TO 14 |  | X | X | 1 |  | 0.262 | 0.262 | 0 |  | 0 | 0 |  | ✔ | ✔
| 20 TO 16 |  | X | X | 1 |  | 0.33 | 0.33 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  |  |  |  | 0 | 0
| DUCT IDENTIFICATION |  | X | X | 29.195 |  | 0.5 | 14.5975 | 0 |  | 0 | 0 |  | ✔ | ✔
[6 empty] | 346.94 |  | 102.5398 |  |  | 0 |  | 0
| WASTAGE FACTOR (MATERIAL COST) | [9 empty] | 0 |  | 0
| EXHAUST DUCTWORKS | [12 empty] | 0 | 0
| RECTANGULAR DUCT | [12 empty] | 0 | 0
| 8X8 |  | X | X |  | 59.53 | 0.097 | 5.7744 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  | 0 |  |  | 0 | 0
| FITTINGS | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| RECTANGULAR DUCT 90DEG ELBOW | [7 empty] | 0 |  | 0 | 0 |  | 0 | 0
| 8X8 |  | X | X | 2 |  | 0.132 | 0.264 | 0 |  | 0 | 0 |  | ✔ | ✔
[9 empty] | 0 |  | 0 |  |  | 0 | 0
| DUCT IDENTIFICATION |  | X | X | 5.953 |  | 0.5 | 2.9765 | 0 |  | 0 | 0 |  | ✔ | ✔
[6 empty] | 59.53 |  | 9.0149 |  |  | 0 |  | 0
| WASTAGE FACTOR (MATERIAL COST) | [9 empty] | 0 |  | 0
TESTING AND COMMISSIONING
| Commissioning and final test | Rooftop Unit | X | X | 3 |  | 4 | 12 | 0 |  | 0 | 0 |  | ✔ | ✔
| Commissioning and final test | Exhaust fan unit | X | X | 2 |  | 1 | 2 | 0 |  | 0 | 0 |  | ✔ | ✔
| Commissioning and final test | Air curtain Unit | X | X | 1 |  | 2 | 2 | 0 |  | 0 | 0 |  | ✔ | ✔
| Air Balancing- Air Conditioning unit | Rooftop Unit | X | X | 3 |  | 4 | 12 | 0 |  | 0 | 0 |  | ✔ | ✔
| Air Balancing- air outlets | Supply ceiling diffuser | X | X | 23 |  | 0.25 | 5.75 | 0 |  | 0 | 0 |  | ✔ | ✔
[8 empty] | 33.75 |  |  | 0 |  | 0
MISCELLANEOUS ITEMS
| BLACK WEB STRAP 1.5" X 100 |  | X | X | 0.46953 |  | 0.25 | 0.11738 | 0 |  | 0 | 0 |  | ✔ | ✔
| 3/4" PVC PIPE (10FT PIECE) |  | X | X | 3 |  | 1 | 3 | 0 |  | 0 | 0 |  | ✔ | ✔
| 3/4" SCH 40 PVC COUPLING SXS |  | X | X | 3 |  | 0.1 | 0.3 | 0 |  | 0 | 0 |  | ✔ | ✔
| 3/4" SCH 40 PVC MALE ADAPTER |  | X | X | 6 |  | 0.1 | 0.6 | 0 |  | 0 | 0 |  | ✔ | ✔
| 3/4" PVC 90 DEG ELBOW S X S SCH40 |  | X | X | 18 |  | 0.2 | 3.6 | 0 |  | 0 | 0 |  | ✔ | ✔
| 3/4" PVC CAP |  | X | X | 3 |  | 0.1 | 0.3 | 0 |  | 0 | 0 |  | ✔ | ✔
| 3/4" PVC TEE |  | X | X | 3 |  | 0.2 | 0.6 | 0 |  | 0 | 0 |  | ✔ | ✔
| 1/2 PINT PVC GLUE #70512 |  | X | X | 0.45 |  | 0.1 | 0.045 | 0 |  | 0 | 0 |  | ✔ | ✔
| PURPLE PRIMER |  | X | X | 0.45 |  | 0.1 | 0.045 | 0 |  | 0 | 0 |  | ✔ | ✔
| HURRICANE CLIP |  | X | X | 12 |  | 0.1 | 1.2 | 0 |  | 0 | 0 |  | ✔ | ✔
| 2x2 ISOLATION PADS |  | X | X | 12 |  | 0.1 | 1.2 | 0 |  | 0 | 0 |  | ✔ | ✔
| Gooseneck Curb |  | X | X | 2 |  | 1 | 2 | 0 |  | 0 | 0 |  | ✔ | ✔
| FOR PLENUM; ANGLE IRON, 2"x2", 16ga |  | X | X | 23.32 |  | 0.3 | 6.996 | 0 |  | 0 | 0 |  | ✔ | ✔
| 5/16"x3/4" SCREW |  | X | X | 108 |  | 0.05 | 5.4 | 0 |  | 0 | 0 |  | ✔ | ✔
| 1/4" x 2" SCREW |  | X | X | 18 |  | 0.05 | 0.9 | 0 |  | 0 | 0 |  | ✔ | ✔
| DUCT TAPE (60ft) UL BLACK ARMAFLEX |  | X | X | 0.6 |  | 0.3 | 0.18 | 0 |  | 0 | 0 |  | ✔ | ✔
| 5X8 BOCA/NAIL GUARD PLATE 16GA 6HOLE |  | X | X | 30 |  | 0.2 | 6 | 0 |  | 0 | 0 |  | ✔ | ✔
| SHURTAPE UL 181 |  | X | X | 1.5 |  | 0.5 | 0.75 | 0 |  | 0 | 0 |  | ✔ | ✔
| BLUE SHRINK WRAP 300FT ROLL (CDS DIST) |  | X | X | 0.15 |  | 0.75 | 0.1125 | 0 |  | 0 | 0 |  | ✔ | ✔
| PANDUIT STRAPS - FLEX TIES (COME IN PACK OF 50) |  | X | X | 172 |  | 0.05 | 8.6 | 0 |  | 0 | 0 |  | ✔ | ✔
| 2IN #8 WHITE SCREWS (250/PK) |  | X | X | 58 |  | 0.05 | 2.9 | 0 |  | 0 | 0 |  | ✔ | ✔
| 1 INCH METAL STRAP 100FT |  | X | X | 3 |  | 1 | 3 | 0 |  | 0 | 0 |  | ✔ | ✔
| SMACNA METAL TAPE (SILVER TAPE) RED LETTER |  | X | X | 3 |  | 0.5 | 1.5 | 0 |  | 0 | 0 |  | ✔ | ✔
| MASTIC (1 GALLON) WHITE CCW181 |  | X | X | 3 |  | 0.5 | 1.5 | 0 |  | 0 | 0 |  | ✔ | ✔
| HILTI FS-ONE FIRE CAULK |  | X | X | 3 |  | 0.25 | 0.75 | 0 |  | 0 | 0 |  | ✔ | ✔
| 2" MASTIC CHIP BRUSH |  | X | X | 3 |  | 0.1 | 0.3 | 0 |  | 0 | 0 |  | ✔ | ✔
| 18/8 Thermostat Wire + Indoor Equipment to TSTAT Wiring |  | X | X | 75 |  | 0.03 | 2.25 | 0 |  | 0 | 0 |  | ✔ | ✔
| BOOT RAILS(BOX OF 50) |  | X | X | 4 |  | 0.05 | 0.2 | 0 |  | 0 | 0 |  | ✔ | ✔
| RECTANGULAR DUCT HANGER COUNT |  | X | X | 6.0538 |  | 0.3 | 1.8161 | 0 |  | 0 | 0
| ROUND DUCT HANGER COUNT |  | X | X | 26.152 |  | 0.3 | 7.8456 | 0 |  | 0 | 0
| FLEX DUCT HANGER COUNT |  | X | X | 14.7475 |  | 0.3 | 4.4242 | 0 |  | 0 | 0
| UNISTRUT 1 5/8" X 1 5/8"X10FT, 12-GA |  | X | X | 221.9625 |  | 0.3 | 66.5887 | 0 |  | 0 | 0
| THREADED ROD 3/8" X 6FT |  | X | X | 92.4844 |  | 0.2 | 18.4969 | 0 |  | 0 | 0
| TOP ANCHORS/BEAM CLAMPS |  | X | X | 74 |  | 0.3 | 22.2 | 0 |  | 0 | 0
| CHANNEL NUTS & BOLTS (STRUT CONNECTIONS) |  | X | X | 74 |  | 0.15 | 11.1 | 0 |  | 0 | 0
| HEX NUT 3/8" |  | X | X | 592 |  | 0.05 | 29.6 | 0 |  | 0 | 0
| WASHER 3/8 |  | X | X | 592 |  | 0.05 | 29.6 | 0 |  | 0 | 0
| LOCK NUTS 3/8" |  | X | X | 592 |  | 0.05 | 29.6 | 0 |  | 0 | 0
[8 empty] | 275.6175 |  |  | 0 |  | 0
0

## DEMOLITION
| Description | Qty | Lin. Ft. | Unit Labor | Total Labor Hrs | Total Labor | Unit Materials | Install Materials | Total Materials | Total
Demolition
EQUIPMENT
EXISTING EXHAUST FAN TO BE DEMOLISHED |  | 1 |  | 2 | 0.25 | 0 |  |  |  | 0
EXISTING ROOFTOP UNIT TO BE DEMOLISHED |  | 3 |  | 6 | 2.25 | 0 |  |  |  | 0
| SUMTOTAL | 4 | 0 |  | 2.5 | 0 |  | 0 |  |  | 0
Miscellaneous
Hauling | Assume 25% of total labor hrs | 1 lot |  |  | 0.625 | 0 |  |  |  | 0
[5 empty] | 0.625 | 0 | 0 | 0 |  |  | 0
0

## Notes, Assumptions
Project Name | University Park Village
Address | 1620 S University DR, Fort Worth, TX 76107
Plan Date | 2025-11-01
General Assumptions
Consider Duct wastage at 10%
Duct and fittings material unit price includes hangers and other miscellaneous hardwares
Unit Labor costs are based on 2024 NPH book
ASSUMPTIONS/TAKE OFF CONSIDERATION | ILLUSTRATION | SHEET NO.
Assume Galvanized Sheet # 26 |  | M001
Dampers |  | M001
Duct Insulation; 1" thickness liner, R-6 Duct wrap |  | M001

## COMPUTATION
|  | QTY | RND DUCT SIZE | RND DUCT SIZE | RND DUCT SIZE | REC DUCT (W) | REC DUCT (W) | REC DUCT (W) | REC DUCT (W) | Labot HOUR | Material cost | R Value | Square Foot | 10% wastage (Insulation) | Insulation / roll | Total Insulation / roll | MH hr/ft | MH hr | MH (assume 8 hrs a day) | Assume 5 working days in a week | EQUIPMENT TOTAL Labot Rate | ASSUME 3 CREW / DAY & 8 HRS A DAY | CREW HRS / DAY | TOTAL | Total Area required firestop sealant | Assume 1" thickness of sealant | # OF WALL TO PENETRATE | Total Volume (Cu. FT) | Per pail (10.36) | DUCT LOADS IB/FT
| DUCTWORKS | [13 empty] | 400 | [14 empty] | 0.9
1.5
0.75
100
RECTANGULAR DUCT
SUPPLY - LINER
REC DUCT W/ LINE(SA); 34X20 | 34X20 | 18.8 |  |  |  | 34 | 20 |  |  | 0.497 | 32.9 |  | 181.7333 | 199.9067 | 1.9991 | 3.665 | 0.497 | 9.3436 | [11 empty] | 9.225
REC DUCT W/ LINED(SA); 35X20 | 35X20 | 8.5 |  |  |  | 35 | 20 |  |  | 0.517 | 33.81 |  | 83.5833 | 91.9417 | 0.91942 |  | 0.517 | 4.3945 | [11 empty] | 9.3958
0
| RETURN - LINER | [16 empty] | 0
REC DUCT W/ LINED(RA); 20X16 | 20X16 | 10.18 |  |  |  | 20 | 16 |  |  | 0.269 | 16.1 |  | 67.8667 | 74.6533 | 0.74653 |  | 0.269 | 2.7384 | [11 empty] | 6.15
0
| SUPPLY - DUCT WRAP | [16 empty] | 0
REC DUCT W/ DUCT WRAP(SA); 18X6 | 18X6 | 2.95 |  |  |  | 18 | 6 |  |  | 0.184 | 12.04 |  | 13.7667 | 15.1433 | 0.037858 |  | 0.184 | 0.5428 | [11 empty] | 4.1
0
| ROUND DUCT | [16 empty] | 0
| SUPPLY | [16 empty] | 0 | [11 empty] | 2.8634
RND DUCT W/ DCUT WRAP(SA); 10" DIA | 10 | 95.95 | [7 empty] | 0.103 | 6.881 |  | 20.933 | 23.0263 | 0.057566 | 0.20824 | 0.103 | 9.8828 | [11 empty] | 3.4361
RND DUCT W/ DCUT WRAP(SA); 12" DIA | 12 | 9.44 | [7 empty] | 0.123 | 8.19 |  | 2.4714 | 2.7185 | 0.0067963 |  | 0.123 | 1.1611 | [11 empty] | 4.5815
RND DUCT W/ DCUT WRAP(SA); 16" DIA | 16 | 48.29 | [7 empty] | 0.174 | 10.29 |  | 16.8564 | 18.542 | 0.046355 |  | 0.174 | 8.4025 | [11 empty] | 5.7269
RND DUCT W/ DCUT WRAP(SA); 20" DIA | 20 | 50.11 | [7 empty] | 0.195 | 13.09 |  | 21.8646 | 24.0511 | 0.060128 |  | 0.195 | 9.7714 | [11 empty] | 3.4361
RND DUCT W/ DUCT WRAP(SA); 12" DIA | 12 | 15.24 | [7 empty] | 0.123 | 8.19 |  | 3.9898 | 4.3888 | 0.010972 |  | 0.123 | 1.8745 | [11 empty] | 4.0088
RND DUCT W/ DUCT WRAP(SA); 14" DIA | 14 | 9.25 | [7 empty] | 0.174 | 10.29 |  | 2.8253 | 3.1078 | 0.0077694 |  | 0.174 | 1.6095 | [11 empty] | 5.1542
RND DUCT W/ DUCT WRAP(SA); 18" DIA | 18 | 14.29 | [7 empty] | 0.195 | 13.09 |  | 5.6117 | 6.1728 | 0.015432 |  | 0.195 | 2.7866 | [11 empty] | 1.7181
RND DUCT W/ DUCT WRAP(SA); 6" DIA | 6 | 8.95 | [7 empty] | 0.061 | 4.13 |  | 1.1716 | 1.2887 | 0.0032218 |  | 0.061 | 0.54595
FLEXIBLE DUCT
FLEX DUCT(SA); 10" DIA | 10 | 30.76 | [7 empty] | 0.09 | 3.0252
FLEX DUCT(SA); 12" DIA | 12 | 15.17 | [7 empty] | 0.1 | 3.2032
FLEX DUCT(SA); 6" DIA | 6 | 9.06 | [7 empty] | 0.07 | 1.8508
FITTINGS
SUPPLY - DUCTBOOTS 90DEG
DUCTBOOTS 90DEG(SA); 10" DIA TO 24X24 | 10" DIA TO 24X24 | 10
DUCTBOOTS 90DEG(SA); 12" DIA to 24X24 | 12" DIA to 24X24 | 5
DUCTBOOTS 90DEG(SA); 6" DIA TO 12X12 | 6" DIA TO 12X12 | 3
PLENUM DUCTBOOTS
PLENUM DUCTBOOTS(EA); 8X8 TO 12X12 | 8X8 TO 12X12 | 3
PLENUM DUCTBOOTS(RA); 20X16 TO 24X24 | 20X16 TO 24X24 | 1
RECTANGULAR DUCT 90DEG ELBOW
REC DUCT 90EL(SA); 20X16 | 20X16 | 1
REC DUCT 90EL(SA); 34X20 | 34X20 | 1
REC DUCT 90EL(SA); 35X20 | 35X20 | 1
RECTANGULAR DUCT COLLAR
REC DUCT COLLAR(SA); 18X6 | 18X6 | 5
ROUND DUCT 45DEG ELBOW
RND DUCT 45DEG EL(SA); 10" DIA | 10 | 2
ROUND DUCT 90DEG ELBOW
RND DUCT 90EL(SA); 20" DIA | 20 | 1
ROUND DUCT COLLAR
RND DUCT COLLAR(SA); 10" DIA | 10 | 18
RND DUCT COLLAR(SA); 12" DIA | 12 | 9
RND DUCT COLLAR(SA); 16" DIA | 16 | 2
RND DUCT COLLAR(SA); 18" DIA | 18 | 1
RND DUCT COLLAR(SA); 20" DIA | 20 | 2
RND DUCT COLLAR(SA); 6" DIA | 6 | 6
ROUND DUCT REDUCER
RND DUCT REDUCER(SA); 14 TO 10 | 14 TO 10 | 1
RND DUCT REDUCER(SA); 16 TO 10 | 16 TO 10 | 1
RND DUCT REDUCER(SA); 16 TO 12 | 16 TO 12 | 1
RND DUCT REDUCER(SA); 16 TO 14 | 16 TO 14 | 1
RND DUCT REDUCER(SA); 20 TO 16 | 20 TO 16 | 1
EXHAUST DUCT
RECTANGULAR DUCT
REC DUCT(EA); 8X8 | 8X8 | 59.53 |  |  |  | 8 | 8 |  |  | 0.097 | 6.279 |  | 198.4333 | 218.2767 | 0.54569 |  | 0.097 | 5.7744 | [6 empty] | 0.11806 | 0.08 | 2 | 0.018889 | 1.7433
FITTINGS
RECTANGULAR DUCT 90DEG ELBOW
REC DUCT 90EL(EA); 8X8 | 8X8 | 2
| UNIT | [27 empty] | 1.7433
| ROOFTOP UNIT; RTU-1_TRANE YHK120_10 TONS | 1 | [7 empty] | 14.6 | [10 empty] | 14.6 | 24 | 0.60833 | 1.8458
| ROOFTOP UNIT; RTU-2_TRANE YHK090*_7.5 TONS | 1 | [7 empty] | 12.6 | [10 empty] | 12.6 | 24 | 0.525
| ROOFTOP UNIT; RTU-3_TRANE YHK036*_3 TONS | 1 | [7 empty] | 9.6 | [10 empty] | 9.6 | 24 | 0.4
| AIR CURTAIN; X0702_ MARS STD242 | 1 | [7 empty] | 3 | [10 empty] | 3 | 25 | 0.12
| EXHAUST FAN; X0632_GREENHECK G-090-VG_300 CFM | 1 | [7 empty] | 4 | [10 empty] | 4 | 24 | 0.16667
| EXHAUST FAN; X0633_ GREENHECK G-080-VG_150 CFM | 1 | [7 empty] | 3.5 | [10 empty] | 3.5 | 24 | 0.14583
[18 empty] | 19.6094 | 2.4512 | 0.49023 |  |  | 1.8458
2.5712
MISCELLANEOUS ITEMS
| BLACK WEB STRAP 1.5" X 100 | 0.46953 | ROLL
| 3/4" PVC PIPE (10FT PIECE) | 3 | EA
| 3/4" SCH 40 PVC COUPLING SXS | 3 | EA
| 3/4" SCH 40 PVC MALE ADAPTER | 6 | EA
| 3/4" PVC 90 DEG ELBOW S X S SCH40 | 18 | EA
| 3/4" PVC CAP | 3 | EA
| 3/4" PVC TEE | 3 | EA
| 1/2 PINT PVC GLUE #70512 | 0.45 | CAN
| PURPLE PRIMER | 0.45 | CAN
| HURRICANE CLIP | 12 | EA
| 2x2 ISOLATION PADS | 12 | EA
| Gooseneck Curb | 2 | EA
| FOR PLENUM; ANGLE IRON, 2"x2", 16ga | 23.32 | FT
| 5/16"x3/4" SCREW | 108 | EA
| 1/4" x 2" SCREW | 18 | EA
| DUCT TAPE (60ft) UL BLACK ARMAFLEX | 0.6 | EA
| 5X8 BOCA/NAIL GUARD PLATE 16GA 6HOLE | 30 | EA
| SHURTAPE UL 181 | 1.5 | EA
| BLUE SHRINK WRAP 300FT ROLL (CDS DIST) | 0.15 | FT
| PANDUIT STRAPS - FLEX TIES (COME IN PACK OF 50) | 172 | STRAP
| 2IN #8 WHITE SCREWS (250/PK) | 58 | EA
| 1 INCH METAL STRAP 100FT | 3 | ROLL
| SMACNA METAL TAPE (SILVER TAPE) RED LETTER | 3 | ROLL
| MASTIC (1 GALLON) WHITE CCW181 | 3 | GALLON
| HILTI FS-ONE FIRE CAULK | 3 | GALLON
| 2" MASTIC CHIP BRUSH | 3 | EA
| 18/8 Thermostat Wire + Indoor Equipment to TSTAT Wiring | 75 | FT
| BOOT RAILS(BOX OF 50) | 4 | EA
RECTANGULAR DUCT (8FT - 10FT) SPACE | RECTANGULAR DUCT HANGER COUNT | 6.0538 | EA
ROUND DUCT (10FT - 12FT) SPACE | ROUND DUCT HANGER COUNT | 26.152 | EA
FLEX DUCT W/ SADDLES 4FT | FLEX DUCT HANGER COUNT | 14.7475 | EA
3 SPACE | UNISTRUT 1 5/8" X 1 5/8"X10FT, 12-GA | 221.9625 | FT
HEIGHT CEILING- 12, DUCT BOTTOM - 5FT, 0.5 LENGTH FOR HARDWARE | THREADED ROD 3/8" X 6FT | 92.4844 | EA
| TOP ANCHORS/BEAM CLAMPS | 74 | EA
| CHANNEL NUTS & BOLTS (STRUT CONNECTIONS) | 74 | EA
8 PCS PER ROD | HEX NUT 3/8" | 592 | EA
8 PCS PER ROD | WASHER 3/8 | 592 | EA
8 PCS PER ROD | LOCK NUTS 3/8" | 592 | EA
FLEXIBLE DUCT
|  |  | R-8/25 length | R-6/ 25 length
| SIZE | UNIT LABOR | MATERIAL COST | MATERIALS COST | SIZE
| 4 | 0.06 | 136 | 44.48 | 4 | 1.7792
| 5 | 0.06 | 153 | 55.3 | 5 | 2.212
| 6 | 0.07 | 60 | 46.27 | 6 | 1.8508
| 7 | 0.07 | 176 | 59.94 | 7 | 2.3976
| 8 | 0.08 | 73 | 56.06 | 8 | 2.2424
| 9 | 0.08 | 196 | 61.85 | 9 | 2.474
| 10 | 0.09 | 87 | 75.63 | 10 | 3.0252
| 12 | 0.1 | 233 | 80.08 | 12 | 3.2032
| 14 | 0.11 | 257 | 129 | 14 | 5.16
| 16 | 0.12 | 288 | 135 | 16 | 5.4
| 18 | 0.13 | 347 | 169 | 18 | 6.76
| 20 | 0.15 | 409 | 240 | 20 | 9.6
| 22 | 0.17 |  |  | 22 | 7.5
| 24 | 0.18 |  |  | 24 | 8.5
| 26 | 0.2 |  |  | 26 | 9.5
| 28 | 0.22 |  |  | 28 | 11
UNIT MATERIAL AND LABOR COST
| RECTANGULAR DUCT | [12 empty] | ROUND DUCT
| DUCT SIZE | MATERIA COST | [7 empty] | DUCT SIZE | LABOR COST |  |  | DUCT SIZE | MATERIA COST | DUCT SIZE | LABOR COST
| 4X4 | 3.171 | [7 empty] | 4X4 | 0.048
| 4X5 | 3.507 | [7 empty] | 4X5 | 0.054
| 4X6 | 3.92 | [7 empty] | 4X6 | 0.06
| 4X7 | 4.333 | [7 empty] | 4X7 | 0.066 |  |  | 2 | 2.037 | 2 | 0.3
| 4X8 | 4.718 | [7 empty] | 4X8 | 0.072 |  |  | 3 | 2.037 | 3 | 0.3
| 4X9 | 5.075 | [7 empty] | 4X9 | 0.078 |  |  | 4 | 2.758 | 4 | 0.041
| 4X10 | 5.481 | [7 empty] | 4X10 | 0.084 |  |  | 5 | 3.465 | 5 | 0.051
| 4X11 | 5.88 | [7 empty] | 4X11 | 0.091 |  |  | 6 | 4.13 | 6 | 0.061
| 4X12 | 6.279 | [7 empty] | 4X12 | 0.097 |  |  | 7 | 4.795 | 7 | 0.072
| 5X5 | 3.92 | [7 empty] | 5X5 | 0.06 |  |  | 8 | 5.502 | 8 | 0.082
| 5X6 | 4.333 | [7 empty] | 5X6 | 0.066 |  |  | 9 | 6.209 | 9 | 0.092
| 5X7 | 4.718 | [7 empty] | 5X7 | 0.072 |  |  | 10 | 6.881 | 10 | 0.103
| 5X8 | 5.075 | [7 empty] | 5X8 | 0.078 |  |  | 12 | 8.19 | 12 | 0.123
| 5X9 | 5.481 | [7 empty] | 5X9 | 0.084 |  |  | 14 | 10.29 | 14 | 0.174
| 5X10 | 5.88 | [7 empty] | 5X10 | 0.091 |  |  | 16 | 10.29 | 16 | 0.174
| 5X11 | 6.279 | [7 empty] | 5X11 | 0.097 |  |  | 18 | 13.09 | 18 | 0.195
| 5X12 | 6.65 | [7 empty] | 5X12 | 0.103 |  |  | 20 | 13.09 | 20 | 0.195
| 6X6 | 4.718 | [7 empty] | 6X6 | 0.072 |  |  | 22 | 15.89 | 22 | 0.236
| 6X7 | 5.075 | [7 empty] | 6X7 | 0.078 |  |  | 24 | 15.89 | 24 | 0.236
| 6X8 | 5.481 | [7 empty] | 6X8 | 0.084 |  |  | 26 | 18.69 | 26 | 0.277
| 6X9 | 5.88 | [7 empty] | 6X9 | 0.091 |  |  | 28 | 18.69 | 28 | 0.277
| 6X10 | 6.279 | [7 empty] | 6X10 | 0.097 |  |  | 30 | 21.63 | 30 | 0.318
| 6X11 | 6.65 | [7 empty] | 6X11 | 0.103 |  |  | 32 | 21.63 | 32 | 0.318
| 6X12 | 7.07 | [7 empty] | 6X12 | 0.109 |  |  | 34 | 32.06 | 34 | 0.474
| 7X7 | 5.481 | [7 empty] | 7X7 | 0.084 |  |  | 36 | 32.06 | 36 | 0.474
| 7X8 | 5.88 | [7 empty] | 7X8 | 0.091
| 7X9 | 6.279 | [7 empty] | 7X9 | 0.097
| 7X10 | 6.65 | [7 empty] | 7X10 | 0.103
| 7X11 | 7.07 | [7 empty] | 7X11 | 0.109
| 7X12 | 7.42 | [7 empty] | 7X12 | 0.115
| 8X8 | 6.279 | [7 empty] | 8X8 | 0.097
| 8X9 | 6.65 | [7 empty] | 8X9 | 0.103
| 8X10 | 7.07 | [7 empty] | 8X10 | 0.109
| 8X11 | 7.42 | [7 empty] | 8X11 | 0.115
| 8X12 | 7.77 | [7 empty] | 8X12 | 0.121
| 9X9 | 7.07 | [7 empty] | 9X9 | 0.109
| 9X10 | 7.42 | [7 empty] | 9X10 | 0.115
| 9X11 | 7.77 | [7 empty] | 9X11 | 0.121
| 9X12 | 8.19 | [7 empty] | 9X12 | 0.127
| 10X10 | 7.77 | [7 empty] | 10X10 | 0.129
| 10X11 | 8.19 | [7 empty] | 10X11 | 0.127
| 10X12 | 8.54 | [7 empty] | 10X12 | 0.133
| 11X11 | 8.54 | [7 empty] | 11X11 | 0.133
| 11X12 | 8.89 | [7 empty] | 11X12 | 0.139
| 12X10 | 8.54 | [7 empty] | 12X10 | 0.133
| 12X12 | 9.24 | [7 empty] | 12X12 | 0.145
| 14X6 | 10.01 | [7 empty] | 14X6 | 0.154
| 14X8 | 10.99 | [7 empty] | 14X8 | 0.17
| 14X10 | 12.04 | [7 empty] | 14X10 | 0.184
| 14X12 | 13.09 | [7 empty] | 14X12 | 0.2
| 14X14 | 14.49 | [7 empty] | 14X14 | 0.223
| 14X16 | 14.49 | [7 empty] | 14X16 | 0.223
| 14X18 | 16.52 | [7 empty] | 14X18 | 0.254
| 14X20 | 16.52 | [7 empty] | 14X20 | 0.254
| 14X22 | 18.69 | [7 empty] | 14X22 | 0.285
| 14X24 | 18.69 | [7 empty] | 14X24 | 0.285
| 14X26 | 20.86 | [7 empty] | 14X26 | 0.316
| 14X28 | 20.86 | [7 empty] | 14X28 | 0.316
| 14X30 | 22.26 | [7 empty] | 14X30 | 0.339
| 16X6 | 10.99 | [7 empty] | 16X6 | 0.17
| 16X8 | 12.04 | [7 empty] | 16X8 | 0.184
| 16X10 | 13.09 | [7 empty] | 16X10 | 0.2
| 16X12 | 14.21 | [7 empty] | 16X12 | 0.216
| 16X14 | 15.61 | [7 empty] | 16X14 | 0.239
| 16X16 | 15.61 | [7 empty] | 16X16 | 0.239
| 16X18 | 17.57 | [7 empty] | 16X18 | 0.269
| 16X20 | 17.57 | [7 empty] | 16X20 | 0.269
| 16X22 | 19.39 | [7 empty] | 16X22 | 0.3
| 16X24 | 19.39 | [7 empty] | 16X24 | 0.3
| 16X26 | 21.91 | [7 empty] | 16X26 | 0.331
| 16X28 | 21.91 | [7 empty] | 16X28 | 0.331
| 16X30 | 23.45 | [7 empty] | 16X30 | 0.354
| 18X6 | 12.04 | [7 empty] | 18X6 | 0.184
| 18X8 | 13.09 | [7 empty] | 18X8 | 0.2
| 18X10 | 14.21 | [7 empty] | 18X10 | 0.216
| 18X12 | 15.05 | [7 empty] | 18X12 | 0.231
| 16X28 | 21.91 | [7 empty] | 16X28 | 0.331
| 16X30 | 23.45 | [7 empty] | 16X30 | 0.354
| 18X18 | 18.69 | [7 empty] | 18X18 | 0.285
| 18X20 | 18.69 | [7 empty] | 18X20 | 0.285
| 18X22 | 20.86 | [7 empty] | 18X22 | 0.316
| 18X24 | 20.86 | [7 empty] | 18X24 | 0.316
| 18X26 | 22.47 | [7 empty] | 18X26 | 0.346
| 18X28 | 22.47 | [7 empty] | 18X28 | 0.346
| 18X30 | 24.29 | [7 empty] | 18X30 | 0.37
| 20X6 | 13.09 | [7 empty] | 20X6 | 0.2
| 20X8 | 13.02 | [7 empty] | 20X8 | 0.216
| 20X10 | 13.79 | [7 empty] | 20X10 | 0.231
| 20X12 | 14.77 | [7 empty] | 20X12 | 0.247
| 20X14 | 16.1 | [7 empty] | 20X14 | 0.269
| 20X16 | 16.1 | [7 empty] | 20X16 | 0.269
| 20X18 | 19.39 | [7 empty] | 20X18 | 0.3
| 20X20 | 19.39 | [7 empty] | 20X20 | 0.3
| 20X22 | 21.91 | [7 empty] | 20X22 | 0.331
| 20X24 | 21.91 | [7 empty] | 20X24 | 0.331
| 20X26 | 23.87 | [7 empty] | 20X26 | 0.362
| 20X28 | 23.87 | [7 empty] | 20X28 | 0.362
| 20X30 | 25.2 | [7 empty] | 20X30 | 0.385
| 22X6 | 14.21 | [7 empty] | 22X6 | 0.216
| 22X8 | 15.05 | [7 empty] | 22X8 | 0.231
| 22X10 | 16.1 | [7 empty] | 22X10 | 0.247
| 22X12 | 17.08 | [7 empty] | 22X12 | 0.262
| 22X14 | 18.69 | [7 empty] | 22X14 | 0.285
| 22X16 | 18.69 | [7 empty] | 22X16 | 0.285
| 22X18 | 20.86 | [7 empty] | 22X18 | 0.316
| 22X20 | 20.86 | [7 empty] | 22X20 | 0.316
| 22X22 | 22.47 | [7 empty] | 22X22 | 0.346
| 22X24 | 22.47 | [7 empty] | 22X24 | 0.346
| 22X25 | 24.99 | [7 empty] | 22X25 | 0.377
| 22X28 | 24.99 | [7 empty] | 22X28 | 0.377
| 22X30 | 26.25 | [7 empty] | 22X30 | 0.4
| 24X6 | 15.05 | [7 empty] | 24X6 | 0.231
| 24X8 | 16.1 | [7 empty] | 24X8 | 0.247
| 24X10 | 17.08 | [7 empty] | 24X10 | 0.262
| 24X12 | 18.13 | [7 empty] | 24X12 | 0.278
| 24X14 | 19.39 | [7 empty] | 24X14 | 0.3
| 24X16 | 19.39 | [7 empty] | 24X16 | 0.3
| 24X18 | 21.91 | [7 empty] | 24X18 | 0.331
| 24X20 | 21.91 | [7 empty] | 24X20 | 0.331
| 24X22 | 23.87 | [7 empty] | 24X22 | 0.362
| 24X24 | 23.87 | [7 empty] | 24X24 | 0.362
| 24X26 | 25.69 | [7 empty] | 24X26 | 0.392
| 24X28 | 25.69 | [7 empty] | 24X28 | 0.392
| 24X30 | 27.23 | [7 empty] | 24X30 | 0.415
| 12X8 | 7.77 | [7 empty] | 12X8 | 0.121
| 12X14 | 13.09 | [7 empty] | 12X14 | 0.2
| 26X6 | 16.1 | [7 empty] | 26X6 | 0.247
| 26X8 | 17.08 | [7 empty] | 26X8 | 0.262
| 26X10 | 18.13 | [7 empty] | 26X10 | 0.278
| 26X12 | 19.11 | [7 empty] | 26X12 | 0.292
| 26X14 | 20.86 | [7 empty] | 26X14 | 0.316
| 26X16 | 20.86 | [7 empty] | 26X16 | 0.316
| 26X18 | 22.47 | [7 empty] | 26X18 | 0.346
| 26X20 | 22.47 | [7 empty] | 26X20 | 0.346
| 26X22 | 24.99 | [7 empty] | 26X22 | 0.377
| 26X24 | 24.99 | [7 empty] | 26X24 | 0.377
| 26X26 | 26.74 | [7 empty] | 26X26 | 0.407
| 26X28 | 26.74 | [7 empty] | 26X28 | 0.407
| 26X30 | 27.86 | [7 empty] | 26X30 | 0.431
| 28X6 | 17.08 | [7 empty] | 20X6 | 0.262
| 28X8 | 18.13 | [7 empty] | 20X8 | 0.278
| 28X10 | 19.11 | [7 empty] | 20X10 | 0.292
| 28X12 | 20.23 | [7 empty] | 20X12 | 0.308
| 28X14 | 21.91 | [7 empty] | 20X14 | 0.331
| 28X16 | 21.91 | [7 empty] | 20X16 | 0.331
| 28X18 | 23.87 | [7 empty] | 20X18 | 0.362
| 28X20 | 23.87 | [7 empty] | 20X20 | 0.362
| 28X22 | 25.69 | [7 empty] | 20X22 | 0.392
| 28X24 | 25.69 | [7 empty] | 20X24 | 0.392
| 28X26 | 27.65 | [7 empty] | 20X26 | 0.423
| 28X28 | 27.65 | [7 empty] | 20X28 | 0.423
| 28X30 | 29.47 | [7 empty] | 20X30 | 0.448
| 30X6 | 18.13 | [7 empty] | 30X6 | 0.278
| 30X8 | 19.11 | [7 empty] | 30X8 | 0.292
| 30X10 | 20.23 | [7 empty] | 30X10 | 0.308
| 30X12 | 21.21 | [7 empty] | 30X12 | 0.323
| 30X14 | 22.47 | [7 empty] | 30X14 | 0.346
| 30X16 | 22.47 | [7 empty] | 30X16 | 0.346
| 30X18 | 24.99 | [7 empty] | 30X18 | 0.377
| 30X20 | 24.99 | [7 empty] | 30X20 | 0.377
| 30X22 | 26.74 | [7 empty] | 30X22 | 0.407
| 30X24 | 26.74 | [7 empty] | 30X24 | 0.407
| 30X26 | 28.63 | [7 empty] | 30X26 | 0.44
| 30X28 | 28.63 | [7 empty] | 30X28 | 0.44
| 30X30 | 30.24 | [7 empty] | 30X30 | 0.465
| 32X8 | 24.5 | [7 empty] | 32X8 | 0.374
| 32X10 | 25.69 | [7 empty] | 32X10 | 0.393
| 32X12 | 26.88 | [7 empty] | 32X12 | 0.412
| 32X14 | 28.91 | [7 empty] | 32X14 | 0.442
| 32X16 | 28.91 | [7 empty] | 32X16 | 0.442
| 32X18 | 31.43 | [7 empty] | 32X18 | 0.478
| 32X20 | 31.43 | [7 empty] | 32X20 | 0.478
| 32X22 | 33.81 | [7 empty] | 32X22 | 0.517
| 32X24 | 33.81 | [7 empty] | 32X24 | 0.517
| 32X26 | 36.12 | [7 empty] | 32X26 | 0.553
| 32X28 | 36.12 | [7 empty] | 32X28 | 0.553
| 32X30 | 38.71 | [7 empty] | 32X30 | 0.589
| 32X32 | 38.71 | [7 empty] | 32X32 | 0.589
| 32X34 | 41.09 | [7 empty] | 32X34 | 0.628
| 32X36 | 41.09 | [7 empty] | 32X36 | 0.628
| 32X38 | 43.61 | [7 empty] | 32X38 | 0.664
| 32X40 | 43.61 | [7 empty] | 32X40 | 0.664
| 32X42 | 45.71 | [7 empty] | 32X42 | 0.702
| 32X44 | 45.71 | [7 empty] | 32X44 | 0.702
| 32X46 | 48.3 | [7 empty] | 32X46 | 0.739
| 32X48 | 48.3 | [7 empty] | 32X48 | 0.739
| 32X50 | 50.75 | [7 empty] | 32X50 | 0.777
| 32X52 | 50.75 | [7 empty] | 32X52 | 0.777
| 32X54 | 52.5 | [7 empty] | 32X54 | 0.807
| 34X8 | 25.69 | [7 empty] | 34X8 | 0.393
| 34X10 | 26.88 | [7 empty] | 34X10 | 0.412
| 34X12 | 27.86 | [7 empty] | 34X12 | 0.431
| 34X14 | 30.03 | [7 empty] | 34X14 | 0.461
| 34X16 | 30.03 | [7 empty] | 34X16 | 0.461
| 34X18 | 32.9 | [7 empty] | 34X18 | 0.497
| 34X20 | 32.9 | [7 empty] | 34X20 | 0.497
| 34X22 | 34.79 | [7 empty] | 34X22 | 0.534
| 34X24 | 34.79 | [7 empty] | 34X24 | 0.534
| 34X26 | 37.59 | [7 empty] | 34X26 | 0.572
| 34X28 | 37.59 | [7 empty] | 34X28 | 0.572
| 34X30 | 39.76 | [7 empty] | 34X30 | 0.608
| 34X32 | 39.76 | [7 empty] | 34X32 | 0.608
| 34X34 | 42.42 | [7 empty] | 34X34 | 0.645
| 34X36 | 42.42 | [7 empty] | 34X36 | 0.645
| 34X38 | 44.59 | [7 empty] | 34X38 | 0.683
| 34X40 | 44.59 | [7 empty] | 34X40 | 0.683
| 34X42 | 47.39 | [7 empty] | 34X42 | 0.722
| 34X44 | 47.39 | [7 empty] | 34X44 | 0.722
| 34X46 | 49.77 | [7 empty] | 34X46 | 0.758
| 34X48 | 49.77 | [7 empty] | 34X48 | 0.758
| 34X50 | 51.87 | [7 empty] | 34X50 | 0.796
| 34X52 | 51.87 | [7 empty] | 34X52 | 0.796
| 34X54 | 54.04 | [7 empty] | 34X54 | 0.824
| 8X6 | 5.481 | [7 empty] | 8X6 | 0.084
| 10X8 | 7.07 | [7 empty] | 10X8 | 0.109
| 10X6 | 6.279 | [7 empty] | 10X6 | 0.97
| 18X16 | 16.52 | [7 empty] | 18X16 | 0.254
| 18X14 | 16.52 | [7 empty] | 18X14 | 0.254
| 36X18 | 33.81 | [7 empty] | 36X18 | 0.517
| 36X10 | 27.86 | [7 empty] | 36X10 | 0.431
| 44X10 | 32.97 | [7 empty] | 44X10 | 0.508
| 54X10 | 39.2 | [7 empty] | 54X10 | 0.598
| 42X42 | 51.87 | [7 empty] | 42X42 | 0.798
| 52X52 | 62.86 | [7 empty] | 52X52 | 0.976
| 96X96 | 227.5 | [7 empty] | 96X96 | 3
| 16X11 | 14.21 | [7 empty] | 16X11 | 0.216
| 12X4 | 8.97 | [7 empty] | 12X4 | 0.97
| 36X12 | 29.75 | [7 empty] | 36X12 | 0.453
| 36X14 | 31.43 | [7 empty] | 36X14 | 0.478
| 8X8 | 6.279 | [7 empty] | 8X8 | 0.097
| 35X20 | 33.81 | [7 empty] | 35X20 | 0.517
CONDENSATE DRAIN W/ SECONDARY DRAIN PAN & OVERFLOW SWITCH
| Material | QTY | Length | Size | Labor rate |  | Material Cost
CONDENSATE PIPE
PVC
|  |  |  | 1 | 0.099 |  | 2.64
| elbow | 2 |  |  | 0.12 |  | 0.74
| drain trap | 1 |  |  | 0.3 |  | 6.69
| Male adapter | 1 |  |  | 0.07 |  | 0.68
INSULATION
| Closed cell elastomeric |  |  | 1x1/2 | 0.042 |  | 1.62
[5 empty] | 0.631 |  | 12.37
CONDENSATE PIPE
PVC
|  |  |  | 1 | 0.099 |  | 2.64
| elbow | 2 |  |  | 0.12 |  | 0.74
| drain trap | 1 |  |  | 0.3 |  | 6.69
| Male adapter | 1 |  |  | 0.07 |  | 0.68
INSULATION
| Closed cell elastomeric |  |  | 1x1/2 | 0.039 |  | 1.46
| secondary drain pan (aluminum) | 1 |  |  | 1 |  | 193.21
| overflow switch | 1 |  |  | 0.5 |  | 15.31
[5 empty] | 2.128 |  | 220.73
CONDENSATE PIPE
PVC
|  |  |  | 0.75 | 0.091 |  | 2.52
| elbow | 2 |  |  | 0.115 |  | 0.96
| drain trap | 1 |  |  | 0.3 |  | 6.69
| Male adapter | 1 |  |  | 0.07 |  | 0.68
INSULATION
| Closed cell elastomeric |  |  | 3.4x1/2 | 0.042 |  | 1.62
[5 empty] | 0.618 | 0.0618 | 12.47 | 1.247
PVC
|  |  |  | 0.75 | 0.091 |  | 2.52
| elbow | 2 |  |  | 0.115 |  | 0.96
| drain trap | 1 |  |  | 0.3 |  | 6.69
| Male adapter | 1 |  |  | 0.07 |  | 0.68
INSULATION
| Closed cell elastomeric |  |  | 3.4x1/2 | 0.042 |  | 1.62
| secondary drain pan (aluminum) | 1 |  |  | 1 |  | 193.21
| overflow switch | 1 |  |  | 0.5 |  | 15.31 | 1.5 | 208.52
[5 empty] | 2.118 |  | 220.99
CONDENSATE PIPE
PVC
|  |  |  | 0.75 | 0.091 |  | 2.52
| elbow | 2 |  |  | 0.115 |  | 0.96
| drain trap | 1 |  |  | 0.3 |  | 6.69
| Male adapter | 1 |  |  | 0.07 |  | 0.68
INSULATION
| Closed cell elastomeric |  |  | 3/4x3/4 | 0.039 |  | 2.79
| secondary drain pan (aluminum) | 1 |  |  | 1 |  | 193.21
| overflow switch | 1 |  |  | 0.5 |  | 15.31
|  | 1 |  |  | 2.115 |  | 222.16
PVC
|  |  |  | 0.75 | 0.091 |  | 2.52
| elbow | 2 |  |  | 0.115 |  | 0.96
| drain trap | 1 |  |  | 0.3 |  | 6.69
| Male adapter | 1 |  |  | 0.07 |  | 0.68
INSULATION
| Closed cell elastomeric |  |  | 3/4x3/4 | 0.039 |  | 2.79
|  | 1 |  |  | 0.615 |  | 13.64
COPPER PIPE
| Copper type M |  |  | 1.5 | 0.183 |  | 13.4
| elbow | 2 |  |  | 0.335 |  | 9.57
| drain trap | 1 |  |  | 0.24 |  | 37.7
| Male adapter | 1 |  |  | 0.28 |  | 35.6
INSULATION
FIBERGLASS
DUCT WRAP
|  |  |  | 1 1/2 X 3/4 | 0.04 |  | 6.64
|  | 1 | 10 |  | 1.078 |  | 102.91
COPPER PIPE
| Copper type M |  |  | 1.25 | 0.163 |  | 11.8
| elbow | 2 |  |  | 0.284 |  | 5.85
| drain trap | 1 |  |  | 0.24 |  | 23.57
| Male adapter | 1 |  |  | 0.28 |  | 13.12
INSULATION
FIBERGLASS
DUCT WRAP
|  |  |  | 1 1/4 X 3/4 | 0.04 |  | 7.11
|  | 1 | 10 |  | 1.007 |  | 61.45
PVC
|  |  |  | 1.25 | 0.114 |  | 2.76
| elbow | 2 |  |  | 0.16 |  | 1.63
| drain trap | 1 |  |  | 0.3 |  | 3.77
| Male adapter | 1 |  |  | 0.07 |  | 1.55
INSULATION
| Closed cell elastomeric |  |  | 1 1/4x1/2 | 0.042 |  | 1.81
| secondary drain pan (aluminum) | 1 |  |  | 1 |  | 193.21
| overflow switch | 1 |  |  | 0.5 |  | 15.31
[5 empty] | 0.686 |  | 11.52
[5 empty] | 2.186 |  | 220.04
PVC
|  |  |  | 1.25 | 0.114 |  | 2.76
| elbow | 2 |  |  | 0.16 |  | 1.63
| drain trap | 1 |  |  | 0.3 |  | 3.77
| Male adapter | 1 |  |  | 0.07 |  | 1.55
INSULATION
| Closed cell elastomeric |  |  | 1 1/4x1/2 | 0.042 |  | 1.81
[5 empty] | 0.686 |  | 11.52
COPPER PIPE
| Copper type M |  |  | 1.5 | 0.183 |  | 13.4
| elbow | 2 |  |  | 0.335 |  | 9.57
| drain trap | 1 |  |  | 0.24 |  | 37.7
| Male adapter | 1 |  |  | 0.28 |  | 35.6
INSULATION
FIBERGLASS
DUCT WRAP
|  |  |  | 1 1/2 X 3/4 | 0.04 |  | 6.64
| secondary drain pan (aluminum) | 1 |  |  | 1 |  | 193.21
| overflow switch | 1 |  |  | 0.5 |  | 15.31
[5 empty] | 2.578 |  | 311.43
COPPER PIPE
| Copper type L |  |  | 1 | 0.146 |  | 7.45
| elbow | 2 |  |  | 0.284 |  | 0.74
| drain trap | 1 |  |  | 0.24 |  | 6.69
| Male adapter | 1 |  |  | 0.28 |  | 0.68
INSULATION
|  |  |  | 1x1/2 | 0.04 |  | 1.62
| secondary drain pan (aluminum) | 1 |  |  | 1 |  | 193.21
| overflow switch | 1 |  |  | 0.5 |  | 15.31
|  | 1 |  |  | 0.99 |  | 17.18
[5 empty] | 2.49 |  | 225.7
CONDENSATE PIPE
PVC
|  |  |  | 0.75 | 0.091 |  | 2.52
| elbow | 2 |  |  | 0.115 |  | 0.96
| drain trap | 1 |  |  | 0.3 |  | 6.69
| Male adapter | 1 |  |  | 0.07 |  | 0.68
INSULATION
| FIBERGLASS |  |  | 3.4x1/2 | 0.038 |  | 2.453
[5 empty] | 0.614 | 0.0614 | 13.303 | 1.3303
Note on P2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Duct wrap
Note on AE2: Lanie Mae: GAUGE 26
Note on AE3: Lanie Mae: LINER
Note on AE4: Lanie Mae: DUCT WRAP
Note on P5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: liner

## MAT - TAKEOFF
Page | Digitizer Item | Total | Units | COMBINED
M101_MECHANICAL PLAN - EXHAUST | REC DUCT(EA); 8X8 | 59.53 | FT | AIR CURTAIN; X0702_ MARS STD242 | 1
M101_MECHANICAL PLAN - EXHAUST | GRILLES(EA); X1001_TITUS 350_12X12 | 3 | EA | BAROMETRIC RELIEF | 3
M101_MECHANICAL PLAN - EXHAUST | PLENUM DUCTBOOTS(EA); 8X8 TO 12X12 | 3 | EA | CARBON MONOXIDE DETECTOR | 1
M101_MECHANICAL PLAN - EXHAUST | REC DUCT 90EL(EA); 8X8 | 2 | EA | CO2 SENSOR | 2
M101_MECHANICAL PLAN | FLEX DUCT(SA); 10" DIA | 30.76 | FT | DAMPER_MANUAL VOLUME(SA); 10" DIA | 10
M101_MECHANICAL PLAN | FLEX DUCT(SA); 6" DIA | 9.06 | FT | DAMPER_MANUAL VOLUME(SA); 12" DIA | 5
M101_MECHANICAL PLAN | FLEX DUCT(SA); 12" DIA | 15.17 | FT | DAMPER_MANUAL VOLUME(SA); 6" DIA | 3
M101_MECHANICAL PLAN | RND DUCT W/ DCUT WRAP(SA); 20" DIA | 50.11 | FT | DEFLECTION GRILLES(SA); X2010_TITUS 300RS_18X6 | 5
M101_MECHANICAL PLAN | RND DUCT W/ DCUT WRAP(SA); 10" DIA | 95.95 | FT | DIFFUSER(SA); X2020_ TITUS TDC_24X24 | 4
M101_MECHANICAL PLAN | DAMPER_MANUAL VOLUME(SA); 10" DIA | 10 | EA | DIFFUSER(SA); X2030_TITUS OMN_24X24 | 11
M101_MECHANICAL PLAN | RND DUCT 45DEG EL(SA); 10" DIA | 2 | EA | DIFFUSER(SA); X2070_ TITUS OMNI_12X12 | 3
M101_MECHANICAL PLAN | RND DUCT COLLAR(SA); 10" DIA | 18 | EA | DUCTBOOTS 90DEG(SA); 10" DIA TO 24X24 | 10
M101_MECHANICAL PLAN | DIFFUSER(SA); X2030_TITUS OMN_24X24 | 11 | EA | DUCTBOOTS 90DEG(SA); 12" DIA to 24X24 | 5
M101_MECHANICAL PLAN | DUCTBOOTS 90DEG(SA); 10" DIA TO 24X24 | 10 | EA | DUCTBOOTS 90DEG(SA); 6" DIA TO 12X12 | 3
M101_MECHANICAL PLAN | RND DUCT W/ DCUT WRAP(SA); 16" DIA | 48.29 | FT | EXHAUST FAN; X0632_GREENHECK G-090-VG_300 CFM | 1
M101_MECHANICAL PLAN | RND DUCT W/ DCUT WRAP(SA); 12" DIA | 9.44 | FT | EXHAUST FAN; X0633_ GREENHECK G-080-VG_150 CFM | 1
M101_MECHANICAL PLAN | RND DUCT 90EL(SA); 20" DIA | 1 | EA | EXHAUST ROOF CURB | 2
M101_MECHANICAL PLAN | RND DUCT COLLAR(SA); 20" DIA | 2 | EA | EXISTING EXHAUST FAN TO BE DEMOLISHED | 1
M101_MECHANICAL PLAN | REC DUCT COLLAR(SA); 18X6 | 5 | EA | EXISTING ROOFTOP UNIT TO BE DEMOLISHED | 3
M101_MECHANICAL PLAN | REC DUCT W/ DUCT WRAP(SA); 18X6 | 2.95 | FT | FLEX DUCT(SA); 10" DIA | 30.76
M101_MECHANICAL PLAN | DEFLECTION GRILLES(SA); X2010_TITUS 300RS_18X6 | 5 | EA | FLEX DUCT(SA); 12" DIA | 15.17
M101_MECHANICAL PLAN | RND DUCT REDUCER(SA); 20 TO 16 | 1 | EA | FLEX DUCT(SA); 6" DIA | 9.06
M101_MECHANICAL PLAN | RND DUCT REDUCER(SA); 16 TO 12 | 1 | EA | GRAVITY BACKDRAFT DAMPER; 8X8 | 2
M101_MECHANICAL PLAN | GRILLES(RA); X1020_ TITUS 50F_18X22 | 2 | EA | GRILLES(EA); X1001_TITUS 350_12X12 | 3
M101_MECHANICAL PLAN | ROOFTOP UNIT; RTU-1_TRANE YHK120_10 TONS | 1 | EA | GRILLES(RA); X1010_ TITUS 50F_24X24 | 1
M101_MECHANICAL PLAN | ROOF CURB | 3 | EA | GRILLES(RA); X1020_ TITUS 50F_18X22 | 2
M101_MECHANICAL PLAN | SMOKE DETECTOR | 2 | EA | HAIL GUARDS | 3
M101_MECHANICAL PLAN | THERMOSTAT | 3 | EA | PLENUM DUCTBOOTS(EA); 8X8 TO 12X12 | 3
M101_MECHANICAL PLAN | HAIL GUARDS | 3 | EA | PLENUM DUCTBOOTS(RA); 20X16 TO 24X24 | 1
M101_MECHANICAL PLAN | BAROMETRIC RELIEF | 3 | EA | REC DUCT 90EL(EA); 8X8 | 2
M101_MECHANICAL PLAN | ROOFTOP UNIT; RTU-2_TRANE YHK090*_7.5 TONS | 1 | EA | REC DUCT 90EL(SA); 20X16 | 1
M101_MECHANICAL PLAN | REC DUCT W/ LINE(SA); 34X20 | 18.8 | FT | REC DUCT 90EL(SA); 34X20 | 1
M101_MECHANICAL PLAN | REC DUCT 90EL(SA); 34X20 | 1 | EA | REC DUCT 90EL(SA); 35X20 | 1
M101_MECHANICAL PLAN | RND DUCT W/ DUCT WRAP(SA); 18" DIA | 14.29 | FT | REC DUCT COLLAR(SA); 18X6 | 5
M101_MECHANICAL PLAN | RND DUCT COLLAR(SA); 18" DIA | 1 | EA | REC DUCT W/ DUCT WRAP(SA); 18X6 | 2.95
M101_MECHANICAL PLAN | RND DUCT W/ DUCT WRAP(SA); 12" DIA | 15.24 | FT | REC DUCT W/ LINE(SA); 34X20 | 18.8
M101_MECHANICAL PLAN | RND DUCT W/ DUCT WRAP(SA); 6" DIA | 8.95 | FT | REC DUCT W/ LINED(RA); 20X16 | 10.18
M101_MECHANICAL PLAN | RND DUCT COLLAR(SA); 12" DIA | 9 | EA | REC DUCT W/ LINED(SA); 35X20 | 8.5
M101_MECHANICAL PLAN | RND DUCT COLLAR(SA); 6" DIA | 6 | EA | REC DUCT(EA); 8X8 | 59.53
M101_MECHANICAL PLAN | DAMPER_MANUAL VOLUME(SA); 12" DIA | 5 | EA | RND DUCT 45DEG EL(SA); 10" DIA | 2
M101_MECHANICAL PLAN | DAMPER_MANUAL VOLUME(SA); 6" DIA | 3 | EA | RND DUCT 90EL(SA); 20" DIA | 1
M101_MECHANICAL PLAN | DIFFUSER(SA); X2070_ TITUS OMNI_12X12 | 3 | EA | RND DUCT COLLAR(SA); 10" DIA | 18
M101_MECHANICAL PLAN | DUCTBOOTS 90DEG(SA); 12" DIA to 24X24 | 5 | EA | RND DUCT COLLAR(SA); 12" DIA | 9
M101_MECHANICAL PLAN | DUCTBOOTS 90DEG(SA); 6" DIA TO 12X12 | 3 | EA | RND DUCT COLLAR(SA); 16" DIA | 2
M101_MECHANICAL PLAN | RND DUCT REDUCER(SA); 16 TO 10 | 1 | EA | RND DUCT COLLAR(SA); 18" DIA | 1
M101_MECHANICAL PLAN | RND DUCT COLLAR(SA); 16" DIA | 1 | EA | RND DUCT COLLAR(SA); 20" DIA | 2
M101_MECHANICAL PLAN | CO2 SENSOR | 2 | EA | RND DUCT COLLAR(SA); 6" DIA | 6
M101_MECHANICAL PLAN | TEMPERATURE SENSOR | 3 | EA | RND DUCT REDUCER(SA); 14 TO 10 | 1
M101_MECHANICAL PLAN | REC DUCT W/ LINED(SA); 35X20 | 8.5 | FT | RND DUCT REDUCER(SA); 16 TO 10 | 1
M101_MECHANICAL PLAN | REC DUCT 90EL(SA); 35X20 | 1 | EA | RND DUCT REDUCER(SA); 16 TO 12 | 1
M101_MECHANICAL PLAN | REC DUCT W/ LINED(RA); 20X16 | 10.18 | FT | RND DUCT REDUCER(SA); 16 TO 14 | 1
M101_MECHANICAL PLAN | REC DUCT 90EL(SA); 20X16 | 1 | EA | RND DUCT REDUCER(SA); 20 TO 16 | 1
M101_MECHANICAL PLAN | RND DUCT W/ DUCT WRAP(SA); 14" DIA | 9.25 | FT | RND DUCT W/ DCUT WRAP(SA); 10" DIA | 95.95
M101_MECHANICAL PLAN | RND DUCT REDUCER(SA); 16 TO 14 | 1 | EA | RND DUCT W/ DCUT WRAP(SA); 12" DIA | 9.44
M101_MECHANICAL PLAN | RND DUCT REDUCER(SA); 14 TO 10 | 1 | EA | RND DUCT W/ DCUT WRAP(SA); 16" DIA | 48.29
M101_MECHANICAL PLAN | DIFFUSER(SA); X2020_ TITUS TDC_24X24 | 4 | EA | RND DUCT W/ DCUT WRAP(SA); 20" DIA | 50.11
M101_MECHANICAL PLAN | CARBON MONOXIDE DETECTOR | 1 | EA | RND DUCT W/ DUCT WRAP(SA); 12" DIA | 15.24
M101_MECHANICAL PLAN | GRILLES(RA); X1010_ TITUS 50F_24X24 | 1 | EA | RND DUCT W/ DUCT WRAP(SA); 14" DIA | 9.25
M101_MECHANICAL PLAN | PLENUM DUCTBOOTS(RA); 20X16 TO 24X24 | 1 | EA | RND DUCT W/ DUCT WRAP(SA); 18" DIA | 14.29
M101_MECHANICAL PLAN | ROOFTOP UNIT; RTU-3_TRANE YHK036*_3 TONS | 1 | EA | RND DUCT W/ DUCT WRAP(SA); 6" DIA | 8.95
M101_MECHANICAL PLAN | RND DUCT COLLAR(SA); 16" DIA | 1 | EA | ROOF CURB | 3
M101_MECHANICAL PLAN | AIR CURTAIN; X0702_ MARS STD242 | 1 | EA | ROOFTOP UNIT; RTU-1_TRANE YHK120_10 TONS | 1
M102_ROOF DEMOLISHED | EXISTING EXHAUST FAN TO BE DEMOLISHED | 1 | EA | ROOFTOP UNIT; RTU-2_TRANE YHK090*_7.5 TONS | 1
M102_ROOF DEMOLISHED | EXISTING ROOFTOP UNIT TO BE DEMOLISHED | 3 | EA | ROOFTOP UNIT; RTU-3_TRANE YHK036*_3 TONS | 1
01734-094_University Park Village_IFP SET | EXHAUST FAN; X0632_GREENHECK G-090-VG_300 CFM | 1 | EA | SMOKE DETECTOR | 2
01734-094_University Park Village_IFP SET | EXHAUST FAN; X0633_ GREENHECK G-080-VG_150 CFM | 1 | EA | SPEED CONTROLLER | 2
01734-094_University Park Village_IFP SET | EXHAUST ROOF CURB | 2 | EA | TEMPERATURE SENSOR | 3
01734-094_University Park Village_IFP SET | SPEED CONTROLLER | 2 | EA | THERMOSTAT | 3
01734-094_University Park Village_IFP SET | GRAVITY BACKDRAFT DAMPER; 8X8 | 2 | EA | Total | 567.47